## Renewable Escalator Summary
| Generic 4-Hour BESS Capital Cost with the |  |  |  | Renewable Energy and BESS
| Puerto Rico Cost Scale Factors (NREL Method) |  |  |  | Puerto Rico Cost Scale Factors (NREL Method) |  |  |  | 4-Hour BESS Capital Cost without the |  |  |  | Comparison of BESS Costs vs. Tranche 1 BESS Example
|  | Base Forecast | Low Forecast | High Forecast | Year | Low | Base | High | Puerto Rico Cost Scale Factors (NREL Method)
|  | BESS-4HR | BESS-4HR | BESS-4HR | 2023 | 2.25 | 2.25 | 2.25 | Generic BESS-4HR |  |  |  | Approx. Nominal |  |  | Tranche 1 Sample Project | 20-Year Cost
| Year | 2023$/kW | 2023$/kW | 2023$/kW | 2024 | 2.25 | 2.25 | 2.25 | Year | Base Case | Low Case | High Case | Mthly Cost/MW |  |  | (Caguas Energy Storage) | of Tranche 1
| 2025 | 4710.0592 | 3534.8932 | 10597.6331 | 2025 | 2.25 | 2.25 | 2.25 |  |  |  |  | With PR Cost |  |  | 2026 COD | Sample Project w. 2% Esc.
| 2026 | 4464.0731 | 3340.7975 | 9660.2542 | 2026 | 2.164 | 2.164 | 2.164 |  |  |  |  | Scale Factors |  |  | Mthly Cost/MW* | Monthly Cost/MW
1st Yr. Generic BESS Available | 2027 | 4217.2215 | 3148.7703 | 8763.3863 | 2027 | 2.078 | 2.078 | 2.078 | 2027 | 2029.4617 | 1515.2889 | 4217.2215 | 38791.8621 |  | 2027 | 29926.8 | 29926.8 | 1
| 2028 | 3970.0024 | 2959.0948 | 7908.2447 | 2028 | 1.992 | 1.992 | 1.992 | 2028 | 1992.9731 | 1485.4893 | 3970.0024 | 37430.7775 |  | 2028 | 30525.336 | 30525.336 | 2
| 2029 | 3722.9496 | 2771.9871 | 7095.942 | 2029 | 1.906 | 1.906 | 1.906 | 2029 | 1953.2789 | 1454.3479 | 3722.9496 | 35979.0014 |  | 2029 | 31135.8427 | 31135.8427 | 3
| 2030 | 3476.6347 | 2587.9771 | 6327.4752 | 2030 | 1.53 | 1.82 | 1.82 | 2030 | 1910.2388 | 1691.4883 | 3476.6347 |  |  | 2030 | 31758.5596 | 31758.5596 | 4
| 2031 | 3231.6686 | 2464.9349 | 5881.6369 | 2031 | 1.444 | 1.734 | 1.82 | 2031 | 1863.7074 | 1707.0186 | 3231.6686 |  |  | 2031 | 32393.7308 | 32393.7308 | 5
| 2032 | 2988.7037 | 2340.8773 | 5439.4407 | 2032 | 1.358 | 1.648 | 1.82 | 2032 | 1813.5338 | 1723.7683 | 2988.7037 |  |  | 2032 | 33041.6054 | 33041.6054 | 6
| 2033 | 2748.4356 | 2216.1492 | 5002.1529 | 2033 | 1.272 | 1.562 | 1.82 | 2033 | 1759.5619 | 1742.2556 | 2748.4356 |  |  | 2033 | 33702.4375 | 33702.4375 | 7
| 2034 | 2511.6056 | 2091.1372 | 4571.1222 | 2034 | 1.186 | 1.476 | 1.82 | 2034 | 1701.6298 | 1763.1848 | 2511.6056 |  |  |  | *Offer includes 2% | 34376.4862 | 8
| 2035 | 2279.0024 | 1966.235 | 4147.7844 | 2035 | 1.1 | 1.39 | 1.82 | 2035 | 1639.5701 | 1787.4863 | 2279.0024 |  |  |  | Escalation | 35064.016 | 9
| 2036 | 2262.0994 | 1963.0166 | 4117.021 | 2036 | 1.1 | 1.39 | 1.82 | 2036 | 1627.4097 | 1784.5605 | 2262.0994 |  |  |  |  | 35765.2963 | 10
| 2037 | 2242.8313 | 1960.2883 | 4081.953 | 2037 | 1.1 | 1.39 | 1.82 | 2037 | 1613.5477 | 1782.0803 | 2242.8313 |  |  |  |  | 36480.6022 | 11
| 2038 | 2221.0878 | 1959.8269 | 4042.3798 | 2038 | 1.1 | 1.39 | 1.82 | 2038 | 1597.9049 | 1781.6609 | 2221.0878 |  |  |  |  | 37210.2143 | 12
| 2039 | 2196.7547 | 1961.1956 | 3998.0935 | 2039 | 1.1 | 1.39 | 1.82 | 2039 | 1580.399 | 1782.9051 | 2196.7547 |  |  |  |  | 37954.4185 | 13
| 2040 | 2169.7134 | 1962.1641 | 3948.8784 | 2040 | 1.1 | 1.39 | 1.82 | 2040 | 1560.9449 | 1783.7855 | 2169.7134 |  |  |  |  | 38713.5069 | 14
| 2041 | 2182.5941 | 1962.3305 | 3972.3213 | 2041 | 1.1 | 1.39 | 1.82 | 2041 | 1570.2116 | 1783.9368 | 2182.5941 |  |  |  |  | 39487.777 | 15
| 2042 | 2194.7089 | 1961.8214 | 3994.3701 | 2042 | 1.1 | 1.39 | 1.82 | 2042 | 1578.9272 | 1783.474 | 2194.7089 |  |  |  |  | 40277.5326 | 16
| 2043 | 2206.0099 | 1960.7832 | 4014.9381 | 2043 | 1.1 | 1.39 | 1.82 | 2043 | 1587.0575 | 1782.5302 | 2206.0099 |  |  |  |  | 41083.0832 | 17
| 2044 | 2216.4476 | 1959.0073 | 4033.9346 | 2044 | 1.1 | 1.39 | 1.82 | 2044 | 1594.5666 | 1780.9157 | 2216.4476 |  |  |  |  | 41904.7449 | 18
[17 empty] | 42742.8398 | 19
[17 empty] | 43597.6966 | 20
44469.6505
[17 empty] | 45359.0435 |  | Generic as a % of Tranche 1 BESS
[13 empty] | 775837.2422 | 2027 | 10% Lev. Fixed charge rate, new BESS |  | 727142.5265 |  | 106.7%
[13 empty] | 748615.5497 | 2028 | 10% Lev. Fixed charge rate, new BESS |  | 741685.377 |  | 100.9%
[13 empty] | 719580.0273 | 2029 | 10% Lev. Fixed charge rate, new BESS |  | 756519.0846 |  | 95.12%
298.8704
| $/MW-Mth | 24905.8641
29000
0.85882