## Sheet2
Portfolio | Program Brief Name | Project Name | Sum of System Stabilization Projects (SSP) | Priority Projects in the SIP (SIP) included in original FY26 estimate (NEPR-MI-2024-0005) | Sum of Priority Stabilization Plan (PSP)
Distribution | Distribution Line Rebuild | Distribution system improvement (DER) | 10000000 | 0 | 0
|  | Overloaded Distribution Lines | 9000000 | 0 | 0
|  | Provisional OH (UG Primary) | 4811005.44 | 0 | 0
| Distribution Pole & Conductor Repair | Engineering Distribution Corrective Maintenance | 8000000 | 0 | 0
|  | Engineering Distribution Out of Service | 5000000 | 0 | 0
|  | Non Strutural Repairs Priority 1 | 1865453.98 | 0 | 0
|  | Non Strutural Repairs Priority 2 | 1865453.98 | 0 | 0
|  | Pole Replacement | 3652428.0015 | 0 | 0
Distribution Total |  |  | 44194341.4015 | 0 | 0
Substation | Substation Reliability | Bayamon TC - Transformer Replacement (Energize) | 1578000 | 1578000 | 1578000
|  | Caguas TC - Transformer Replacement (Energize) | 2100000 | 0 | 2100000
|  | Costa Sur - Transformer Replacement (Energize) | 2900000 | 0 | 2900000
|  | Critical Transmission Relays | 429000 | 0 | 429000
|  | Distribution Relay Upgrades - Alturas de Rio Grande | 54000 | 0 | 54000
|  | Distribution Relay Upgrades - Bairoa | 54000 | 0 | 54000
|  | Distribution Relay Upgrades - Cayey | 54000 | 0 | 54000
|  | Distribution Relay Upgrades - Marina | 109000 | 0 | 109000
|  | Distribution Relay Upgrades - MINILLAS | 54000 | 0 | 54000
|  | Distribution Relay Upgrades - Rio Grande | 109000 | 0 | 109000
|  | Distribution Relay Upgrades - Sabanera | 54000 | 0 | 54000
|  | Distribution Relay Upgrades - Vega Alta | 163000 | 0 | 163000
|  | DFR - Digital Fault Recorder - OOS (Stabilization Visibility) | 1000000 |  | 1000000
|  | Factor - Transformer Replacement (Energize) | 2800000 | 0 | 2800000
|  | Fajardo - Transformer Replacement (Energize) | 1737000 | 0 | 1737000
|  | Guanica TC - Transformer Replacement | 5200000 | 5200000 | 5200000
|  | Juncos Transformer Replacement | 3500000 | 0 | 3500000
|  | Llorens Torres – (Metal Clad SG) | 5700000 | 5700000 | 5700000
|  | Mayaguez UG Cable Replacement | 500000 | 0 | 500000
|  | Monacillo 1346 | 500000 | 0 | 500000
|  | Monacillo TC - Transformer Replacement Bank 1 and 3 | 1295000 | 1295000 | 1295000
|  | Mora TC - Transformer Replacement (Energize) | 2832200 | 0 | 2832200
|  | Sabana Llana – 544MVA | 9100000 | 9100000 | 9100000
|  | Veredas Transformer | 3500000 | 0 | 3500000
Substation Total |  |  | 44422200 | 22873000 | 44422200
Telecom | IT OT Telecom Systems & Network | Fiber - FY26 - Repair/Replace/DB | 2500000 | 0 | 0
|  | Microwave Repairs | 250000 | 0 | 0
|  | Pre-Substation-Rebuild Transport Network Enhance | 500000 | 0 | 0
|  | Structural analysis for Telecom Structure | 280055.7214 | 0 | 0
Telecom Total |  |  | 3530055.7214 | 0 | 0
Transmission | Transmission Line Rebuild | Line 100/200 out of service segment | 250000 | 0 | 250000
|  | Line 16800 | 4000000 | 4000000 | 4000000
|  | Line 2100 | 2000000 | 0 | 2000000
|  | Line 2200 | 2000000 | 2000000 | 2000000
|  | Line 8700 | 10000000 | 0 | 10000000
|  | Line 9100 | 1500000 | 0 | 1500000
| Transmission Priority Pole Replacements | 10000-Bayamon Pueblo SECT-Magnolia TO | 100000 | 100000 | 100000
|  | 10700-HATO TEJAS SECT-BAYAMON PUEBLO SECT- | 500000 | 500000 | 500000
|  | 16500-FAJARDO TC-DOS MARINAS- | 200000 | 200000 | 200000
|  | 1700-GUANICA TC-YAUCO 2 HP- | 1200000 | 1200000 | 1200000
|  | 2300-Arecibo SECT-Cambalache TC | 220000 | 220000 | 220000
|  | 3000-CAGUAS TC-CAGUAX SECT-F | 115000 | 115000 | 115000
|  | 3000-CAGUAX SECT-JUNCOS TC-F | 300000 | 300000 | 300000
|  | 3000-JUNCOS TC-RIO BLANCO HP-F | 920000 | 920000 | 920000
|  | 3100-Canovanas SECT-Rio Grande TO | 700000 | 700000 | 700000
|  | 3100-CAROLINA-CANOVANAS TC- | 100000 | 100000 | 100000
|  | 3200-Monacillos TC-Venezuela SECT | 100000 | 100000 | 100000
|  | 3300-Viaducto TC-Egozcue SECT | 100000 | 100000 | 100000
|  | 3600-Llorens Torres SECT-Martin Peña | 100000 | 100000 | 100000
|  | 3600-Monacillos TC-Sabana Llana TC | 300000 | 300000 | 300000
|  | 3600-Sabana Llana TC-Los Ángeles SECT | 100000 | 100000 | 100000
|  | 4500-CANAS TC - LA RAMBLA SECT | 1400000 | 1400000 | 1400000
|  | 700-COSTA SUR SP-YAUCO 2 HP- | 145000 | 145000 | 145000
|  | 7400-Hato Rey TC-Tres Monjitas SECT | 100000 | 100000 | 100000
|  | 800-COMSAT SECT - CIDRA SECT | 700000 | 700000 | 700000
|  | 9400-Dorado TC-Toa Alta | 100000 | 100000 | 100000
Transmission Total |  |  | 27250000 | 13500000 | 27250000
Grand Total |  |  | 119396597.1229 | 36373000 | 71672200