## Sheet1
Program Brief # | Program Brief Name | Project Name | Planned Completion Date | Reliability Impact
PBUT4 | Distribution Automation | Distribution Automation (Wildfire Mitigation Infrastructure Hardening) | H2-FY2026 | Direct
PBUT6 | Distribution Line Rebuild | UGWPF - Switches | H2-FY2026 | Direct
PBUT6 | Distribution Line Rebuild | UGWPF - Cables | H2-FY2026 | Direct
PBUT6 | Distribution Line Rebuild | UG D Lines Repaired | H2-FY2026 | Direct
PBUT6 | Distribution Line Rebuild | Distribution (Wildfire Mitigation Infrastructure Hardening) | H2-FY2026 | Direct
PBUT30 | Distribution Pole & Conductor Repair | Non Strutural Repairs Priority 1 | H2-FY2026 | Direct
PBUT30 | Distribution Pole & Conductor Repair | Non Strutural Repairs Priority 2 | H2-FY2026 | Direct
PBUT39 | Distribution Reliability | Worst Performing Feeders | H2-FY2026 | Direct
PBUT39 | Distribution Reliability | Regional Reliability Improvements | H2-FY2026 | Direct
PBUT39 | Distribution Reliability | Reliability System Upgrades | H2-FY2026 | Direct
PBUT8 | Substation Rebuilds | Substation (Wildfire Mitigation Infrastructure Hardening) | H2-FY2026 | Direct
PBUT7 | Substation Reliability | PAC - T Relays OOO Replacement | H2-FY2026 | Direct
PBUT7 | Substation Reliability | PAC - RTU Costa Sur | H2-FY2026 | Direct
PBUT7 | Substation Reliability | PAC - RTU OOS Replacement | H2-FY2026 | Direct
PBUT7 | Substation Reliability | Protection and Control Repository | H2-FY2026 | Direct
PBUT7 | Substation Reliability | D Breaker OOS Replacement | H2-FY2026 | Direct
PBUT7 | Substation Reliability | Load Tap Changers Program - OOS | H2-FY2026 | Direct
PBUT7 | Substation Reliability | Substation Batteries | H2-FY2026 | Direct
PBUT7 | Substation Reliability | Reliability (New Top WPS) | H2-FY2026 | Direct
PBUT7 | Substation Reliability | Overloaded Substation Transformer Replacements | H2-FY2026 | Direct
PBUT7 | Substation Reliability | T Breakers OOS Replacement | H2-FY2026 | Direct
PBUT7 | Substation Reliability | Maunabo - Transformer Replacement (Energize) | H2-FY2026 | Direct
PBUT33 | Transmission Line Rebuild | Line 1100 | H2-FY2026 | Direct
PBUT33 | Transmission Line Rebuild | Line 16800 | H2-FY2026 | Direct
PBUT33 | Transmission Line Rebuild | Line 100/200 out of service segment | H2-FY2026 | Direct
PBUT33 | Transmission Line Rebuild | Line 2100 | H2-FY2026 | Direct
PBUT33 | Transmission Line Rebuild | Line 9100 | H2-FY2026 | Direct
PBUT33 | Transmission Line Rebuild | Line 8700 | H2-FY2026 | Direct
PBUT33 | Transmission Line Rebuild | Line 2200 | H2-FY2026 | Direct
PBUT33 | Transmission Line Rebuild | TL 36000 - Monacillos to Martin Pena | H2-FY2026 | Direct
PBUT33 | Transmission Line Rebuild | TL 28000 - Aguadilla Hospital Distrito Sect to T-Bone TO | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 700-COSTA SUR SP-YAUCO 2 HP- | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 800-COMSAT SECT - CIDRA SECT | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 1700-GUANICA TC-YAUCO 2 HP- | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3000-CAGUAS TC-CAGUAX SECT-F | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3000-CAGUAX SECT-JUNCOS TC-F | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3000-JUNCOS TC-RIO BLANCO HP-F | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3100-CAROLINA-CANOVANAS TC- | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 4500-CANAS TC - LA RAMBLA SECT | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 10700-HATO TEJAS SECT-BAYAMON PUEBLO SECT- | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 16500-FAJARDO TC-DOS MARINAS- | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3200-Monacillos TC-Venezuela SECT | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 2300-Arecibo SECT-Cambalache TC | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3600-Llorens Torres SECT-Martin Peña | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 7400-Hato Rey TC-Tres Monjitas SECT | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3300-Viaducto TC-Egozcue SECT | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3600-Sabana Llana TC-Los Ángeles SECT | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 10000-Bayamon Pueblo SECT-Magnolia TO | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3100-Canovanas SECT-Rio Grande TO | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 3600-Monacillos TC-Sabana Llana TC | H2-FY2026 | Direct
PBUT13 | Transmission Priority Pole Replacements | 9400-Dorado TC-Toa Alta | H2-FY2026 | Direct
PBUT30 | Distribution Pole & Conductor Repair | Pole Replacement | H2-FY2026 | Direct
PBUT7 | Substation Reliability | Optical Sensors - Contracted | H2-FY2026 | Direct
PBUT7 | Substation Reliability | Optical Sensors - Additional | H2-FY2026 | Direct
PBUT7 | Substation Reliability | Corrective Maintenance across Critical Substation Equipment | H2-FY2026 | Direct
PBUT7 | Substation Reliability | T Breaker Programmatic Replacement | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Substation Transformer Upgrades (Current Capacity Constraints) | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Transformers Programmatic Replacement | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Distribution Transformers - OOS | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Transmission Transformers - OOS | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Bayamon TC - Transformer Replacement (Energize) | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Caguas TC - Transformer Replacement (Energize) | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Costa Sur - Transformer Replacement (Energize) | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Factor - Transformer Replacement (Energize) | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Monacillo TC - Transformer Replacement Bank 1 and 3 | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Fajardo - Transformer Replacement (Energize) | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Guanica TC - Transformer Replacement | H2-FY2026 | System Stability
PBUT7 | Substation Reliability | Transformers OOS and Emergent Failures | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Line 40600 Bayamon-Monacillos (UG Loop) | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Line 40700 | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Line 40500 | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Line 39300 | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Line 40000 | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Line 39200 | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Overloaded Transmission Lines | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Transmission Current Capacity Constraints | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Line 41600 San Juan GIS to Palo Seco SP (UG Loop) | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Transmission System Improvement (DER) | H2-FY2026 | System Stability
PBUT33 | Transmission Line Rebuild | Transmission Wildfire Mitigation Infrastructure Hardening | H2-FY2026 | System Stability
PBUT37 | Microgrid, Phasor Measurement Units (PMU), and Battery Energy Storage Installations and Integration | 25MW BESS Interconnections - Barceloneta | H2-FY2026 | System Stability
PBUT37 | Microgrid, Phasor Measurement Units (PMU), and Battery Energy Storage Installations and Integration | 25MW BESS Interconnections - Manatí | H2-FY2026 | System Stability
PBUT37 | Microgrid, Phasor Measurement Units (PMU), and Battery Energy Storage Installations and Integration | 25MW BESS Interconnections - Aguadilla | H2-FY2026 | System Stability
PBUT37 | Microgrid, Phasor Measurement Units (PMU), and Battery Energy Storage Installations and Integration | 25MW BESS Interconnections - San Juan | H2-FY2026 | System Stability
PBUT27 | Asset Data Integrity | Asset Mgmt Info System Implementation | H2-FY2026 | N/A
PBUT27 | Asset Data Integrity | Asset Tagging | H2-FY2026 | N/A
PBUT27 | Asset Data Integrity | GIS Improvements | H2-FY2026 | N/A
PBUT27 | Asset Data Integrity | Engineering Tools | H2-FY2026 | N/A
PBUT1 | Compliance & Studies | Substation Grounding | H2-FY2026 | N/A
PBUT1 | Compliance & Studies | DG Interconnect & Net Metering | H2-FY2026 | N/A
PBUT1 | Compliance & Studies | PSSE Dynamic Data Collection | H2-FY2026 | N/A
PBUT1 | Compliance & Studies | D Subs Sys Asset Plan & Size | H2-FY2026 | N/A
PBUT1 | Compliance & Studies | Dist Line-Sys Lev Plan & Size | H2-FY2026 | N/A
PBUT1 | Compliance & Studies | T Subs Sys Asset Plan & Size | H2-FY2026 | N/A
PBUT1 | Compliance & Studies | T Line-Sys Lev A. Plan & Size | H2-FY2026 | N/A
PBUT1 | Compliance & Studies | Wildfire Mitigation | H2-FY2026 | N/A
PBUT4 | Distribution Automation | DA Test Equipment | H2-FY2026 | N/A
PBUT4 | Distribution Automation | DA Replacement Reclosure Equipment (Emergent) | H2-FY2026 | N/A
PBUT6 | Distribution Line Rebuild | Strategic Voltage Conversion | H2-FY2026 | N/A
PBUT6 | Distribution Line Rebuild | Overloaded Distribution Lines | H2-FY2026 | N/A
PBUT6 | Distribution Line Rebuild | Provisional OH (UG Primary) | H2-FY2026 | N/A
PBUT6 | Distribution Line Rebuild | Overloaded Distribution Lines | H2-FY2026 | N/A
PBUT30 | Distribution Pole & Conductor Repair | Engineering Distribution Corrective Maintenance | H2-FY2026 | N/A
PBUT30 | Distribution Pole & Conductor Repair | Engineering Distribution Out of Service | H2-FY2026 | N/A
PBUT5 | Distribution Streetlighting | Dusk To Dawn- LED requiered by Law | H2-FY2026 | N/A
PBUT37 | Grid Modernization | 25MW BESS Interconnections - Barceloneta | H2-FY2026 | N/A
PBUT37 | Grid Modernization | 25MW BESS Interconnections - Manatí | H2-FY2026 | N/A
PBUT37 | Grid Modernization | 25MW BESS Interconnections - Aguadilla | H2-FY2026 | N/A
PBUT37 | Grid Modernization | 25MW BESS Interconnections - San Juan | H2-FY2026 | N/A
PBIT1 | IT OT Telecom Systems & Network | Fiber - FY26 - Repair/Replace/DB | H2-FY2026 | N/A
PBIT1 | IT OT Telecom Systems & Network | Microwave Repairs | H2-FY2026 | N/A
PBIT1 | IT OT Telecom Systems & Network | Pre-Substation-Rebuild Transport Network Enhance | H2-FY2026 | N/A
PBIT1 | IT OT Telecom Systems & Network | Structural analysis for Telecom Structure | H2-FY2026 | N/A
PBUT38 | New Business Connections | D&T-NB Evaluations | H2-FY2026 | N/A
PBUT38 | New Business Connections | D&T-NB Endorsements | H2-FY2026 | N/A
PBUT38 | New Business Connections | D&T-NB Inspections | H2-FY2026 | N/A
PBUT38 | New Business Connections | D&T-NB System Upgrades | H2-FY2026 | N/A
PBUT38 | New Business Connections | Electric Certifications | H2-FY2026 | N/A
PBUT38 | New Business Connections | Customer Portal - Applications | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Sabana Llana – 544MVA | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Llorens Torres – (Metal Clad SG) | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Covadonga (GIS Repair) | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Monacillo 1346 | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Mayaguez UG Cable Replacement | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Critical Transmission Relays | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Mora TC - Transformer Replacement (Energize) | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Distribution Relay Upgrades - Alturas de Rio Grande | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Distribution Relay Upgrades - Bairoa | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Distribution Relay Upgrades - Cayey | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Distribution Relay Upgrades - Marina | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Distribution Relay Upgrades - MINILLAS | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Distribution Relay Upgrades - Rio Grande | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Distribution Relay Upgrades - Sabanera | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Distribution Relay Upgrades - Vega Alta | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Veredas Transformer | H2-FY2026 | N/A
PBUT7 | Substation Reliability | Juncos Transformer Replacement | H2-FY2026 | N/A
PBUT13 | Transmission Priority Pole Replacements | Engineering Transmission Corrective Maintenance | H2-FY2026 | N/A
PBUT13 | Transmission Priority Pole Replacements | Engineering Transmission Out of Service | H2-FY2026 | N/A
PBUT7 | Substation Reliability | DFR - Digital Fault Recorder - OOS (Stabilization Visibility) | H2-FY2026 | N/A
PBUT6 | Distribution Line Rebuild | Distribution system improvement (DER) | H2-FY2026 | Partial
PBUT7 | Substation Reliability | Grounding & Gravel | H2-FY2026 | Partial
PBUT7 | Substation Reliability | Voltage Regulation / Optimiation (ie - Capacitor Banks) | H2-FY2026 | Partial
PBUT7 | Substation Reliability | Substation System Upgrades (DER) | H2-FY2026 | Partial
Note on C62: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The purple ones are all about energizing currently out of service transformers to either restore banks to function or take off from mobile subs. Thus, adding redundancy in case of future failure ( loosing the complete sub as they are currently in contingencies).
Note on C139: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Post Event Analysis and subsequent mitigation benefits but nothing directly.