## Exhibit 2
Installed Measures by Sector, Segment, and Program FY2025
Sector | Segment | Program | Installed Measure | YTD Quantity | Per-Unit Energy Savings kWh (Average) | Per-Unit Energy Savings kWh or Range | Per-Unit Peak Demand Savings kW (Average) | Per-Unit Peak Demand Savings kW or Range | FY25 Energy Savings kWh | FY25 Peak Demand Savings kW | FY25 Lifetime Savings kWh | kW - Years (Measure Effective Useful Life)* | FY25 Incentive Spend | LCOE Savings $/kWh
Residential | Single-Family Homes | Residential Rebate | Window AC | 321 | 671 | 63.73-3106.21 | 0.054 | 0.01-0.228 | 215369.91 | 17.178 | 1938328.81 | 9 | 43305 | 0.2
Residential | Single-Family Homes | Residential Rebate | Ductless Split AC | 9455 | 1150 | 437.54-2858.94 | 0.121 | 0.048-0.344 | 10874715.4 | 1144.628 | 163120737.74 | 15 | 4902999.65 | 0.45
Residential | Single-Family Homes | Residential Rebate | Solar Water Heater | 2320 | 1772 | 525.73-6431.65 | 0.264 | 0.078-0.956 | 4111425.14 | 612.221 | 74005650.86 | 18 | 1307717 | 0.32
Residential | Single-Family Homes | Residential Rebate | Tankless Water Heater | 153 | 86 | 30.96-188.19 | 0.124 | 0.045-0.273 | 13129.95 | 19.006 | 262599.3 | 20 | 9434.92 | 0.72
Residential | Single-Family Homes | Residential Rebate | ENERGY STAR Refrigerator | 1191 | N/A | 51 | N/A | 0.006 | 60600.46 | 7.146 | 909006.93 | 15 | 256333 | 4.23
Residential | Single-Family Homes | Residential Rebate | ENERGY STAR Freezer | 69 | N/A | 43 | N/A | 0.005 | 2950.44 | 0.345 | 44256.6 | 15 | 14919.51 | 5.06
Residential | Single-Family Homes | Energy Efficiency Kits Program*** | LED Bulbs | 57432 | N/A | 46 | N/A | 0.009 | 2627900 | 496.912 | 47346940.8 | 18 | 514649.5 | 0.16
Residential | Single-Family Homes | Energy Efficiency Kits Program*** | Advanced Power Strip | 9572 | N/A | 38 | N/A | 0.004 | 363128 | 38.224 | 2419801.6 | 7
Residential | Single-Family Homes | Energy Efficiency Kits Program*** | LED Night Light | 9572 | N/A | 31 | N/A | 0.001 | 296236 | 9.556 | 364693.2 | 8
Residential | Single-Family Homes | In-Store Discount Program | Efficient Lighting | 105323 | 37 | 34.49-42.98 | 0.007 | 0.0065-0.0083 | 3880148 | 732.03 | 0 | 18 | 300189.56 | 0.08
Residential | Single-Family Homes | In-Store Discount Program | Ceiling Fans | 4693 | N/A | 63 | N/A | 0.018 | 295659 | 84.474 | 1478295 | 5 | 217695 | 0.74
Residential | Single-Family Homes | In-Store Discount Program | Window ACs | 2269 | N/A | 234 | N/A | 0.033 | 530946 | 74.877 | 4776245 | 9 | 174720 | 0.33
Commercial | Small Business | Business Energy Kit Program | LED Filament A19 (60w) | 4428 | N/A | 739 | N/A | 0.099 | 272748.93 | 36.535 | 1090995.72 | 4 | 8682.49 | 0.03
Commercial | Small Business | Business Energy Kit Program | LED Filament Candle E12 base | 2214 | N/A | 211 | N/A | 0.028 | 77928.27 | 10.439 | 311713.06 | 4 | 6431.59 | 0.08
Commercial | Small Business | Business Energy Kit Program | LED Exit Sign Retrofit | 6146 | N/A | 537 | N/A | 0.061 | 1650541 | 188.418 | 29709737.94 | 18 | 77849.01 | 0.05
Commercial | Small Business | Business Energy Kit Program | Power Rinser Pre-Rinse Spray Valve (1.1 GPM) | 295 | N/A | 179 | N/A | 0.034 | 66118.55 | 12.396 | 330592.77 | 5 | 15977.62 | 0.23
Commercial | Small Business | Business Energy Kit Program | Bath Aerator (1.0 GPM) | 3882 | 28 | 13.34-46.31 | 0.005 | 0.0019-0.0079 | 60310.75 | 14.162 | 603107.54 | 10 | 12581.67 | 0.2
Commercial | Small Business | Business Energy Kit Program | Kitchen Aerator (1.5 GPM) | 1367 | 29 | 20.55-37.89 | 0.006 | 0.0049-0.0065 | 41521.62 | 10.466 | 415216.25 | 10 | 10010.61 | 0.23
Commercial | Small Business | Business Energy Kit Program | LED A19 (60w) | 16224 | 211 | 173.63-249.57 | 0.029 | 0.0185-0.0347 | 544863.35 | 71.675 | 3734508.79 | 7 | 32012.21 | 0.06
Commercial | Small Business | Business Energy Kit Program | LED BR30 (day light) | 29768 | 230 | 165.36-285.23 | 0.032 | 0.0177-0.0397 | 578383.96 | 77.182 | 3913473.92 | 7 | 73880.81 | 0.13
Commercial | Small Business | Business Energy Kit Program | Tier 1 APS | 2704 | N/A | 80 | N/A | 0 | 215116.9 | 0 | 1505818.28 | 7 | 68516.21 | 0.32
Commercial | Small Business | Business Energy Kit Program | LED Desk Lamp | 1340 | N/A | 41 | N/A | 0.0044 | 55396.27 | 5.916 | 443170.16 | 8 | 19115.72 | 0.34
Commercial | Small Business | Business Rebate Program | LED Exit Sign | 11 | 216 | 34.34-429.24 | 0.001 | 0.0003-0.0008 | 2372.84 | 0.006 | 42711.09 | 18 | 110 | 0.05
Commercial | Small Business | Business Rebate Program | Omni Directional LED Replacement | 378 | 300 | 153.99-322.14 | 0.038 | 0.0195-0.0409 | 113394.63 | 14.4 | 737065.12 | 7 | 2267.4 | 0.02
Commercial | Small Business | Business Rebate Program | LED Troffer Replacement | 1554 | 189 | 6.81-483.48 | 0.024 | 0.0009-0.0614 | 293059.81 | 37.231 | 5304382.52 | 18 | 44455 | 0.15
Commercial | Small Business | Business Rebate Program | Linear Fluorescent LED Replacement | 2420 | 59 | 51.15-172.98 | 0.007 | 0.0065-0.022 | 142313.57 | 18.078 | 2575875.7 | 18 | 12325 | 0.09
Commercial | Small Business | Business Rebate Program | Occupancy Sensor | 27 | N/A | 46 | N/A | 0.024 | 1232.89 | 0.657 | 9863.12 | 8 | 540 | 0.44
Commercial | Small Business | Business Rebate Program | Exterior Lighting | 3 | N/A | 267 | N/A | 0.049 | 799.5 | 0.148 | 9594 | 12 | 120 | 0.15
Commercial | Small Business | Business Rebate Program | Ice Machine | 4 | 699 | 438.89-1478.16 | 0.056 | 0.035-0.119 | 2794.83 | 0.224 | 27948.34 | 10 | 2000 | 0.72
Commercial | Small Business | Business Rebate Program | Commercial Refrigerator | 2 | N/A | 765 | N/A | 0.087 | 1530.11 | 0.174 | 18361.26 | 12 | 200 | 0.13
Commercial | Small Business | Business Rebate Program | Commercial Air Conditioner | 61 | N/A | 8342 | N/A | 0.971 | 508881.46 | 59.243 | 7633221.81 | 15 | 93727.25 | 0.18
Commercial | Small Business | Business Rebate Program | Ductless Split AC | 550 | 1390 | 136.51-4828.63 | 0.155 | 0.002-0.4615 | 764335.82 | 85.104 | 11465037.13 | 15 | 397019.99 | 0.52
Commercial | Small Business | Business Rebate Program | Chiller | 3 | 335353 | 310803-347628 | 45.002 | 38.849-48.0785 | 1006059 | 135.006 | 22133298 | 22 | 105000 | 0.1
Commercial | Small Business | Business Rebate Program | Solar Water Heater | 8 | 2666 | 2529.59-2776.53 | 0.397 | 0.376-0.413 | 21327.38 | 3.172 | 383892.89 | 18 | 4400 | 0.21
Commercial | Small Business | Business Rebate Program | Window Film | 2 | N/A | 8.11** | N/A | 0.0004** | 9659.01 | 0.476 | 96590.1 | 10 | 1191 | 0.12
Commercial | Small Business | Business Rebate Program | Pool Pump VFD | 1 | 8067 | 8067 | 0.908 | 0.908-0.908 | 8066.5 | 0.908 | 80665 | 10 | 600 | 0.07
*LUMA interprets the Energy Bureau's desire for Lifetime KW to mean the number of years that demand savings persist, or the measure Effective Useful Life (EUL). | [12 empty] | 8730976.72
**Savings per square foot.
***The FY25 YTD Costs for Residential Rebates includes $414,460.50 attributed to kits distributed in June FY24. Although the invoice for these kits was received and recorded in July, the expense was recognized in FY25 Q1. In the FY24 Q4 report, while the expenditure was not recognized, the quantity of kits distributed, and the energy savings achieved during that period were duly noted. If we exclude this expenditure, the total incurred for Residential EE kits for FY25 would be $514,649.50.
FY2025 Annual Report - Exhibit 2