## Hgh Eff Comparison
Scenario 1 - Thermal Unit Additions
[12 empty] | High Efficiency Target - $/kWh (2018$) | 0.1 |  |  | CPI | https://www.bls.gov/regions/mid-atlantic/data/consumerpriceindexhistorical_us_table.htm
Child Name | Fiscal Year | Generation (GWh) | Capacity (Max or Rated) (MW) | Capacity Factor (%) | Average $/kWh -Nominal$ | Average $/kWh Adjusted to 2018$ (based on FOMB inflation rates) | Average $/kWh Adjusted to 2018$ (based on BLS+NREL inflation) | Year | Inflation Rate FOMB (from Joseline 7-29-25) | Inflation Factor (2018$ based on FOMB) | Inflation Rate BLS + NREL | Inflation Factor (2018$ based on BLS+NREL) | High Efficiency Target $/kWh (Nominal$) | CPI | Inflation Rate |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
7F.05 1x1_S Juan | 2033 | 3047.32 | 373.14 | 93.23 | 0.13124 | 0.099002 | 0.083651 | 2018 | 1.611% | 1 | 1.91% | 1 | 0.1 | 251.233 |  | 2015 | 233.707 | 234.722 | 236.119 | 236.599 | 237.805 | 238.638 | 238.654 | 238.316 | 237.945 | 237.838 | 237.336 | 236.525
7F.05 1x1_S Juan | 2034 | 2969.3 | 373.14 | 90.84 | 0.1357 | 0.1006 | 0.084389 | 2019 | 0.5263% | 1.0053 | 2.285% | 1.0229 | 0.10229 | 256.974 | 0.022851 | 2016 | 236.916 | 237.111 | 238.132 | 239.261 | 240.229 | 241.018 | 240.628 | 240.849 | 241.428 | 241.729 | 241.353 | 241.432
7F.05 1x1_S Juan | 2035 | 2981.63 | 373.14 | 91.22 | 0.1382 | 0.10064 | 0.083843 | 2020 | 0.02094% | 1.0055 | 1.362% | 1.0368 | 0.10368 | 260.474 | 0.01362 | 2017 | 242.839 | 243.603 | 243.801 | 244.524 | 244.733 | 244.955 | 244.786 | 245.519 | 246.819 | 246.663 | 246.669 | 246.524
7F.05 1x1_S Juan | 2036 | 3020.13 | 373.14 | 92.14 | 0.13928 | 0.099624 | 0.082437 | 2021 | 0.1745% | 1.0072 | 7.036% | 1.1097 | 0.11097 | 278.802 | 0.070364 | 2018 | 247.867 | 248.991 | 249.554 | 250.546 | 251.588 | 251.989 | 252.006 | 252.146 | 252.439 | 252.885 | 252.038 | 251.233
7F.05 1x1_S Juan | 2037 | 3029.18 | 373.14 | 92.67 | 0.14116 | 0.099126 | 0.081513 | 2022 | 4.661% | 1.0542 | 6.454% | 1.1814 | 0.11814 | 296.797 | 0.064544 | 2019 | 251.712 | 252.776 | 254.202 | 255.548 | 256.092 | 256.143 | 256.571 | 256.558 | 256.759 | 257.346 | 257.208 | 256.974
7F.05 1x1_S Juan | 2038 | 2990.51 | 373.14 | 91.49 | 0.14513 | 0.099908 | 0.081763 | 2023 | 5.392% | 1.111 | 3.352% | 1.221 | 0.1221 | 306.746 | 0.033521 | 2020 | 257.971 | 258.678 | 258.115 | 256.389 | 256.394 | 257.797 | 259.101 | 259.918 | 260.28 | 260.388 | 260.229 | 260.474
7F.05 1x1_S Juan | 2039 | 2887.87 | 373.14 | 88.35 | 0.14702 | 0.099211 | 0.080807 | 2024 | 2.47% | 1.1384 | 2.888% | 1.2562 | 0.12562 | 315.605 | 0.028881 | 2021 | 261.582 | 263.014 | 264.877 | 267.054 | 269.195 | 271.696 | 273.003 | 273.567 | 274.31 | 276.589 | 277.948 | 278.802
LM2500 1x0_Arecibo | 2031 | 41.28 | 34.55 | 13.64 | 0.4388 | 0.34263 | 0.29386 | 2025 | 1.754% | 1.1584 | 2.5% | 1.2876 | 0.12876 |  |  | 2022 | 281.148 | 283.716 | 287.504 | 289.109 | 292.296 | 296.311 | 296.276 | 296.171 | 296.808 | 298.012 | 297.711 | 296.797
LM2500 1x0_Arecibo | 2032 | 36.73 | 34.55 | 12.1 | 0.48017 | 0.36854 | 0.31372 | 2026 | 1.61% | 1.1771 | 2.5% | 1.3198 | 0.13198 |  |  | 2023 | 299.17 | 300.84 | 301.836 | 303.363 | 304.127 | 305.109 | 305.691 | 307.026 | 307.789 | 307.671 | 307.051 | 306.746
LM2500 1x0_Arecibo | 2033 | 27.41 | 34.55 | 9.06 | 0.59989 | 0.45255 | 0.38238 | 2027 | 1.632% | 1.1963 | 2.5% | 1.3528 | 0.13528 |  |  | 2024 | 308.417 | 310.326 | 312.332 | 313.548 | 314.069 | 314.175 | 314.54 | 314.796 | 315.301 | 315.664 | 315.493 | 315.605
LM2500 1x0_Arecibo | 2034 | 26.07 | 34.55 | 8.61 | 0.62878 | 0.46614 | 0.39101 | 2028 | 1.691% | 1.2165 | 2.5% | 1.3866 | 0.13866
LM2500 1x0_Arecibo | 2035 | 31.47 | 34.55 | 10.4 | 0.55447 | 0.40381 | 0.3364 | 2029 | 1.731% | 1.2376 | 2.5% | 1.4213 | 0.14213 |  |  | Used NREL for Inflation from 2025 to 2044
LM2500 1x0_Arecibo | 2036 | 25.09 | 34.55 | 8.27 | 0.66089 | 0.47273 | 0.39118 | 2030 | 1.728% | 1.2589 | 2.5% | 1.4568 | 0.14568
LM2500 1x0_Arecibo | 2037 | 20.5 | 34.55 | 6.77 | 0.77881 | 0.54691 | 0.44973 | 2031 | 1.728% | 1.2807 | 2.5% | 1.4933 | 0.14933
LM2500 1x0_Arecibo | 2038 | 21.83 | 34.55 | 7.21 | 0.74597 | 0.51353 | 0.42026 | 2032 | 1.733% | 1.3029 | 2.5% | 1.5306 | 0.15306
LM2500 1x0_Arecibo | 2039 | 8.13 | 34.55 | 2.69 | 1.7357 | 1.1713 | 0.95399 | 2033 | 1.742% | 1.3256 | 2.5% | 1.5689 | 0.15689
LM2500 1x0_Arecibo | 2040 | 31.96 | 34.55 | 10.53 | 0.5691 | 0.37646 | 0.30517 | 2034 | 1.758% | 1.3489 | 2.5% | 1.6081 | 0.16081
LM2500 1x0_Arecibo | 2041 | 24.22 | 34.55 | 8 | 0.70271 | 0.45569 | 0.36762 | 2035 | 1.795% | 1.3731 | 2.5% | 1.6483 | 0.16483
LM2500 1x0_Arecibo | 2042 | 14.57 | 34.55 | 4.81 | 1.0632 | 0.68945 | 0.5562 | 2036 | 1.814% | 1.398 | 2.5% | 1.6895 | 0.16895
LM2500 1x0_Arecibo | 2043 | 8.41 | 34.55 | 2.78 | 1.7187 | 1.1146 | 0.89915 | 2037 | 1.86% | 1.424 | 2.5% | 1.7317 | 0.17317
LM2500 1x0_Arecibo | 2044 | 0.78 | 34.55 | 0.26 | 16.9026 | 10.9609 | 8.8426 | 2038 | 2.009% | 1.4526 | 2.5% | 1.775 | 0.1775
LM2500 1x0_Ponce OE | 2031 | 66.33 | 34.55 | 21.91 | 0.31641 | 0.24706 | 0.21189 | 2039 | 2.015% | 1.4819 | 2.5% | 1.8194 | 0.18194
LM2500 1x0_Ponce OE | 2032 | 62.16 | 34.55 | 20.48 | 0.33252 | 0.25521 | 0.21725 | 2040 | 2.011% | 1.5117 | 2.5% | 1.8649 | 0.18649
LM2500 1x0_Ponce OE | 2033 | 52.65 | 34.55 | 17.39 | 0.37489 | 0.28281 | 0.23896 | 2041 | 2.009% | 1.5421 | 2.5% | 1.9115 | 0.19115
LM2500 1x0_Ponce OE | 2034 | 46.7 | 34.55 | 15.43 | 0.40928 | 0.30342 | 0.25452
LM2500 1x0_Ponce OE | 2035 | 46.42 | 34.55 | 15.34 | 0.41831 | 0.30465 | 0.25379
LM2500 1x0_Ponce OE | 2036 | 37.76 | 34.55 | 12.44 | 0.4839 | 0.34613 | 0.28642
LM2500 1x0_Ponce OE | 2037 | 40.02 | 34.55 | 13.22 | 0.46844 | 0.32896 | 0.27051
LM2500 1x0_Ponce OE | 2038 | 27.57 | 34.55 | 9.11 | 0.61557 | 0.42376 | 0.3468
LM2500 1x0_Ponce OE | 2039 | 11.59 | 34.55 | 3.83 | 1.2587 | 0.84935 | 0.6918
LM2500 1x0_Ponce OE | 2040 | 50.47 | 34.55 | 16.63 | 0.41327 | 0.27338 | 0.22161
LM2500 1x0_Ponce OE | 2041 | 32.65 | 34.55 | 10.79 | 0.55753 | 0.36155 | 0.29167
LM2500 1x0_Ponce OE | 2042 | 20.11 | 34.55 | 6.64 | 0.80932 | 0.52482 | 0.4234
LM2500 1x0_Ponce OE | 2043 | 11.35 | 34.55 | 3.75 | 1.3094 | 0.8491 | 0.685
LM2500 1x0_Ponce OE | 2044 | 0.73 | 34.55 | 0.24 | 18.0396 | 11.6982 | 9.4374
LM2500 1x0_S Juan | 2031 | 72.78 | 34.55 | 24.05 | 0.29951 | 0.23386 | 0.20057
LM2500 1x0_S Juan | 2032 | 62.37 | 34.55 | 20.55 | 0.33185 | 0.2547 | 0.21681
LM2500 1x0_S Juan | 2033 | 47.54 | 34.55 | 15.71 | 0.39919 | 0.30114 | 0.25445
LM2500 1x0_S Juan | 2034 | 46.57 | 34.55 | 15.39 | 0.40923 | 0.30338 | 0.25448
LM2500 1x0_S Juan | 2035 | 49.09 | 34.55 | 16.22 | 0.40284 | 0.29338 | 0.2444
LM2500 1x0_S Juan | 2036 | 36.67 | 34.55 | 12.08 | 0.49392 | 0.3533 | 0.29235
LM2500 1x0_S Juan | 2037 | 39.59 | 34.55 | 13.08 | 0.47101 | 0.33076 | 0.27199
LM2500 1x0_S Juan | 2038 | 28.07 | 34.55 | 9.27 | 0.60743 | 0.41816 | 0.34221
LM2500 1x0_S Juan | 2039 | 10.69 | 34.55 | 3.53 | 1.3511 | 0.91171 | 0.7426
LM2500 1x0_S Juan | 2040 | 47.9 | 34.55 | 15.78 | 0.42706 | 0.2825 | 0.229
LM2500 1x0_S Juan | 2041 | 31.67 | 34.55 | 10.46 | 0.56943 | 0.36926 | 0.2979
LM2500 1x0_S Juan | 2042 | 20.64 | 34.55 | 6.82 | 0.79274 | 0.51407 | 0.41472
LM2500 1x0_S Juan | 2043 | 13.38 | 34.55 | 4.42 | 1.1365 | 0.73702 | 0.59458
LM2500 1x0_S Juan | 2044 | 1.42 | 34.55 | 0.47 | 9.3537 | 6.0657 | 4.8934

## Data from Gen ST Tab
[5 empty] | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | GenST Tab | Gen LT Sheet | Gen LT Sheet
Fuel Type | Parent Name | Collection | Child Name | Fiscal Year | Units | Generation (GWh) | Capacity Factor (%) | Fuel Offtake (BBtu) | Start Fuel Offtake (BBtu) | No Cost Energy (GWh) | Hours Curtailed (h) | Energy Curtailed (GWh) | Curtailment Factor (%) | Max Starts Violation | Raise Reserve (GWh) | Lower Reserve (GWh) | Regulation Raise Reserve (GWh) | Regulation Lower Reserve (GWh) | Replacement Reserve (GWh) | Fuel Price ($/MMBtu) | Fuel Cost ($000) | VO&M Charge ($/MWh) | VO&M Cost ($000) | FO&M Cost ($000) | Generation Cost ($000) | Start & Shutdown Cost ($000) | Start Fuel Cost ($000) | Total System Cost ($000) | Fuel and VOM & FOM | Fuel and VOM | Build Cost ($000) | Annualized Build Cost ($000) | Fuel & VOM $/kWh | Fuel, FOM & VOM $/kWh | CapEx, Fuel, FOM & VOM $/kWh | Fiscal Year | Generation (GWh) | Capacity (Max or Rated) (MW) | Capacity Factor (%) | Average $/kWh -Nominal$
LNG | System | Generator | 7F.05 1x1_S Juan | 2033 | 1 | 3047.32 | 93.23 | 20447.81 | 3.98 | 0 | 0 | 0 | 0 | 0 | 0.19 | 2.74 | 0 | 2.74 | 0 | 12.49 | 255312.46 | 6.12 | 18645.97 | 19239.92 | 273958.43 | 50.28 | 50.28 | 274008.71 | 0.089901 | 0.096215 | 1019799.48 | 106671.03 | #REF! | 0.096232 | 0.13124
LNG | System | Generator | 7F.05 1x1_S Juan | 2034 | 1 | 2969.3 | 90.84 | 19925.5 | 4.51 | 0 | 0 | 0 | 0 | 0 | 9.91 | 10.29 | 0 | 10.29 | 0 | 12.93 | 257579.89 | 6.27 | 18622.77 | 20014.68 | 276202.67 | 58.57 | 58.57 | 276261.24 | 0.093019 | 0.09976 | 0 | 106671.03 | #REF! | 0.09978 | 0.1357
LNG | System | Generator | 7F.05 1x1_S Juan | 2035 | 1 | 2981.63 | 91.22 | 20007.35 | 3.71 | 0 | 0 | 0 | 0 | 0 | 6.55 | 10.13 | 0 | 10.13 | 0 | 13.26 | 265340.13 | 6.43 | 19167.63 | 20821.16 | 284507.76 | 49.58 | 49.58 | 284557.34 | 0.09542 | 0.1024 | 0 | 106671.03 | #REF! | 0.10242 | 0.1382
LNG | System | Generator | 7F.05 1x1_S Juan | 2036 | 1 | 3020.13 | 92.14 | 20275.69 | 3.98 | 0 | 0 | 0 | 0 | 0 | 0.96 | 5.52 | 0 | 5.52 | 0 | 13.43 | 272285.93 | 6.59 | 19900.52 | 21719.95 | 292186.45 | 53.98 | 53.98 | 292240.43 | 0.096746 | 0.10394 | 0 | 106671.03 | #REF! | 0.10396 | 0.13928
LNG | System | Generator | 7F.05 1x1_S Juan | 2037 | 1 | 3029.18 | 92.67 | 20328.6 | 3.45 | 0 | 0 | 0 | 0 | 0 | 2.89 | 3.46 | 0 | 3.46 | 0 | 13.67 | 277808.73 | 6.75 | 20459.13 | 22602.83 | 298267.86 | 47.48 | 47.48 | 298315.35 | 0.098465 | 0.10593 | 0 | 106671.03 | #REF! | 0.10594 | 0.14116
LNG | System | Generator | 7F.05 1x1_S Juan | 2038 | 1 | 2990.51 | 91.49 | 20073.14 | 4.77 | 0 | 0 | 0 | 0 | 0 | 3.26 | 6.46 | 0 | 6.46 | 0 | 14.1 | 282986.41 | 6.92 | 20702.9 | 23584.02 | 303689.3 | 67.96 | 67.96 | 303757.26 | 0.10155 | 0.10944 | 0 | 106671.03 | #REF! | 0.10946 | 0.14513
LNG | System | Generator | 7F.05 1x1_S Juan | 2039 | 1 | 2887.87 | 88.35 | 19393.88 | 11.66 | 0 | 0 | 0 | 0 | 0 | 4.88 | 7.39 | 0.16 | 7.39 | 0 | 14.06 | 272629.61 | 7.1 | 20492.16 | 24611.23 | 293121.77 | 170.37 | 170.37 | 293292.14 | 0.1015 | 0.11002 | 0 | 106671.03 | #REF! | 0.11008 | 0.14702
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2031 | 1 | 41.28 | 13.64 | 419.52 | 1.56 | 0 | 0 | 0 | 0 | 0 | 0.98 | 0.17 | 0.03 | 0.17 | 0 | 12.33 | 5170.82 | 9.97 | 411.4 | 1781.52 | 5582.21 | 19.32 | 19.32 | 5601.53 | 0.13523 | 0.17838 | 102589.07 | 10730.82 | #REF! | 0.17885 | 0.4388
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2032 | 1 | 36.73 | 12.1 | 372.3 | 1.35 | 0 | 0 | 0 | 0 | 0 | 0.36 | 0.32 | 0 | 0.32 | 0 | 12.86 | 4788.28 | 10.22 | 375.18 | 1725.06 | 5163.46 | 17.29 | 17.29 | 5180.75 | 0.14058 | 0.18754 | 0 | 10730.82 | #REF! | 0.18802 | 0.48017
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2033 | 1 | 27.41 | 9.06 | 279.88 | 1 | 0 | 0 | 0 | 0 | 0 | 0.79 | 0.2 | 0 | 0.2 | 0 | 13.07 | 3658.82 | 10.47 | 286.99 | 1753.18 | 3945.81 | 13.29 | 13.29 | 3959.09 | 0.14396 | 0.20792 | 0 | 10730.82 | #REF! | 0.2084 | 0.59989
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2034 | 1 | 26.07 | 8.61 | 265.21 | 1 | 0 | 0 | 0 | 0 | 0 | 0.58 | 0.15 | 0 | 0.15 | 0 | 13.47 | 3571.13 | 10.73 | 279.82 | 1797.01 | 3850.95 | 13.47 | 13.47 | 3864.42 | 0.14772 | 0.21665 | 0 | 10730.82 | #REF! | 0.21716 | 0.62878
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2035 | 1 | 31.47 | 10.4 | 321.45 | 1.12 | 0 | 0 | 0 | 0 | 0 | 0.81 | 0.26 | 0 | 0.26 | 0 | 14.04 | 4514.58 | 11 | 346.18 | 1841.94 | 4860.76 | 15.75 | 15.75 | 4876.51 | 0.15446 | 0.21299 | 0 | 10730.82 | #REF! | 0.21349 | 0.55447
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2036 | 1 | 25.09 | 8.27 | 257.09 | 0.93 | 0 | 0 | 0 | 0 | 0 | 0.67 | 0.24 | 0 | 0.24 | 0 | 14.24 | 3661.54 | 11.28 | 282.9 | 1893.16 | 3944.44 | 13.3 | 13.3 | 3957.74 | 0.15721 | 0.23267 | 0 | 10730.82 | #REF! | 0.2332 | 0.66089
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2037 | 1 | 20.5 | 6.77 | 212.04 | 0.7 | 0 | 0 | 0 | 0 | 0 | 1.18 | 0.14 | 0 | 0.14 | 0 | 14.4 | 3052.64 | 11.56 | 236.96 | 1935.18 | 3289.6 | 10.1 | 10.1 | 3299.7 | 0.16047 | 0.25487 | 0 | 10730.82 | #REF! | 0.25536 | 0.77881
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2038 | 1 | 21.83 | 7.21 | 221.53 | 0.84 | 0 | 0 | 0 | 0 | 0 | 0.33 | 0.22 | 0 | 0.22 | 0 | 14.89 | 3299.13 | 11.85 | 258.57 | 1983.56 | 3557.69 | 12.44 | 12.44 | 3570.13 | 0.16297 | 0.25384 | 0 | 10730.82 | #REF! | 0.25441 | 0.74597
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2039 | 1 | 8.13 | 2.69 | 83.01 | 0.49 | 0 | 0 | 0 | 0 | 0 | 0.27 | 0.1 | 0 | 0.1 | 0 | 14.95 | 1240.99 | 12.14 | 98.69 | 2033.15 | 1339.69 | 7.39 | 7.39 | 1347.08 | 0.16478 | 0.41486 | 0 | 10730.82 | #REF! | 0.41577 | 1.7357
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2040 | 1 | 31.96 | 10.53 | 328.51 | 1.03 | 0 | 0 | 0 | 0 | 0 | 1.65 | 0.38 | 0 | 0.38 | 0 | 15.08 | 4954.64 | 12.45 | 397.84 | 2089.69 | 5352.48 | 15.52 | 15.52 | 5368 | 0.16747 | 0.23286 | 0 | 10730.82 | #REF! | 0.23334 | 0.5691
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2041 | 1 | 24.22 | 8 | 245.85 | 0.89 | 0 | 0 | 0 | 0 | 0 | 0.29 | 0.39 | 0 | 0.39 | 0 | 15.58 | 3829.6 | 12.76 | 309.02 | 2136.08 | 4138.62 | 14.04 | 14.04 | 4152.67 | 0.17088 | 0.25907 | 0 | 10730.82 | #REF! | 0.25965 | 0.70271
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2042 | 1 | 14.57 | 4.81 | 150.61 | 0.82 | 0 | 0 | 0 | 0 | 0 | 1.01 | 0.25 | 0 | 0.25 | 0 | 15.71 | 2366.67 | 13.08 | 190.49 | 2189.48 | 2557.16 | 13.04 | 13.04 | 2570.21 | 0.17551 | 0.32578 | 0 | 10730.82 | #REF! | 0.32668 | 1.0632
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2043 | 1 | 8.41 | 2.78 | 85.59 | 0.82 | 0 | 0 | 0 | 0 | 0 | 0.25 | 0.09 | 0 | 0.09 | 0 | 15.82 | 1353.73 | 13.4 | 112.75 | 2244.22 | 1466.48 | 12.94 | 12.94 | 1479.42 | 0.17437 | 0.44122 | 0 | 10730.82 | #REF! | 0.44276 | 1.7187
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | 2044 | 1 | 0.78 | 0.26 | 8.11 | 0.23 | 0 | 0 | 0 | 0 | 0 | 0.08 | 0.03 | 0 | 0.03 | 0 | 16.27 | 131.87 | 13.74 | 10.74 | 2306.63 | 142.62 | 3.92 | 3.92 | 146.54 | 0.18285 | 3.1401 | 0 | 10730.82 | #REF! | 3.1451 | 16.9026
LNG | System | Generator | LM2500 1x0_Ponce OE | 2031 | 1 | 66.33 | 21.91 | 674.58 | 2.49 | 0 | 0 | 0 | 0 | 0 | 1.78 | 0.34 | 0.03 | 0.34 | 0 | 11.54 | 7785.3 | 9.97 | 661.05 | 1781.52 | 8446.36 | 28.87 | 28.87 | 8475.23 | 0.12734 | 0.1542 | 102589.07 | 10730.82 | #REF! | 0.15463 | 0.31641
LNG | System | Generator | LM2500 1x0_Ponce OE | 2032 | 1 | 62.16 | 20.48 | 629.81 | 2.19 | 0 | 0 | 0 | 0 | 0 | 0.76 | 0.43 | 0 | 0.43 | 0 | 11.99 | 7552.42 | 10.22 | 635 | 1725.06 | 8187.42 | 26.09 | 26.09 | 8213.51 | 0.13172 | 0.15947 | 0 | 10730.82 | #REF! | 0.15989 | 0.33252
LNG | System | Generator | LM2500 1x0_Ponce OE | 2033 | 1 | 52.65 | 17.39 | 535.4 | 1.86 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.3 | 0 | 0.3 | 0 | 12.48 | 6679.33 | 10.47 | 551.25 | 1753.18 | 7230.58 | 23.3 | 23.3 | 7253.88 | 0.13733 | 0.17063 | 0 | 10730.82 | #REF! | 0.17107 | 0.37489
LNG | System | Generator | LM2500 1x0_Ponce OE | 2034 | 1 | 46.7 | 15.43 | 475.94 | 1.68 | 0 | 0 | 0 | 0 | 0 | 1.35 | 0.34 | 0 | 0.34 | 0 | 12.74 | 6063 | 10.73 | 501.22 | 1797.01 | 6564.21 | 21.53 | 21.53 | 6585.74 | 0.14056 | 0.17904 | 0 | 10730.82 | #REF! | 0.1795 | 0.40928
LNG | System | Generator | LM2500 1x0_Ponce OE | 2035 | 1 | 46.42 | 15.34 | 473.18 | 1.58 | 0 | 0 | 0 | 0 | 0 | 1.2 | 0.45 | 0 | 0.45 | 0 | 13.34 | 6313.69 | 11 | 510.66 | 1841.94 | 6824.35 | 21.03 | 21.03 | 6845.38 | 0.14701 | 0.18669 | 0 | 10730.82 | #REF! | 0.18715 | 0.41831
LNG | System | Generator | LM2500 1x0_Ponce OE | 2036 | 1 | 37.76 | 12.44 | 383.32 | 1.61 | 0 | 0 | 0 | 0 | 0 | 0.53 | 0.2 | 0 | 0.2 | 0 | 13.57 | 5200.58 | 11.28 | 425.77 | 1893.16 | 5626.35 | 21.74 | 21.74 | 5648.08 | 0.149 | 0.19914 | 0 | 10730.82 | #REF! | 0.19972 | 0.4839
LNG | System | Generator | LM2500 1x0_Ponce OE | 2037 | 1 | 40.02 | 13.22 | 406.81 | 1.19 | 0 | 0 | 0 | 0 | 0 | 0.77 | 0.31 | 0 | 0.31 | 0 | 13.77 | 5602.32 | 11.56 | 462.53 | 1935.18 | 6064.85 | 16.19 | 16.19 | 6081.04 | 0.15155 | 0.1999 | 0 | 10730.82 | #REF! | 0.20031 | 0.46844
LNG | System | Generator | LM2500 1x0_Ponce OE | 2038 | 1 | 27.57 | 9.11 | 280.92 | 1.17 | 0 | 0 | 0 | 0 | 0 | 0.59 | 0.28 | 0 | 0.28 | 0 | 13.93 | 3914 | 11.85 | 326.64 | 1983.56 | 4240.64 | 16.34 | 16.34 | 4256.98 | 0.15381 | 0.22576 | 0 | 10730.82 | #REF! | 0.22635 | 0.61557
LNG | System | Generator | LM2500 1x0_Ponce OE | 2039 | 1 | 11.59 | 3.83 | 117.46 | 0.77 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0.18 | 0 | 0.18 | 0 | 14.24 | 1672.24 | 12.14 | 140.68 | 2033.15 | 1812.92 | 10.89 | 10.89 | 1823.81 | 0.15642 | 0.33184 | 0 | 10730.82 | #REF! | 0.33278 | 1.2587
LNG | System | Generator | LM2500 1x0_Ponce OE | 2040 | 1 | 50.47 | 16.63 | 513.55 | 1.93 | 0 | 0 | 0 | 0 | 0 | 1.3 | 0.76 | 0 | 0.76 | 0 | 14.37 | 7380.65 | 12.45 | 628.22 | 2089.69 | 8008.87 | 28.28 | 28.28 | 8037.15 | 0.15869 | 0.20009 | 0 | 10730.82 | #REF! | 0.20065 | 0.41327
LNG | System | Generator | LM2500 1x0_Ponce OE | 2041 | 1 | 32.65 | 10.79 | 330.88 | 1.21 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.52 | 0 | 0.52 | 0 | 14.81 | 4901.79 | 12.76 | 416.59 | 2136.08 | 5318.37 | 18.21 | 18.21 | 5336.59 | 0.16289 | 0.22831 | 0 | 10730.82 | #REF! | 0.22887 | 0.55753
LNG | System | Generator | LM2500 1x0_Ponce OE | 2042 | 1 | 20.11 | 6.64 | 204.4 | 1.37 | 0 | 0 | 0 | 0 | 0 | 0.42 | 0.29 | 0 | 0.29 | 0 | 15.03 | 3071.32 | 13.08 | 262.93 | 2189.48 | 3334.25 | 20.83 | 20.83 | 3355.07 | 0.1658 | 0.27468 | 0 | 10730.82 | #REF! | 0.27571 | 0.80932
LNG | System | Generator | LM2500 1x0_Ponce OE | 2043 | 1 | 11.35 | 3.75 | 115.64 | 0.77 | 0 | 0 | 0 | 0 | 0 | 0.34 | 0.1 | 0 | 0.1 | 0 | 14.9 | 1722.61 | 13.4 | 152.19 | 2244.22 | 1874.8 | 11.53 | 11.53 | 1886.34 | 0.16518 | 0.36291 | 0 | 10730.82 | #REF! | 0.36393 | 1.3094
LNG | System | Generator | LM2500 1x0_Ponce OE | 2044 | 1 | 0.73 | 0.24 | 7.62 | 0.21 | 0 | 0 | 0 | 0 | 0 | 0.08 | 0.02 | 0 | 0.02 | 0 | 15.49 | 118.06 | 13.74 | 10.02 | 2306.63 | 128.09 | 3.36 | 3.36 | 131.45 | 0.17547 | 3.3352 | 0 | 10730.82 | #REF! | 3.3398 | 18.0396
LNG | System | Generator | LM2500 1x0_S Juan | 2031 | 1 | 72.78 | 24.05 | 738.5 | 2.84 | 0 | 0 | 0 | 0 | 0 | 1.34 | 0.26 | 0.05 | 0.26 | 0 | 11.55 | 8527.66 | 9.97 | 725.35 | 1781.52 | 9253.01 | 32.88 | 32.88 | 9285.89 | 0.12714 | 0.15161 | 102589.07 | 10730.82 | #REF! | 0.15207 | 0.29951
LNG | System | Generator | LM2500 1x0_S Juan | 2032 | 1 | 62.37 | 20.55 | 631.68 | 2.33 | 0 | 0 | 0 | 0 | 0 | 0.66 | 0.42 | 0 | 0.42 | 0 | 11.99 | 7576.74 | 10.22 | 637.16 | 1725.06 | 8213.9 | 27.76 | 27.76 | 8241.66 | 0.1317 | 0.15935 | 0 | 10730.82 | #REF! | 0.1598 | 0.33185
LNG | System | Generator | LM2500 1x0_S Juan | 2033 | 1 | 47.54 | 15.71 | 483.48 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0.82 | 0.32 | 0 | 0.32 | 0 | 12.35 | 5971.69 | 10.47 | 497.78 | 1753.18 | 6469.47 | 24.18 | 24.18 | 6493.64 | 0.13608 | 0.17296 | 0 | 10730.82 | #REF! | 0.17347 | 0.39919
LNG | System | Generator | LM2500 1x0_S Juan | 2034 | 1 | 46.57 | 15.39 | 472.35 | 1.86 | 0 | 0 | 0 | 0 | 0 | 0.72 | 0.32 | 0 | 0.32 | 0 | 12.72 | 6006.23 | 10.73 | 499.78 | 1797.01 | 6506.01 | 23.87 | 23.87 | 6529.88 | 0.1397 | 0.17829 | 0 | 10730.82 | #REF! | 0.1788 | 0.40923
LNG | System | Generator | LM2500 1x0_S Juan | 2035 | 1 | 49.09 | 16.22 | 498.86 | 1.63 | 0 | 0 | 0 | 0 | 0 | 0.71 | 0.54 | 0 | 0.54 | 0 | 13.31 | 6641 | 11 | 540 | 1841.94 | 7181 | 21.61 | 21.61 | 7202.62 | 0.14628 | 0.1838 | 0 | 10730.82 | #REF! | 0.18424 | 0.40284
LNG | System | Generator | LM2500 1x0_S Juan | 2036 | 1 | 36.67 | 12.08 | 372.41 | 1.56 | 0 | 0 | 0 | 0 | 0 | 0.58 | 0.27 | 0 | 0.27 | 0 | 13.57 | 5053.37 | 11.28 | 413.52 | 1893.16 | 5466.9 | 21.07 | 21.07 | 5487.96 | 0.14908 | 0.20071 | 0 | 10730.82 | #REF! | 0.20128 | 0.49392
LNG | System | Generator | LM2500 1x0_S Juan | 2037 | 1 | 39.59 | 13.08 | 402.18 | 1.26 | 0 | 0 | 0 | 0 | 0 | 0.67 | 0.34 | 0 | 0.34 | 0 | 13.69 | 5506.84 | 11.56 | 457.6 | 1935.18 | 5964.44 | 17.01 | 17.01 | 5981.44 | 0.15066 | 0.19954 | 0 | 10730.82 | #REF! | 0.19997 | 0.47101
LNG | System | Generator | LM2500 1x0_S Juan | 2038 | 1 | 28.07 | 9.27 | 285.91 | 1.07 | 0 | 0 | 0 | 0 | 0 | 0.53 | 0.27 | 0 | 0.27 | 0 | 13.95 | 3988.62 | 11.85 | 332.53 | 1983.56 | 4321.14 | 15.03 | 15.03 | 4336.17 | 0.15394 | 0.22461 | 0 | 10730.82 | #REF! | 0.22514 | 0.60743
LNG | System | Generator | LM2500 1x0_S Juan | 2039 | 1 | 10.69 | 3.53 | 108.38 | 0.84 | 0 | 0 | 0 | 0 | 0 | 0.17 | 0.1 | 0 | 0.1 | 0 | 14.18 | 1537.22 | 12.14 | 129.76 | 2033.15 | 1666.98 | 11.97 | 11.97 | 1678.95 | 0.15594 | 0.34613 | 0 | 10730.82 | #REF! | 0.34725 | 1.3511
LNG | System | Generator | LM2500 1x0_S Juan | 2040 | 1 | 47.9 | 15.78 | 487.76 | 1.86 | 0 | 0 | 0 | 0 | 0 | 1.24 | 0.69 | 0 | 0.69 | 0 | 14.38 | 7012.31 | 12.45 | 596.26 | 2089.69 | 7608.57 | 27.15 | 27.15 | 7635.72 | 0.15884 | 0.20247 | 0 | 10730.82 | #REF! | 0.20304 | 0.42706
LNG | System | Generator | LM2500 1x0_S Juan | 2041 | 1 | 31.67 | 10.46 | 320.79 | 1.05 | 0 | 0 | 0 | 0 | 0 | 0.29 | 0.44 | 0 | 0.44 | 0 | 14.8 | 4747.28 | 12.76 | 403.99 | 2136.08 | 5151.27 | 15.59 | 15.59 | 5166.86 | 0.16265 | 0.2301 | 0 | 10730.82 | #REF! | 0.23059 | 0.56943
LNG | System | Generator | LM2500 1x0_S Juan | 2042 | 1 | 20.64 | 6.82 | 209.72 | 1.35 | 0 | 0 | 0 | 0 | 0 | 0.43 | 0.42 | 0 | 0.42 | 0 | 15.03 | 3151.35 | 13.08 | 269.84 | 2189.48 | 3421.19 | 20.61 | 20.61 | 3441.8 | 0.16576 | 0.27183 | 0 | 10730.82 | #REF! | 0.27283 | 0.79274
LNG | System | Generator | LM2500 1x0_S Juan | 2043 | 1 | 13.38 | 4.42 | 136.03 | 0.82 | 0 | 0 | 0 | 0 | 0 | 0.37 | 0.12 | 0 | 0.12 | 0 | 15 | 2040.25 | 13.4 | 179.35 | 2244.22 | 2219.59 | 12.23 | 12.23 | 2231.82 | 0.16589 | 0.33362 | 0 | 10730.82 | #REF! | 0.33453 | 1.1365
LNG | System | Generator | LM2500 1x0_S Juan | 2044 | 1 | 1.42 | 0.47 | 14.57 | 0.19 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.04 | 0 | 0.04 | 0 | 15.27 | 222.5 | 13.74 | 19.48 | 2306.63 | 241.98 | 2.86 | 2.86 | 244.84 | 0.17041 | 1.7948 | 0 | 10730.82 | #REF! | 1.7968 | 9.3537
LNG | System | Generator
LNG | System | Generator | LM2500 1x0_S Juan | 2031 | 1 | 72.78 | 24% | [13 empty] | 8527.66 |  | 725.35 | 1781.52 | 9253.01 | 32.88 | 32.88 | 9285.89 | 0.12714 | 0.15161 | 102589.07 | 10730.82 | #REF! | 0.15207 | 0.29951
LNG | System | Generator | 90% CF LM2500 1x0_S Juan | 2031 | 1 | 272.925 | 90% | [13 empty] | 31978.725 |  | 2720.0625 | 1781.52 | 34698.7875 | 123.3 | 123.3 | 34945.3875 | 0.12714 | 0.13366 | 102589.07 | 10730.82 | 0.12804 | #REF! | 0.17389

## Data from Gen LT Tab
Fuel | Parent Name | Collection | Child Name | Category | Fiscal Year | Units | Generation (GWh) | Min Generation (MW) | Max Generation (MW) | Units Started | Operating Hours (h) | Capacity Factor (%) | Fuel Offtake (BBtu) | Start Fuel Offtake (BBtu) | No Cost Energy (GWh) | Hours Curtailed (h) | Energy Curtailed (GWh) | Curtailment Factor (%) | Fuel Price ($/MMBtu) | Fuel Cost ($000) | VO&M Charge ($/MWh) | VO&M Cost ($000) | FO&M Cost ($000) | Generation Cost ($000) | Start & Shutdown Cost ($000) | Start Fuel Cost ($000) | Emissions Cost ($000) | Total Generation Cost ($000) | Total System Cost ($000) | Debt Cost ($000) | Fixed Costs ($000) | Heat Rate (Btu/kWh) | Marginal Heat Rate (Btu/kWh) | Average Heat Rate (Btu/kWh) | Efficiency (MW/MW) | Marginal Fuel Cost ($/MWh) | SRMC ($/MWh) | Average Cost ($/MWh) | Average Total Cost ($/MWh) | Net Revenue ($000) | Net Profit ($000) | Max Capacity (MW) | Installed Capacity (MW) | Rating (MW) | Rated Capacity (MW) | Firm Capacity (MW) | Maintenance (GWh) | Maintenance Hours (h) | Maintenance Rate (%) | Forced Outage (GWh) | Forced Outage Hours (h) | Forced Outage Rate (%) | Available Energy (GWh) | Service Factor (%) | Units Built | Units Retired | Capacity Built (MW) | Capacity Retired (MW) | Build Cost ($000) | Annualized Build Cost ($000) | Total Cost ($000) | Levelized Cost ($/MWh) | Retirement Cost ($000) | Levelized Cost ($/MWh) | Retirement Cost ($000) | Retirement Cost ($000) | Renewable (y/N) | Capacity (Max or Rated) | Additions | Subtractions | LT Additions | LT Subtractions
LNG | System | Generator | 7F.05 1x1_S Juan | New Gas Gen | 2033 | 1 | 2913.38 | 0 | 0 | 0 | 8760 | 89.13 | 19562.24 | 0 | 0 | 0 | 0 | 0 | 12.52 | 244864.03 | 6.12 | 17826.4 | 19239.92 | 262690.44 | 0 | 0 | 0 | 262690.44 | 262690.44 | 0 | 125910.94 | 6709.86 | 6551.93 | 6714.62 | 50.82 | 82.01 | 88.13 | 90.17 | 90.17 | 63774.79 | -62136.15 | 373.14 | 373.14 | 373.14 | 373.14 | 373.14 | 250.75 | 672 | 7.67 | 104.6 | 280.32 | 3.2 | 2913.38 | 89.13 | 1 | 0 | 373.14 | 0 | 1019799.48 | 106671.03 | 388601.38 | 133.39 | 0 |  |  |  | N | 373.14 | 373 | 0 | 373 | 0
LNG | System | Generator | 7F.05 1x1_S Juan | New Gas Gen | 2034 | 1 | 2913.38 | 0 | 0 | 0 | 8760 | 89.13 | 19562.24 | 0 | 0 | 0 | 0 | 0 | 12.93 | 253019.01 | 6.27 | 18272.06 | 20014.68 | 271291.08 | 0 | 0 | 0 | 271291.08 | 271291.08 | 0 | 126685.7 | 6709.86 | 6551.93 | 6714.62 | 50.82 | 84.74 | 91.02 | 93.12 | 93.12 | 64425.67 | -62260.03 | 373.14 | 373.14 | 373.14 | 373.14 | 373.14 | 250.75 | 672 | 7.67 | 104.6 | 280.32 | 3.2 | 2913.38 | 89.13 | 0 | 0 | 0 | 0 | 0 | 106671.03 | 397976.78 | 136.6 | 0 |  |  |  | N | 373.14 | 0 | 0 | 0 | 0
LNG | System | Generator | 7F.05 1x1_S Juan | New Gas Gen | 2035 | 1 | 2913.38 | 0 | 0 | 0 | 8760 | 89.13 | 19562.24 | 0 | 0 | 0 | 0 | 0 | 13.29 | 259984.12 | 6.43 | 18728.86 | 20821.16 | 278712.99 | 0 | 0 | 0 | 278712.99 | 278712.99 | 0 | 127492.19 | 6709.86 | 6551.93 | 6714.62 | 50.82 | 87.08 | 93.51 | 95.67 | 95.67 | 64136.66 | -63355.53 | 373.14 | 373.14 | 373.14 | 373.14 | 373.14 | 250.75 | 672 | 7.67 | 104.6 | 280.32 | 3.2 | 2913.38 | 89.13 | 0 | 0 | 0 | 0 | 0 | 106671.03 | 406205.18 | 139.43 | 0 |  |  |  | N | 373.14 | 0 | 0 | 0 | 0
LNG | System | Generator | 7F.05 1x1_S Juan | New Gas Gen | 2036 | 1 | 2921.36 | 0 | 0 | 0 | 8784 | 89.13 | 19615.83 | 0 | 0 | 0 | 0 | 0 | 13.47 | 264222.46 | 6.59 | 19249.68 | 21719.95 | 283472.14 | 0 | 0 | 0 | 283472.14 | 283472.14 | 0 | 128390.98 | 6709.86 | 6551.95 | 6714.62 | 50.82 | 88.26 | 94.85 | 97.03 | 97.03 | 58178.49 | -70212.49 | 373.14 | 373.14 | 373.14 | 373.14 | 373.14 | 251.44 | 673.84 | 7.67 | 104.89 | 281.09 | 3.2 | 2921.36 | 89.13 | 0 | 0 | 0 | 0 | 0 | 106671.03 | 411863.12 | 140.98 | 0 |  |  |  | N | 373.14 | 0 | 0 | 0 | 0
LNG | System | Generator | 7F.05 1x1_S Juan | New Gas Gen | 2037 | 1 | 2913.38 | 0 | 0 | 0 | 8760 | 89.13 | 19562.24 | 0 | 0 | 0 | 0 | 0 | 13.71 | 268145.64 | 6.75 | 19677.01 | 22602.83 | 287822.65 | 0 | 0 | 0 | 287822.65 | 287822.65 | 0 | 129273.85 | 6709.86 | 6551.93 | 6714.62 | 50.82 | 89.81 | 96.57 | 98.79 | 98.79 | 57544.35 | -71729.5 | 373.14 | 373.14 | 373.14 | 373.14 | 373.14 | 250.75 | 672 | 7.67 | 104.6 | 280.32 | 3.2 | 2913.38 | 89.13 | 0 | 0 | 0 | 0 | 0 | 106671.03 | 417096.51 | 143.17 | 0 |  |  |  | N | 373.14 | 0 | 0 | 0 | 0
LNG | System | Generator | 7F.05 1x1_S Juan | New Gas Gen | 2038 | 1 | 2913.38 | 0 | 0 | 0 | 8760 | 89.13 | 19562.24 | 0 | 0 | 0 | 0 | 0 | 14.12 | 276196.48 | 6.92 | 20168.94 | 23584.02 | 296365.42 | 0 | 0 | 0 | 296365.42 | 296365.42 | 0 | 130255.05 | 6709.86 | 6551.93 | 6714.62 | 50.82 | 92.51 | 99.43 | 101.73 | 101.73 | 51202.06 | -79052.99 | 373.14 | 373.14 | 373.14 | 373.14 | 373.14 | 250.75 | 672 | 7.67 | 104.6 | 280.32 | 3.2 | 2913.38 | 89.13 | 0 | 0 | 0 | 0 | 0 | 106671.03 | 426620.47 | 146.43 | 0 |  |  |  | N | 373.14 | 0 | 0 | 0 | 0
LNG | System | Generator | 7F.05 1x1_S Juan | New Gas Gen | 2039 | 1 | 2913.38 | 0 | 0 | 0 | 8760 | 89.13 | 19562.24 | 0 | 0 | 0 | 0 | 0 | 14.13 | 276406.63 | 7.1 | 20673.16 | 24611.23 | 297079.79 | 0 | 0 | 0 | 297079.79 | 297079.79 | 0 | 131282.26 | 6709.86 | 6551.93 | 6714.62 | 50.82 | 92.58 | 99.67 | 101.97 | 101.97 | 40517.87 | -90764.38 | 373.14 | 373.14 | 373.14 | 373.14 | 373.14 | 250.75 | 672 | 7.67 | 104.6 | 280.32 | 3.2 | 2913.38 | 89.13 | 0 | 0 | 0 | 0 | 0 | 106671.03 | 428362.05 | 147.03 | 0 |  |  |  | N | 373.14 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2031 | 1 | 0.09 | 0 | 0 | 0 | 3 | 0.03 | 0.97 | 0 | 0 | 0 | 0 | 0 | 13.45 | 13.05 | 9.97 | 0.93 | 1781.52 | 13.99 | 0 | 0 | 0 | 13.99 | 13.99 | 0 | 12512.34 | 10096.08 | 7686.58 | 10354.3 | 32.95 | 95.11 | 105.08 | 149.21 | 149.21 | 0.07 | -12512.26 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 1 | 0 | 34.55 | 0 | 102589.07 | 10730.82 | 12526.33 | 133615.16 | 0 |  |  |  | N | 34.55 | 35 | 0 | 35 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2032 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1725.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12455.88 | 10096.08 | 7686.6 | 0 | 0 | 98.18 | 108.39 | 0 | 0 | 0 | -12455.88 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.46 | 505.38 | 5.75 | 11.53 | 333.79 | 3.8 | 274.5 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12455.88 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2033 | 1 | 0.03 | 0 | 0 | 0 | 1 | 0.01 | 0.32 | 0 | 0 | 0 | 0 | 0 | 13.59 | 4.4 | 10.47 | 0.33 | 1753.18 | 4.72 | 0 | 0 | 0 | 4.72 | 4.72 | 0 | 12484 | 10096.08 | 7686.6 | 10354.3 | 32.95 | 101.98 | 112.45 | 151.18 | 151.18 | -0.04 | -12484.03 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12488.72 | 399642.12 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2034 | 1 | 0.02 | 0 | 0 | 0 | 1 | 0.01 | 0.24 | 0 | 0 | 0 | 0 | 0 | 14.24 | 3.44 | 10.73 | 0.25 | 1797.01 | 3.69 | 0 | 0 | 0 | 3.69 | 3.69 | 0 | 12527.83 | 10096.08 | 7686.6 | 10354.3 | 32.95 | 105.18 | 115.92 | 158.21 | 158.21 | -0.19 | -12528.02 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12531.52 | 537471.91 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2035 | 1 | 1.16 | 0 | 0 | 0 | 37 | 0.38 | 11.97 | 0 | 0 | 0 | 0 | 0 | 15.11 | 180.95 | 11 | 12.72 | 1841.94 | 193.67 | 0 | 0 | 0 | 193.67 | 193.67 | 0 | 12572.75 | 10096.08 | 7686.35 | 10354.33 | 32.95 | 107.92 | 118.92 | 167.5 | 167.5 | -20.23 | -12592.98 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12766.42 | 11041.31 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2036 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1893.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12623.97 | 10096.08 | 7686.6 | 0 | 0 | 109.3 | 120.58 | 0 | 0 | 0 | -12623.97 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.46 | 505.38 | 5.75 | 11.53 | 333.79 | 3.8 | 274.5 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12623.97 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2037 | 1 | 0.19 | 0 | 0 | 0 | 6 | 0.06 | 1.94 | 0 | 0 | 0 | 0 | 0 | 15.38 | 29.86 | 11.56 | 2.17 | 1935.18 | 32.03 | 0 | 0 | 0 | 32.03 | 32.03 | 0 | 12666 | 10096.08 | 7686.56 | 10354.3 | 32.95 | 111.13 | 122.69 | 170.8 | 170.8 | -3.9 | -12669.9 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12698.03 | 67723.32 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2038 | 1 | 0.06 | 0 | 0 | 0 | 2 | 0.02 | 0.65 | 0 | 0 | 0 | 0 | 0 | 15.5 | 10.03 | 11.85 | 0.74 | 1983.56 | 10.77 | 0 | 0 | 0 | 10.77 | 10.77 | 0 | 12714.38 | 10096.08 | 7686.59 | 10354.3 | 32.95 | 114.29 | 126.14 | 172.36 | 172.36 | -1.4 | -12715.78 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12725.15 | 203603.98 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2039 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2033.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12763.97 | 10096.08 | 7686.6 | 0 | 0 | 114.37 | 126.52 | 0 | 0 | 0 | -12763.97 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12763.97 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2040 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2089.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12820.51 | 10096.08 | 7686.6 | 0 | 0 | 118.04 | 130.48 | 0 | 0 | 0 | -12820.51 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.46 | 505.38 | 5.75 | 11.53 | 333.79 | 3.8 | 274.5 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12820.51 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2041 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2136.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12866.9 | 10096.08 | 7686.6 | 0 | 0 | 120.77 | 133.53 | 0 | 0 | 0 | -12866.9 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12866.9 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2042 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2189.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12920.3 | 10096.08 | 7686.6 | 0 | 0 | 122.11 | 135.19 | 0 | 0 | 0 | -12920.3 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12920.3 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2043 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2244.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12975.04 | 10096.08 | 7686.6 | 0 | 0 | 122.55 | 135.95 | 0 | 0 | 0 | -12975.04 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12975.04 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2044 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2306.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13037.45 | 10096.08 | 7686.6 | 0 | 0 | 123.46 | 137.2 | 0 | 0 | 0 | -13037.45 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.46 | 505.38 | 5.75 | 11.53 | 333.79 | 3.8 | 274.5 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13037.45 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2045 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2357.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13088.65 | 10096.08 | 7686.6 | 0 | 0 | 124.97 | 139.05 | 0 | 0 | 0 | -13088.65 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13088.65 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2046 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2416.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13147.6 | 10096.08 | 7686.6 | 0 | 0 | 126.53 | 140.96 | 0 | 0 | 0 | -13147.6 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13147.6 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2047 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2477.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13208.02 | 10096.08 | 7686.6 | 0 | 0 | 127.53 | 142.33 | 0 | 0 | 0 | -13208.02 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13208.02 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2048 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2546.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13276.9 | 10096.08 | 7686.6 | 0 | 0 | 128.85 | 144.01 | 0 | 0 | 0 | -13276.9 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.46 | 505.38 | 5.75 | 11.53 | 333.79 | 3.8 | 274.5 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13276.9 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG - Trucked | System | Generator | LM2500 1x0_Arecibo | New Gas Gen | 2049 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2602.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13333.42 | 10096.08 | 7686.6 | 0 | 0 | 129.32 | 144.87 | 0 | 0 | 0 | -13333.42 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 17.41 | 504 | 5.75 | 11.5 | 332.88 | 3.8 | 273.75 | 90.45 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13333.42 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2031 | 1 | 0.43 | 0 | 0 | 0 | 13 | 0.14 | 4.4 | 0 | 0 | 0 | 0 | 0 | 12.7 | 55.92 | 9.97 | 4.31 | 1781.52 | 60.23 | 0 | 0 | 0 | 60.23 | 60.23 | 0 | 12512.34 | 10096.08 | 7686.58 | 10192.02 | 33.48 | 89.35 | 99.32 | 139.38 | 139.38 | 3.73 | -12508.61 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 1 | 0 | 34.55 | 0 | 102589.07 | 10730.82 | 12572.57 | 29097.18 | 0 |  |  |  | N | 34.55 | 35 | 0 | 35 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2032 | 1 | 1.1 | 0 | 0 | 0 | 33 | 0.36 | 11.18 | 0 | 0 | 0 | 0 | 0 | 12.41 | 138.73 | 10.22 | 11.2 | 1725.06 | 149.94 | 0 | 0 | 0 | 149.94 | 149.94 | 0 | 12455.88 | 10096.08 | 7686.53 | 10192.02 | 33.48 | 92.41 | 102.63 | 136.7 | 136.7 | 6.85 | -12449.03 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12605.81 | 11492.84 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2033 | 1 | 0.1 | 0 | 0 | 0 | 3 | 0.03 | 0.98 | 0 | 0 | 0 | 0 | 0 | 12.84 | 12.56 | 10.47 | 1.01 | 1753.18 | 13.57 | 0 | 0 | 0 | 13.57 | 13.57 | 0 | 12484 | 10096.08 | 7686.6 | 10192.02 | 33.48 | 96.21 | 106.69 | 141.33 | 141.33 | 0.58 | -12483.42 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12497.57 | 130164.19 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2034 | 1 | 0.07 | 0 | 0 | 0 | 2 | 0.02 | 0.68 | 0 | 0 | 0 | 0 | 0 | 13.49 | 9.14 | 10.73 | 0.71 | 1797.01 | 9.86 | 0 | 0 | 0 | 9.86 | 9.86 | 0 | 12527.83 | 10096.08 | 7686.6 | 10192.02 | 33.48 | 99.42 | 110.15 | 148.25 | 148.25 | 0.12 | -12527.71 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12537.68 | 188606.9 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2035 | 1 | 1.99 | 0 | 0 | 0 | 60 | 0.66 | 20.33 | 0 | 0 | 0 | 0 | 0 | 13.88 | 282.2 | 11 | 21.94 | 1841.94 | 304.14 | 0 | 0 | 0 | 304.14 | 304.14 | 0 | 12572.75 | 10096.08 | 7686.46 | 10192.06 | 33.48 | 102.15 | 113.16 | 152.51 | 152.51 | -7.42 | -12580.17 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12876.9 | 6456.99 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2036 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1893.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12623.97 | 10096.08 | 7686.6 | 0 | 0 | 103.54 | 114.81 | 0 | 0 | 0 | -12623.97 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12623.97 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2037 | 1 | 0.2 | 0 | 0 | 0 | 6 | 0.07 | 2.03 | 0 | 0 | 0 | 0 | 0 | 14.63 | 29.74 | 11.56 | 2.3 | 1935.18 | 32.04 | 0 | 0 | 0 | 32.04 | 32.04 | 0 | 12666 | 10096.08 | 7686.59 | 10192.02 | 33.48 | 105.36 | 116.92 | 160.66 | 160.66 | -2.13 | -12668.13 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12698.04 | 63673.07 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2038 | 1 | 0.13 | 0 | 0 | 0 | 4 | 0.04 | 1.36 | 0 | 0 | 0 | 0 | 0 | 14.27 | 19.33 | 11.85 | 1.58 | 1983.56 | 20.91 | 0 | 0 | 0 | 20.91 | 20.91 | 0 | 12714.38 | 10096.08 | 7686.59 | 10192.02 | 33.48 | 108.53 | 120.37 | 157.27 | 157.27 | -0.97 | -12715.35 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12735.29 | 95789.77 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2039 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2033.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12763.97 | 10096.08 | 7686.6 | 0 | 0 | 108.61 | 120.75 | 0 | 0 | 0 | -12763.97 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12763.97 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2040 | 1 | 0.46 | 0 | 0 | 0 | 14 | 0.15 | 4.66 | 0 | 0 | 0 | 0 | 0 | 13.8 | 64.31 | 12.45 | 5.69 | 2089.69 | 70 | 0 | 0 | 0 | 70 | 70 | 0 | 12820.51 | 10096.08 | 7686.57 | 10192.14 | 33.48 | 112.27 | 124.72 | 153.13 | 153.13 | -1.43 | -12821.94 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12890.51 | 28198.74 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2041 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2136.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12866.9 | 10096.08 | 7686.6 | 0 | 0 | 115.01 | 127.76 | 0 | 0 | 0 | -12866.9 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12866.9 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2042 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2189.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12920.3 | 10096.08 | 7686.6 | 0 | 0 | 116.35 | 129.42 | 0 | 0 | 0 | -12920.3 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12920.3 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2043 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2244.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12975.04 | 10096.08 | 7686.6 | 0 | 0 | 116.78 | 130.19 | 0 | 0 | 0 | -12975.04 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12975.04 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2044 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2306.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13037.45 | 10096.08 | 7686.6 | 0 | 0 | 117.7 | 131.43 | 0 | 0 | 0 | -13037.45 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13037.45 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2045 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2357.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13088.65 | 10096.08 | 7686.6 | 0 | 0 | 119.2 | 133.28 | 0 | 0 | 0 | -13088.65 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13088.65 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2046 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2416.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13147.6 | 10096.08 | 7686.6 | 0 | 0 | 120.76 | 135.2 | 0 | 0 | 0 | -13147.6 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13147.6 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2047 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2477.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13208.02 | 10096.08 | 7686.6 | 0 | 0 | 121.77 | 136.56 | 0 | 0 | 0 | -13208.02 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13208.02 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2048 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2546.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13276.9 | 10096.08 | 7686.6 | 0 | 0 | 123.08 | 138.25 | 0 | 0 | 0 | -13276.9 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13276.9 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_Ponce OE | New Gas Gen | 2049 | 1 | 47.45 | 0 | 0 | 0 | 1456 | 15.68 | 483.59 | 0 | 0 | 0 | 0 | 0 | 15.47 | 7481.69 | 15.54 | 737.54 | 2602.61 | 8219.23 | 0 | 0 | 0 | 8219.23 | 8219.23 | 0 | 13333.42 | 10096.08 | 7682.94 | 10192.13 | 33.48 | 123.5 | 139.04 | 173.23 | 173.23 | -1102.13 | -14435.55 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 21552.66 | 454.24 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2031 | 1 | 0.43 | 0 | 0 | 0 | 13 | 0.14 | 4.4 | 0 | 0 | 0 | 0 | 0 | 12.7 | 55.92 | 9.97 | 4.31 | 1781.52 | 60.23 | 0 | 0 | 0 | 60.23 | 60.23 | 0 | 12512.34 | 10096.08 | 7686.58 | 10192.02 | 33.48 | 89.35 | 99.32 | 139.38 | 139.38 | 3.73 | -12508.61 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 1 | 0 | 34.55 | 0 | 102589.07 | 10730.82 | 12572.57 | 29097.18 | 0 |  |  |  | N | 34.55 | 35 | 0 | 35 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2032 | 1 | 1.08 | 0 | 0 | 0 | 33 | 0.36 | 11.05 | 0 | 0 | 0 | 0 | 0 | 12.41 | 137.19 | 10.22 | 11.08 | 1725.06 | 148.27 | 0 | 0 | 0 | 148.27 | 148.27 | 0 | 12455.88 | 10096.08 | 7686.53 | 10192.02 | 33.48 | 92.41 | 102.63 | 136.7 | 136.7 | 6.85 | -12449.03 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12604.14 | 11620.64 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2033 | 1 | 0.13 | 0 | 0 | 0 | 4 | 0.04 | 1.36 | 0 | 0 | 0 | 0 | 0 | 12.84 | 17.4 | 10.47 | 1.39 | 1753.18 | 18.79 | 0 | 0 | 0 | 18.79 | 18.79 | 0 | 12484 | 10096.08 | 7686.59 | 10192.02 | 33.48 | 96.21 | 106.69 | 141.33 | 141.33 | 0.58 | -12483.42 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12502.79 | 94040.98 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2034 | 1 | 0.07 | 0 | 0 | 0 | 3 | 0.02 | 0.71 | 0 | 0 | 0 | 0 | 0 | 13.49 | 9.64 | 10.73 | 0.75 | 1797.01 | 10.39 | 0 | 0 | 0 | 10.39 | 10.39 | 0 | 12527.83 | 10096.08 | 7686.6 | 10192.02 | 33.48 | 99.42 | 110.15 | 148.25 | 148.25 | 0.12 | -12527.71 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12538.22 | 178918.98 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2035 | 1 | 1.99 | 0 | 0 | 0 | 60 | 0.66 | 20.33 | 0 | 0 | 0 | 0 | 0 | 13.88 | 282.2 | 11 | 21.94 | 1841.94 | 304.14 | 0 | 0 | 0 | 304.14 | 304.14 | 0 | 12572.75 | 10096.08 | 7686.46 | 10192.06 | 33.48 | 102.15 | 113.16 | 152.51 | 152.51 | -7.42 | -12580.17 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12876.9 | 6456.99 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2036 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1893.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12623.97 | 10096.08 | 7686.6 | 0 | 0 | 103.54 | 114.81 | 0 | 0 | 0 | -12623.97 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12623.97 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2037 | 1 | 0.2 | 0 | 0 | 0 | 6 | 0.07 | 2.03 | 0 | 0 | 0 | 0 | 0 | 14.63 | 29.74 | 11.56 | 2.3 | 1935.18 | 32.04 | 0 | 0 | 0 | 32.04 | 32.04 | 0 | 12666 | 10096.08 | 7686.59 | 10192.02 | 33.48 | 105.36 | 116.92 | 160.66 | 160.66 | -2.13 | -12668.13 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12698.04 | 63673.07 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2038 | 1 | 0.13 | 0 | 0 | 0 | 4 | 0.04 | 1.36 | 0 | 0 | 0 | 0 | 0 | 14.27 | 19.33 | 11.85 | 1.58 | 1983.56 | 20.91 | 0 | 0 | 0 | 20.91 | 20.91 | 0 | 12714.38 | 10096.08 | 7686.59 | 10192.02 | 33.48 | 108.53 | 120.37 | 157.27 | 157.27 | -0.97 | -12715.35 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12735.29 | 95789.77 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2039 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2033.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12763.97 | 10096.08 | 7686.6 | 0 | 0 | 108.61 | 120.75 | 0 | 0 | 0 | -12763.97 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12763.97 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2040 | 1 | 0.35 | 0 | 0 | 0 | 15 | 0.12 | 3.57 | 0 | 0 | 0 | 0 | 0 | 13.9 | 49.56 | 12.45 | 4.35 | 2089.69 | 53.91 | 0 | 0 | 0 | 53.91 | 53.91 | 0 | 12820.51 | 10096.08 | 7686.57 | 10192.13 | 33.48 | 112.27 | 124.72 | 154.1 | 154.1 | -1.43 | -12821.94 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12874.42 | 36800.35 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2041 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2136.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12866.9 | 10096.08 | 7686.6 | 0 | 0 | 115.01 | 127.76 | 0 | 0 | 0 | -12866.9 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12866.9 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2042 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2189.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12920.3 | 10096.08 | 7686.6 | 0 | 0 | 116.35 | 129.42 | 0 | 0 | 0 | -12920.3 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12920.3 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2043 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2244.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12975.04 | 10096.08 | 7686.6 | 0 | 0 | 116.78 | 130.19 | 0 | 0 | 0 | -12975.04 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 12975.04 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2044 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2306.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13037.45 | 10096.08 | 7686.6 | 0 | 0 | 117.7 | 131.43 | 0 | 0 | 0 | -13037.45 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13037.45 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2045 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2357.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13088.65 | 10096.08 | 7686.6 | 0 | 0 | 119.2 | 133.28 | 0 | 0 | 0 | -13088.65 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13088.65 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2046 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2416.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13147.6 | 10096.08 | 7686.6 | 0 | 0 | 120.76 | 135.2 | 0 | 0 | 0 | -13147.6 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13147.6 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2047 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2477.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13208.02 | 10096.08 | 7686.6 | 0 | 0 | 121.77 | 136.56 | 0 | 0 | 0 | -13208.02 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13208.02 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2048 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2546.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13276.9 | 10096.08 | 7686.6 | 0 | 0 | 123.08 | 138.25 | 0 | 0 | 0 | -13276.9 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.53 | 333.79 | 3.8 | 291.96 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 13276.9 | 0 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0
LNG | System | Generator | LM2500 1x0_S Juan | New Gas Gen | 2049 | 1 | 49.11 | 0 | 0 | 0 | 1510 | 16.23 | 500.52 | 0 | 0 | 0 | 0 | 0 | 15.46 | 7740.27 | 15.54 | 763.37 | 2602.61 | 8503.63 | 0 | 0 | 0 | 8503.63 | 8503.63 | 0 | 13333.42 | 10096.08 | 7682.8 | 10192.13 | 33.48 | 123.5 | 139.04 | 173.16 | 173.16 | -1137.33 | -14470.75 | 34.55 | 34.55 | 34.55 | 34.55 | 34.55 | 0 | 0 | 0 | 11.5 | 332.88 | 3.8 | 291.16 | 96.2 | 0 | 0 | 0 | 0 | 0 | 10730.82 | 21837.06 | 444.67 | 0 |  |  |  | N | 34.55 | 0 | 0 | 0 | 0

## Emissions Data
Fuel Type |  | LNG | LNG | LNG | LNG
| Child Name | CO2 Emissions (tons) | Generation (GWh) | CO2 Emission tons/GWh | CO2 Emission lbs/MWh
2033 | 7F.05 1x1_S Juan | 1195963.1379 | 2913.38 | 410.5071 | 821.0142
2034 | 7F.05 1x1_S Juan | 1165413.9736 | 2913.38 | 400.0213 | 800.0425
2035 | 7F.05 1x1_S Juan | 1170201.263 | 2913.38 | 401.6645 | 803.329
2036 | 7F.05 1x1_S Juan | 1185896.0855 | 2921.36 | 405.9397 | 811.8795
2037 | 7F.05 1x1_S Juan | 1188990.7156 | 2913.38 | 408.1138 | 816.2277
2038 | 7F.05 1x1_S Juan | 1174049.2259 | 2913.38 | 402.9853 | 805.9705
2039 | 7F.05 1x1_S Juan | 1134320.2808 | 2913.38 | 389.3486 | 778.6971
2031 | LM2500 1x0_Arecibo | 24537.1243 | 41.28 | 594.4071 | 1188.8142
2032 | LM2500 1x0_Arecibo | 21775.2941 | 36.73 | 592.8476 | 1185.6953
2033 | LM2500 1x0_Arecibo | 16369.7806 | 27.41 | 597.2193 | 1194.4386
2034 | LM2500 1x0_Arecibo | 15511.7533 | 26.07 | 595.004 | 1190.0079
2035 | LM2500 1x0_Arecibo | 18801.1504 | 31.47 | 597.4309 | 1194.8618
2031 | LM2500 1x0_Ponce OE | 39455.2186 | 66.33 | 594.8322 | 1189.6644
2032 | LM2500 1x0_Ponce OE | 36836.6854 | 62.16 | 592.6108 | 1185.2215
2033 | LM2500 1x0_Ponce OE | 31314.7796 | 52.65 | 594.7726 | 1189.5453
2034 | LM2500 1x0_Ponce OE | 27837.0493 | 46.7 | 596.0824 | 1192.1649
2035 | LM2500 1x0_Ponce OE | 27675.6209 | 46.42 | 596.2004 | 1192.4007
2031 | LM2500 1x0_S Juan | 43193.8079 | 72.78 | 593.4846 | 1186.9692
2032 | LM2500 1x0_S Juan | 36946.059 | 62.37 | 592.3691 | 1184.7381
2033 | LM2500 1x0_S Juan | 28278.0531 | 47.54 | 594.8265 | 1189.6531
2034 | LM2500 1x0_S Juan | 27627.0754 | 46.57 | 593.2376 | 1186.4752
2035 | LM2500 1x0_S Juan | 29177.6073 | 49.09 | 594.3697 | 1188.7393

## 9021 Requirements
Section 6.29. -Efficiency in Electric Power Generation. (22 L.P.R.A. § 1054bb)
(a) Highly Efficient Fossil Generation. - Within a term that shall not exceed five (5) years,
from the date of enactment of the 'Puerto Rico Energy Public Policy Act,' the Energy Bureau shall
ensure that at least sixty percent ( 60%) of the electric power generated in Puerto Rico based on
fossil fuels (gas, oil byproducts, oil, and others) is high efficiency, as such term is defined by the
Energy Bureau. The term 'high efficiency' shall include as essential factors the electric power
plant or the facility's thermal efficiency by the type of fuel used, the cost of fuel, technology, the
capacity to reduce the costs of producing one (1) kilowatt-hour (kWh) of the proposed technology,
and/or any other industry parameter that guarantees efficiency in energy generation, and in
accordance with the Integrated Resource Plan. The percentage required under this Section includes
energy generated from fossil fuels sold to the Authority, its successor, or the transmission and
distribution network Contractor under power purchase agreements entered into as of the effective
date of this Act. Contractors who acquire or operate PREP A generation assets shall modernize the
plants or substitute such plants for highly efficient plans, as this term is defined by the Bureau,
within a period not to exceed five (5) years after the execution of the Partnership or Sales Contract.
After this initial period, Contractors who chose to modernize the plants shall substitute them for
highly efficient plants within a period not to exceed five (5) years after the initial period ends.
Every newly built or existing generation plant, other than a plant operating exclusively with
renewable energy sources shall have capacity to operate with two (2) or more fuels, one of which
shall be natural gas, taking into account that as of the approval of the Puerto Rico Energy Public
Policy Act, the award of new contracts and/or the granting of new permits and the extension of
existing contracts and/or permits to establish or to continue generating carbon-based energy in
Puerto Rico shall be prohibited.
(b) Every electric power generation facility of a certified electric power company in Puerto
Rico must meet the efficiency standards established by the Energy Bureau and/or any other
standard of the industry that guarantees efficiency in the generation of electric power
(c) In the case of renewable energy technologies, the following efficiency standards shall apply
based on:
(1) the use of space and location;
(2) the availability of the renewable energy source;
(3) the efficiency of individual components;
(4) an analysis of the costs and benefits;
(5) any other parameter of the industry that maintains the operations and reliability of the
electric power generation.
(d) The Energy Bureau shall review periodically and, if necessary, modify the established
efficiency standards and publish them on its website together with the technical analysis that
justifies them;
(e) The Energy Bureau shall approve the strategic plans developed by certified electric power
companies to meet these standards, oversee and adopt by regulations the necessary measures to
comply therewith.