## Fuel Price Forecasts
Base Fuel Price Forecasts ($/MMBtu) | [7 empty] | High LNG Fuel Price Forecast |  | EIA Ratios of Side Cases in the High Fuel Price Forecast – Natural Gas
Year | EcoEléctrica | LNG SJ | Coal | Heavy Fuel Oil | Diesel | Biodiesel | Renewable Diesel | Year | LNG Annual Adjustment to Base LNG Forecasts | Year | Low Economic Growth | High Oil Price | Low Oil and Gas Supply | Low Zero-Carbon Technology Cost | High Macroeconomic and Low Zero-Carbon Technology Cost
2024 | 8.49 | 9.49 | 5.86 | 16.63 | 19.92 | 27.74 | 39.7 | 2025 | 110% | 2025 | 102% | 100% | 145% | 101% | 101%
2025 | 9.92 | 10.92 | 6.73 | 15.68 | 18.93 | 27.1 | 38.9 | 2026 | 114% | 2026 | 104% | 105% | 154% | 104% | 105%
2026 | 10.62 | 11.62 | 6.27 | 15.24 | 18.37 | 26.63 | 38 | 2027 | 118% | 2027 | 107% | 108% | 156% | 109% | 109%
2027 | 10.89 | 11.89 | 6.05 | 15.74 | 18.03 | 26.43 | 37.5 | 2028 | 119% | 2028 | 108% | 108% | 158% | 112% | 112%
2028 | 10.89 | 11.89 | 5.99 | 16.21 | 17.82 | 26.1 | 36.8 | 2029 | 120% | 2029 | 107% | 107% | 158% | 112% | 114%
2029 | 10.86 | 11.86 | 6.08 | 16.64 | 18.28 | 26.85 | 37.3 | 2030 | 121% | 2030 | 110% | 108% | 153% | 115% | 117%
2030 | 10.63 | 11.63 | 6.22 | 17.11 | 18.69 | 27.45 | 37.8 | 2031 | 122% | 2031 | 113% | 107% | 155% | 115% | 118%
2031 | 10.98 | 11.98 | 6.34 | 17.59 | 19.24 | 28.14 | 38.2 | 2032 | 123% | 2032 | 116% | 107% | 157% | 115% | 119%
2032 | 11.41 | 12.41 | 6.39 | 18.09 | 19.76 | 28.9 | 38.7 | 2033 | 122% | 2033 | 118% | 104% | 157% | 114% | 116%
2033 | 11.94 | 12.94 | 6.5 | 18.62 | 20.33 | 29.62 | 39.1 | 2034 | 120% | 2034 | 118% | 101% | 156% | 113% | 112%
2034 | 12.39 | 13.39 | 6.65 | 19.17 | 20.85 | 30.43 | 39.7 | 2035 | 117% | 2035 | 118% | 98% | 153% | 110% | 107%
2035 | 12.77 | 13.77 | 6.78 | 19.75 | 21.49 | 31.25 | 40.3 | 2036 | 117% | 2036 | 120% | 98% | 153% | 110% | 106%
2036 | 12.96 | 13.96 | 6.92 | 20.28 | 22 | 32.02 | 40.8 | 2037 | 117% | 2037 | 121% | 97% | 151% | 112% | 106%
2037 | 13.22 | 14.22 | 7.06 | 20.84 | 22.6 | 32.8 | 41.4 | 2038 | 115% | 2038 | 120% | 95% | 146% | 110% | 104%
2038 | 13.66 | 14.66 | 7.32 | 21.41 | 23.17 | 33.56 | 41.9 | 2039 | 117% | 2039 | 125% | 94% | 147% | 112% | 107%
2039 | 13.67 | 14.67 | 7.46 | 21.97 | 23.72 | 34.36 | 42.4 | 2040 | 115% | 2040 | 128% | 90% | 142% | 109% | 104%
2040 | 14.18 | 15.18 | 7.63 | 22.54 | 24.29 | 35.08 | 43 | 2041 | 113% | 2041 | 129% | 88% | 138% | 107% | 103%
2041 | 14.56 | 15.56 | 7.8 | 23.18 | 24.98 | 36.01 | 43.7 | 2042 | 113% | 2042 | 131% | 87% | 136% | 107% | 103%
2042 | 14.75 | 15.75 | 7.97 | 23.72 | 25.54 | 36.78 | 44.3 | 2043 | 113% | 2043 | 131% | 87% | 135% | 109% | 104%
2043 | 14.81 | 15.81 | 8.15 | 24.36 | 26.25 | 37.71 | 44.9 | 2044 | 115% | 2044 | 134% | 88% | 137% | 112% | 104%
2044 | 14.93 | 15.93 | 8.32 | 24.9 | 26.77 | 38.47 | 45.5

## Generation Fleet Overview
General Data for Puerto Rico Electric Power Authority-Owned Resources |  |  |  |  | Summary Description of the Current PREPA Thermal Generation Fleet |  |  |  |  | Emergency Generation
Generator | Resource Type | Fuel Type | Municipality | COD | Fuel | Total Nameplate Capacity (MW) | Total 2025 Dependable Capacity (MW) | Forced Outage Rate (%) | Average Age (years) | Project Name | Resource Type | Location | Capacity | COD | Owner | Anticipated Service Life | Heat Rate | Assumed Lease Cost | Fixed O&M Costs
Aguirre 1 | Thermal | Bunker | Salinas | 1971 | Heavy Fuel Oil | 1532 | 1280 | 29% | 58 | Aguirre | Natural gas | Ponce ES | 200 | 2025-10-25 | Unknown | 2025-01-29
Aguirre 2 | Thermal | Bunker | Salinas | 1971 | Coal | 454 | 454 |  |  | Aguirre | Natural gas | Ponce ES | 200 | 2025-01-26 | Unknown | 2025-01-29
Costa Sur 5 | Thermal | Natural gas and bunker | Peñuelas | 1972 | Natural Gas | 2145 | 340 | 26% | 19 | Costa Sur | Natural gas | Ponce OE | 200 | 2025-03-26 | Unknown | 2025-01-29
Costa Sur 6 | Thermal | Natural gas and bunker | Peñuelas | 1973 | Diesel | 1200 | 228 | 48% | 34 | Costa Sur | Natural gas | Ponce OE | 200 | 2025-06-26 | Unknown | 2025-01-29
Palo Seco 3 | Thermal | Bunker | Toa Baja | 1968
Palo Seco 4 | Thermal | Bunker | Toa Baja | 1968
San Juan 5 CC | Thermal | Natural gas and diesel | San Juan | 2008
San Juan 6 CC | Thermal | Natural gas and diesel | San Juan | 2008
San Juan 7 | Thermal | Bunker | San Juan | 1965
San Juan 9 | Thermal | Bunker | San Juan | 1968
Aguirre 1 CC | Thermal | Diesel | Salinas | 1977
Aguirre 2 CC | Thermal | Diesel | Salinas | 1977
Cambalache 2 | Thermal | Diesel | Arecibo | 1998
Cambalache 3 | Thermal | Diesel | Arecibo | 1998
Mayagüez 1 | Thermal | Diesel | Mayagüez | 2009
Mayagüez 2 | Thermal | Diesel | Mayagüez | 2009
Mayagüez 3 | Thermal | Diesel | Mayagüez | 2009
Mayagüez 4 | Thermal | Diesel | Mayagüez | 2009
GT01 - Palo Seco | Thermal | Diesel | Toa Baja | 1972
GT02 - Palo Seco | Thermal | Diesel | Toa Baja | 1972
GT11 - Yabucoa | Thermal | Diesel | Yabucoa | 1972
GT19 - Jobos | Thermal | Diesel | Guayama | 1972
GT20 - Jobos | Thermal | Diesel | Guayama | 1972
GT21 - Daguao | Thermal | Diesel | Ceiba | 1972
GT22 - Daguao | Thermal | Diesel | Ceiba | 1972
Palo Seco Mobile Pack 1 | Thermal | Diesel | Toa Baja | 2021
Palo Seco Mobile Pack 2 | Thermal | Diesel | Toa Baja | 2021
Palo Seco Mobile Pack 3 | Thermal | Diesel | Toa Baja | 2021
Palo Seco TM[1] Gen 4-1 | Thermal | Natural gas and diesel | Toa Baja | 2023
Palo Seco TM Gen 4-2 | Thermal | Natural gas and diesel | Toa Baja | 2023
Palo Seco TM Gen 6-1 | Thermal | Natural gas and diesel | Toa Baja | 2023
Palo Seco TM Gen 6-2 | Thermal | Natural gas and diesel | Toa Baja | 2023
San Juan TM Gen 6-1 | Thermal | Natural gas and diesel | San Juan | 2023
San Juan TM Gen 6-2 | Thermal | Natural gas and diesel | San Juan | 2023
San Juan TM Gen 6-3 | Thermal | Natural gas and diesel | San Juan | 2023
San Juan TM Gen 6-4 | Thermal | Natural gas and diesel | San Juan | 2023
San Juan TM Gen 6-5 | Thermal | Natural gas and diesel | San Juan | 2023
San Juan TM Gen 6-6 | Thermal | Natural gas and diesel | San Juan | 2023
San Juan TM Gen 6-7 | Thermal | Natural gas and diesel | San Juan | 2023
San Juan TM Gen 6-8 | Thermal | Natural gas and diesel | San Juan | 2023
San Juan TM Gen 6-9 | Thermal | Natural gas and diesel | San Juan | 2023
San Juan TM Gen 6-10 | Thermal | Natural gas and diesel | San Juan | 2023
Dos Bocas 2 | Renewable | Hydro | Arecibo | 1942
Dos Bocas 3 | Renewable | Hydro | Arecibo | 1942
Garzas 1-1 | Renewable | Hydro | Adjuntas | 1941
Garzas 1-2 | Renewable | Hydro | Adjuntas | 1941
Toro Negro 1-1 | Renewable | Hydro | Villalba | 1929
Toro Negro 1-2 | Renewable | Hydro | Villalba | 1936
Toro Negro 1-3 | Renewable | Hydro | Villalba | 1936
Yauco 2-1 | Renewable | Hydro | Yauco | 1954
Yauco 2-2 | Renewable | Hydro | Yauco | 1954

## Unit Cost & Fuel Economics
Cost Information on PREPA-Owned Resources
Generator | Fuel Type | FOM ($/kW-yr) | VOM ($/MWh) | Fuel prices ($/MMBtu) (as of May 2025
Aguirre 1 | Bunker | 33.2 | 2.48 | 13.32
Aguirre 2 | Bunker | 33.2 | 2.48 | 13.32
Costa Sur 5 | Natural gas and bunker | 45.52 | 1.98 | 9.23 & 13.32
Costa Sur 6 | Natural gas and bunker | 45.52 | 1.98 | 9.23 & 13.32
Palo Seco 3 | Bunker | 74.03 | 3.68 | 13.32
Palo Seco 4 | Bunker | 74.03 | 3.68 | 13.32
San Juan 5 CC | Natural gas and diesel | 59.67 | 11.63 | 10.23 & 16.50
San Juan 6 CC | Natural gas and diesel | 59.67 | 11.63 | 10.23 & 16.50
San Juan 7 | Bunker | 59.67 | 9.07 | 13.32
San Juan 9 | Bunker | 59.67 | 9.07 | 13.32
Aguirre 1 CC | Diesel | 33.2 | 5.39 | 16.67
Aguirre 2 CC | Diesel | 33.2 | 5.39 | 16.67
Cambalache 2 | Diesel | 96.25 | 26.59 | 16.67
Cambalache 3 | Diesel | 96.25 | 26.59 | 16.67
Mayagüez 1 | Diesel | 96.25 | 26.59 | 16.67
Mayagüez 2 | Diesel | 96.25 | 26.59 | 16.67
Mayagüez 3 | Diesel | 96.25 | 26.59 | 16.67
Mayagüez 4 | Diesel | 96.25 | 26.59 | 16.67
GT01 – Palo Seco | Diesel | 96.25 | 26.59 | 16.67
GT02 – Palo Seco | Diesel | 96.25 | 26.59 | 16.67
GT11 – Yabucoa | Diesel | 96.25 | 26.59 | 16.67
GT19 – Jobos | Diesel | 96.25 | 26.59 | 16.67
GT20 – Jobos | Diesel | 96.25 | 26.59 | 16.67
GT21 – Daguao | Diesel | 96.25 | 26.59 | 16.67
GT22 – Daguao | Diesel | 96.25 | 26.59 | 16.67
Palo Seco Mobile Pack 1 | Diesel | 96.25 | 26.59 | 16.67
Palo Seco Mobile Pack 2 | Diesel | 96.25 | 26.59 | 16.67
Palo Seco Mobile Pack 3 | Diesel | 96.25 | 26.59 | 16.67
Palo Seco TM Gen 4-1 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
Palo Seco TM Gen 4-2 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
Palo Seco TM Gen 6-1 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
Palo Seco TM Gen 6-2 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-1 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-2 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-3 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-4 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-5 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-6 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-7 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-8 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-9 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
San Juan TM Gen+6-10 | Natural gas and diesel | N/Av | N/Av | 12.05 & 16.67
Dos Bocas 2 | Hydro | 1.08 | 0 | N/A
Dos Bocas 3 | Hydro | 1.08 | 0 | N/A
Garzas 1-1 | Hydro | 1.08 | 0 | N/A
Garzas 1-2 | Hydro | 1.08 | 0 | N/A
Toro Negro 1-1 | Hydro | 1.08 | 0 | N/A
Toro Negro 1-2 | Hydro | 1.08 | 0 | N/A
Toro Negro 1-3 | Hydro | 1.08 | 0 | N/A
Yauco 2-1 | Hydro | 1.08 | 0 | N/A
Yauco 2-2 | Hydro | 1.08 | 0 | N/A

## Legend
Legend
Abbreviation | Definition
MMBtu | Million British Thermal Units (a unit of energy)
LNG | Liquefied Natural Gas
EIA | U.S. Energy Information Administration
MW | Megawatt (unit of power)
CO₂ | Carbon Dioxide
O&M | Operations and Maintenance
GWh | Gigawatt-hour (unit of energy)
CO₂eq | Carbon Dioxide Equivalent (used for greenhouse gas emissions)
FOM | Fixed Operations and Maintenance (costs)
VOM | Variable Operations and Maintenance (costs)