## Cost of Generation Q3
| January 2026 | [6 empty] | February 2026 | [6 empty] | March 2026
Plant | Fuel | Barrels | MMBtu | Generation (kWh) | Fuel Cost ($/MMBtu) | Generation Cost ($/kWh) | Costs ($) | Fuel | Barrels | MMBtu | Generation (kWh) | Fuel Cost ($/MMBtu) | Generation Cost ($/kWh) | Costs ($) | Fuel | Barrels | MMBtu | Generation (kWh) | Fuel Cost ($/MMBtu) | Generation Cost ($/kWh) | Costs ($)
San Juan | HFO | 30231.69 | 190459.647 |  | 11.423 |  | 2175620.5477 | HFO | 54610.51 | 344046.213 |  | 11.7479 |  | 4041820.5057 | HFO | 42293.08 | 266446.404 |  | 15.792 |  | 4207721.612
| ULSD | 5735.46 | 33265.668 |  | 17.8258 |  | 592987.1446 | ULSD | 9153.53 | 53090.474 |  | 17.8994 |  | 950287.6303 | ULSD | 39706.79 | 230299.382 |  | 22.1021 |  | 5090099.9709
| LNG | 169207.931 | 981406 |  | 11.8901 |  | 11669015.4806 | LNG | 159136.55 | 922991.99 |  | 15.079 |  | 13917796.2172 | LNG | 120824.4828 | 700782.0002 |  | 9.9144 |  | 6947833.0632
| Total | 205175.081 | 1205131.315 | 133468000 |  | 0.10817 | 14437623.1729 | Total | 222900.59 | 1320128.677 | 139641000 |  | 0.13542 | 18909904.3532 | Total | 202824.3528 | 1197527.7862 | 130682000 |  | 0.12431 | 16245654.646
Palo Seco | HFO | 193150.52 | 1216848.276 |  | 11.2189 |  | 13651699.1236 | HFO | 100413.2 | 632603.16 |  | 11.6354 |  | 7360590.8079 | HFO | 26645.72 | 167868.036 |  | 15.2387 |  | 2558090.6402
| ULSD | 0 | 0 |  | 17.2557 |  | 0 | ULSD | 1656.89 | 9609.962 |  | 17.7088 |  | 170180.8951 | ULSD | 626.13 | 3631.554 |  | 19.6359 |  | 71308.8312
| Total | 193150.52 | 1216848.276 | 125537000 |  | 0.10875 | 13651699.1236 | Total | 102070.09 | 642213.122 | 65416000 |  | 0.11512 | 7530771.7029 | Total | 27271.85 | 171499.59 | 16935000 |  | 0.15526 | 2629399.4714
Costa Sur | HFO | 21358.19 | 134556.597 |  | 11.5653 |  | 1556187.4113 | HFO | 234551.24 | 1477672.812 |  | 11.5653 |  | 17089729.3726 | HFO | 125146.2 | 788421.06 |  | 13.5135 |  | 10654327.9943
| LNG | 342754.91 | 2159355.933 |  | 10.8901 |  | 23515602.046 | LNG | 364627.3016 | 2297152 |  | 14.079 |  | 32341603.008 | LNG | 553112.8571 | 3484611 |  | 8.9144 |  | 31063216.2984
| Total | 364113.1 | 2293912.53 | 206610000 |  | 0.12135 | 25071789.4572 | Total | 599178.5416 | 3774824.812 | 346420000 |  | 0.14269 | 49431332.3806 | Total | 678259.0571 | 4273032.06 | 388540000 |  | 0.10737 | 41717544.2927
Aguirre | HFO | 277467.7 | 1748046.51 |  | 11.7608 |  | 20558425.3948 | HFO | 202971.95 | 1278723.285 |  | 12.3081 |  | 15738654.0641 | HFO | 232256.07 | 1463213.241 |  | 14.9703 |  | 21904741.1817
| ULSD | 997.39 | 5784.862 |  | 17.4316 |  | 100839.4004 | ULSD | 777.38 | 4508.804 |  | 17.7653 |  | 80100.2557 | ULSD | 545.45 | 3163.61 |  | 19.983 |  | 63218.4186
| Total | 278465.09 | 1753831.372 | 156310000 |  | 0.13217 | 20659264.7952 | Total | 203749.33 | 1283232.089 | 114145000 |  | 0.13858 | 15818754.3198 | Total | 232801.52 | 1466376.851 | 134495000 |  | 0.16334 | 21967959.6004
| Total Steam - Fuel | 1040903.791 | 6469723.493 | 621925000 |  | 0.1187 | 73820376.549 | Total Steam - Fuel | 1127898.5516 | 7020398.7 | 665622000 |  | 0.13775 | 91690762.7566 | Total Steam - Fuel | 1141156.7799 | 7108436.2872 | 670652000 |  | 0.1231 | 82560558.0105
| Total O&M Steam | - | - | - | - | 0.0091848 |  | Total O&M Steam | - | - | - | - | 0.0087641 |  | Total O&M Steam |  |  |  |  | 0.0099686
| Total Steam Fuel & O&M | - | - | - | - | 0.12788 |  | Total Steam Fuel & O&M | - | - | - | - | 0.14652 |  | Total Steam Fuel & O&M |  |  |  |  | 0.13307
| January 2026 | [6 empty] | February 2026 | [6 empty] | March 2026
Plant | Fuel | Barrels | MMBtu | Generation (kWh) | Fuel Cost ($/MMBtu) | Generation Cost ($/kWh) | Costs ($) | Fuel | Barrels | MMBtu | Generation (kWh) | Fuel Cost ($/MMBtu) | Generation Cost ($/kWh) | Costs ($) | Fuel | Barrels | MMBtu | Generation (kWh) | Fuel Cost ($/MMBtu) | Generation Cost ($/kWh) | Costs ($)
Aguirre & CC | ULSD | 98256.77 | 569889.266 | 37005000 | 17.4316 | 0.26845 | 9934081.7292 | ULSD | 82771.55 | 480074.99 | 32762000 | 17.7653 | 0.26032 | 8528676.2198 | ULSD | 75947.57 | 440495.906 | 29179000 | 19.983 | 0.30167 | 8802429.6896
Palo Seco Peakers | ULSD | 4725.31 | 27406.798 | 1763000 | 17.2557 | 0.26825 | 472923.4842 | ULSD | 1927.7143 | 11180.7429 | 833000 | 17.7088 | 0.23769 | 197997.5391 | ULSD | 2894.5 | 16788.1 | 1075000 | 19.6359 | 0.30665 | 329649.4528 | Note: Palo Seco Peakers do not include Mobile Pac units.
Costa Sur Peakers | ULSD | 0 | 0 | 0 | 19.1816 | 0 | 0 | ULSD | 0 | 0 | 0 | 19.1816 | 0 | 0 | ULSD | 0 | 0 | 0 | 19.1816 | 0 | 0
Yabucoa Peakers | ULSD | 2848.69 | 16522.402 | 870000 | 17.698 | 0.33611 | 292413.4706 | ULSD | 0 | 0 | 0 | 17.698 | 0 | 0 | ULSD | 0 | 0 | 0 | 17.698 | 0 | 0
Jobos Peakers | ULSD | 0 | 0 | 0 | 18.2509 | 0 | 0 | ULSD | 0 | 0 | 0 | 18.2509 | 0 | 0 | ULSD | 1621 | 9401.8 | 601000 | 19.9889 | 0.3127 | 187931.64
Daguao Peakers | ULSD | 0 | 0 | 0 | 17.5235 | 0 | 0 | ULSD | 0 | 0 | 0 | 17.5235 | 0 | 0 | ULSD | 777.09 | 4507.122 | 257000 | 18.1992 | 0.31917 | 82026.0147
Cambalache | ULSD | 3566.8296 | 20687.6114 | 1503000 | 17.8711 | 0.24598 | 369710.372 | ULSD | 5831.39 | 33822.062 | 2685000 | 17.8711 | 0.22512 | 604437.4522 | ULSD | 18612.85 | 107954.53 | 8621000 | 17.8711 | 0.22379 | 1929266.2011
Mayaguez | ULSD | 16847.06 | 97712.948 | 8967530 | 16.9857 | 0.18508 | 1659722.8208 | ULSD | 14244.55 | 82618.39 | 7583500 | 16.9857 | 0.18505 | 1403331.187 | ULSD | 20245.76 | 117425.408 | 10720100 | 22.0913 | 0.24198 | 2594079.9158
| Total Gas - Fuel | 126244.6596 | 732219.0254 | 50108530 |  | 0.25403 | 12728851.8769 | Total Gas - Fuel | 104775.2043 | 607696.1849 | 43863500 |  | 0.24472 | 10734442.3982 | Total Gas - Fuel | 120098.77 | 696572.866 | 50453100 |  | 0.27601 | 3413856.3148
| Total O&M Gas |  |  |  |  | 0.023725 |  | Total O&M Gas |  |  |  |  | 0.020504 |  | Total O&M Gas |  |  |  |  | 0.02994
| Total Gas - Fuel & O&M |  |  |  |  | 0.27775 |  | Total Gas - Fuel & O&M |  |  |  |  | 0.26523 |  | Total Gas - Fuel & O&M |  |  |  |  | 0.30595 | 3413856.3148
| Total System - Fuel |  |  |  |  | 0.12879 |  | Total System - Fuel |  |  |  |  | 0.14437 |  | Total System - Fuel |  |  |  |  | 0.1338
| Total System - O&M |  |  |  |  | 0.010391 |  | Total System - O&M |  |  |  |  | 0.0095692 |  | Total System - O&M |  |  |  |  | 0.011366
| Total System Fuel & O&M |  |  |  |  | 0.13918 |  | Total System Fuel & O&M |  |  |  |  | 0.15393 |  | Total System Fuel & O&M |  |  |  |  | 0.14517

## O&M Q3
| January 2026 |  |  | February 2026 |  |  | March 2026
| O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh)
San Juan | 2325585.17 | 133468000 | 0.017424 | 2311390.28 | 139641000 | 0.016552 | 2283290.02 | 130682000 | 0.017472
Palo Seco | 1228302.44 | 125537000 | 0.0097844 | 1110668.96 | 65416000 | 0.016979 | 1198146.68 | 16935000 | 0.07075
Costa Sur | 1113370.99 | 206610000 | 0.0053888 | 1067718.27 | 346420000 | 0.0030821 | 1518789.6 | 388540000 | 0.003909
Aguirre | 1044996.85 | 156310000 | 0.0066854 | 1343783.95 | 114145000 | 0.011773 | 1685252.1 | 134495000 | 0.01253
|  | Total | 0.0091848 |  | Total | 0.0087641 |  | Total | 0.0099686
| January 2026 |  |  | February 2026 |  |  | March 2026
| O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh)
Aguirre CC | 277864.24 | 37005000 | 0.0075088 | 244669.12 | 32762000 | 0.0074681 | 430872.91 | 29179000 | 0.014767
Peakers | 480023.89 | 8771000 | 0.054729 | 355357.74 | 5977000 | 0.059454 | 401055.69 | 1933000 | 0.20748
Cambalache | 374018.84 | 1503000 | 0.24885 | 282988.25 | 2685000 | 0.1054 | 480788.35 | 8621000 | 0.055769
Mayaguez | 202801.63 | 8978300 | 0.022588 | 121829.11 | 7583500 | 0.016065 | 197848.31 | 10720100 | 0.018456
|  | Total | 0.023725 |  | Total | 0.020504 |  | Total | 0.02994
|  | Total System | 0.010391 |  | Total System | 0.0095692 |  | Total System | 0.011366

## O&M (PREB) (hidden)
| July 2023 |  |  | August 2023 |  |  | September 2023 |  |  | October 2023 |  |  | November 2023 |  |  | December 2023 |  |  | January 2024 |  |  | February 2024 |  |  | March 2024 |  |  | April 2024 |  |  | May 2024 |  |  | June 2024 |  |  | July 2024 |  |  | August 2024 |  |  | September 2024 |  |  | October 2024 |  |  | November 2024 |  |  | December 2024 |  |  | January 2025 |  |  | February 2025 |  |  | March 2025 |  |  | April 2025 |  |  | May 2025 |  |  | June 2025 |  |  | July 2025 |  |  | August 2025 |  |  | September 2025
| O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh)
San Juan |  | 349714000 |  |  | 332432000 |  |  | 328072000 |  |  | 314311000 |  |  | 301609000 |  |  | 296221000 |  |  | 353453000 |  |  | 263514000 |  |  | 275188000 |  |  | 164347000 |  |  | 187945000 |  |  | 220718000 |  |  | 252120000 |  |  | 221544000 |  |  | 234828000 |  |  | 169672000 |  |  | 151361000 |  |  | 130607000 |  |  | 129670000 |  |  | 150530000 |  |  | 181606000 |  |  | 175015000 |  |  | 201807000 |  |  | 275301000 |  | 1078139 | 247789000 | 0.004351 | 927011 | 220553000 | 0.0042031 | 2436020 | 235198000 | 0.010357
Palo Seco |  | 193858000 |  |  | 97489000 |  |  | 101995000 |  |  | 109620000 |  |  | 77098000 |  |  | 0 |  |  | - |  |  | - |  |  | - |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 20306000 |  |  | 103150000 |  |  | 107723000 |  |  | 108311000 |  |  | 87795000 |  |  | 88173000 |  |  | 106872000 |  |  | 102783000 |  |  | 97513000 |  |  | 85786000 |  |  | 108042000 |  |  | 72811940 |  | 805279 | 87348000 | 0.0092192 | 1024632 | 88691000 | 0.011553 | 1105601 | 80721000 | 0.013697
Costa Sur |  | 155140000 |  |  | 234320000 |  |  | 198080000 |  |  | 228140000 |  |  | 212890000 |  |  | 209220000 |  |  | 25840000 |  |  | 2320000 |  |  | 72400000 |  |  | 190910000 |  |  | 262390000 |  |  | 341330000 |  |  | 355280000 |  |  | 323200000 |  |  | 386970000 |  |  | 365320000 |  |  | 350440000 |  |  | 309910000 |  |  | 333700000 |  |  | 299940000 |  |  | 201950000 |  |  | 190900000 |  |  | 372390000 |  |  | 368440000 |  | 1049608 | 354160000 | 0.0029637 | 1153881 | 413150000 | 0.0027929 | 748536 | 392350000 | 0.0019078
Aguirre |  | 172270000 |  |  | 192100000 |  |  | 179385000 |  |  | 214850000 |  |  | 137655000 |  |  | 112440000 |  |  | 96495000 |  |  | 196500000 |  |  | 175275000 |  |  | 155425000 |  |  | 313065000 |  |  | 336420000 |  |  | 260960000 |  |  | 175155000 |  |  | 91705000 |  |  | 112265000 |  |  | 137990000 |  |  | 0 |  |  | 67209000 |  |  | 78020000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 43425000 |  | 351691 | 147640000 | 0.0023821 | 1111116 | 144740000 | 0.0076766 | 956138 | 180840000 | 0.0052872
| 438764.1722 | 870982000 | 0.00050376 | 438764.1722 | 856341000 | 0.00051237 | 438764.1722 | 807532000 | 0.00054334 | 438764.1722 | 866921000 | 0.00050612 | 438764.1722 | 729252000 | 0.00060166 | 438764.1722 | 617881000 | 0.00071011 | 438764.1722 | 475788000 | 0.00092218 | 438764.1722 | 462334000 | 0.00094902 | 438764.1722 | 522863000 | 0.00083916 | 438764.1722 | 510682000 | 0.00085917 | 438764.1722 | 763400000 | 0.00057475 | 438764.1722 | 898468000 | 0.00048835 | 430098.5235 | 888666000 | 0.00048398 | 430098.5235 | 823049000 | 0.00052257 | 430098.5235 | 821226000 | 0.00052373 | 430098.5235 | 755568000 | 0.00056924 | 430098.5235 | 727586000 | 0.00059113 | 430098.5235 | 528690000 | 0.00081352 | 430098.5235 | 637451000 | 0.00067472 | 430098.5235 | 631273000 | 0.00068132 | 430098.5235 | 481069000 | 0.00089405 | 430098.5235 | 451701000 | 0.00095218 | 430098.5235 | 682239000 | 0.00063042 | 430098.5235 | 759977940 | 0.00056594 |  |  | 0.004729 |  |  | 0.0065564 |  |  | 0.0078122
| July 2023 |  |  | August 2023 |  |  | September 2023 |  |  | October 2023 |  |  | November 2023 |  |  | December 2023 |  |  | January 2024 |  |  | February 2024 |  |  | March 2024 |  |  | April 2024 |  |  | May 2024 |  |  | June 2024 |  |  | July 2024 |  |  | August 2024 |  |  | September 2024 |  |  | October 2024 |  |  | November 2024 |  |  | December 2024 |  |  | January 2025 |  |  | February 2025 |  |  | March 2025 |  |  | April 2025 |  |  | May 2025 |  |  | June 2025 |  |  | July 2025 |  |  | August 2025 |  |  | September 2025
| O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh) | O&M Costs ($) | Generation (kWh) | Generation Cost ($/kWh)
Aguirre CC | [72 empty] | 418791 | 73019000 | 0.0057354 | 889693 | 59935000 | 0.014844 | 303372 | 37560000 | 0.008077
Peakers | [72 empty] | 393915 | 26009000 | 0.015145 | 526134 | 26690000 | 0.019713 | 268844 | 12325000 | 0.021813
Cambalache | [72 empty] | 296742 | 21642000 | 0.013711 | 249167 | 23705000 | 0.010511 | 246707 | 12916000 | 0.019101
Mayaguez | [72 empty] | 189249 | 5301400 | 0.035698 | 373280 | 5207400 | 0.071683 | 78027 | 1809700 | 0.043116
| 1590055.2722 | 260890400 | 0.0060947 | 1590055.2722 | 193494100 | 0.0082176 | 1590055.2722 | 201834400 | 0.007878 | 1590055.2722 | 131672900 | 0.012076 | 1590055.2722 | 112849700 | 0.01409 | 1590055.2722 | 94897800 | 0.016755 | 1590055.2722 | 131926200 | 0.012053 | 1590055.2722 | 116795300 | 0.013614 | 1590055.2722 | 107324900 | 0.014815 | 1590055.2722 | 178287300 | 0.0089185 | 1590055.2722 | 234633700 | 0.0067768 | 1590055.2722 | 144398200 | 0.011012 | 1558651.4765 | 97320800 | 0.016016 | 1558651.4765 | 220029200 | 0.0070838 | 1558651.4765 | 220396500 | 0.007072 | 1558651.4765 | 241601700 | 0.0064513 | 1558651.4765 | 97384900 | 0.016005 | 1558651.4765 | 150285900 | 0.010371 | 1558651.4765 | 127130300 | 0.01226 | 1558651.4765 | 85882800 | 0.018149 | 1558651.4765 | 144624600 | 0.010777 | 1558651.4765 | 187340700 | 0.0083199 | 1558651.4765 | 94477000 | 0.016498 | 1558651.4765 | 128623500 | 0.012118 |  | Total Avg | 0.017573 |  | Total Avg | 0.029188 |  | Total Avg | 0.023027
|  |  | 0.0065985 |  |  | 0.00873 |  |  | 0.0084214 |  |  | 0.012582 |  |  | 0.014692 |  |  | 0.017466 |  |  | 0.012975 |  |  | 0.014563 |  |  | 0.015655 |  |  | 0.0097777 |  |  | 0.0073515 |  |  | 0.0115 |  |  | 0.0165 |  |  | 0.0076064 |  |  | 0.0075958 |  |  | 0.0070206 |  |  | 0.016596 |  |  | 0.011185 |  |  | 0.012935 |  |  | 0.01883 |  |  | 0.011671 |  |  | 0.0092721 |  |  | 0.017128 |  |  | 0.012684 |  | Total System | 0.011151 |  | Total System | 0.017872 |  | Total System | 0.015419
Aguirre CC
Peakers
Cambalache
Mayaguez

## O&M (detailed) (hidden)
| FY2024 |  | FY2025
| 292150000 |  | 286380000
Steam | 5265170.0668 | 438764.1722 | 5161182.2821 | 430098.5235
Gas | 19080663.2666 | 1590055.2722 | 18703817.7179 | 1558651.4765