## Compare PRP vs Sc12
PRP |  |  |  |  | Scenario 12
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin | Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846 | 4431 | 3001.35 | 47.63% | 2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5164 | 4431 | 2874.85 | 54.13% | 2025 | 5168.7 | 4436.09 | 2874.85 | 54.31%
2026 | 7721 | 6128 | 2784.37 | 120.1% | 2026 | 7726.85 | 6134.21 | 2784.37 | 120.3%
2027 | 8284 | 6596 | 2740.56 | 140.7% | 2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 8864 | 7079 | 2693.35 | 162.8% | 2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8114 | 6284 | 2683.59 | 134.2% | 2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 7854 | 5974 | 2654 | 125.1% | 2030 | 8278.99 | 6398.62 | 2654 | 141.1%
2031 | 8348 | 6398 | 2632.22 | 143.1% | 2031 | 8424.11 | 6473.7 | 2632.22 | 145.9%
2032 | 8203 | 6184 | 2608.27 | 137.1% | 2032 | 8279.58 | 6260.34 | 2608.27 | 140%
2033 | 8170 | 6106 | 2598.87 | 134.9% | 2033 | 7941.79 | 5878.43 | 2598.87 | 126.2%
2034 | 8231 | 6110 | 2596.28 | 135.3% | 2034 | 8227.68 | 5881.56 | 2596.28 | 126.5%
2035 | 7987 | 5817 | 2593.24 | 124.3% | 2035 | 8210.26 | 5815.12 | 2593.24 | 124.2%
2036 | 7719 | 5525 | 2553.48 | 116.4% | 2036 | 7942.63 | 5522.91 | 2553.48 | 116.3%
2037 | 8198 | 5988 | 2531.82 | 136.5% | 2037 | 8334.43 | 5900.37 | 2531.82 | 133%
2038 | 7884 | 5583 | 2511.6 | 122.3% | 2038 | 8393.77 | 5868.41 | 2511.6 | 133.7%
2039 | 7595 | 5179 | 2491.13 | 107.9% | 2039 | 8684.86 | 5969.06 | 2491.13 | 139.6%
2040 | 7729 | 5184 | 2489.04 | 108.3% | 2040 | 9119.3 | 5974.57 | 2489.04 | 140%
2041 | 7884 | 5187 | 2471.84 | 109.8% | 2041 | 9573.72 | 5977.69 | 2471.84 | 141.8%
2042 | 8064 | 5191 | 2443.42 | 112.4% | 2042 | 9979.18 | 5981.29 | 2443.42 | 144.8%
2043 | 8257 | 5195 | 2430.05 | 113.8% | 2043 | 10471.89 | 5985.33 | 2430.05 | 146.3%
2044 | 8416 | 5199 | 2418.64 | 115% | 2044 | 11006.47 | 5988.92 | 2418.64 | 147.6%

## PRP
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846 | 4431 | 3001.35 | 47.63%
2025 | 5164 | 4431 | 2874.85 | 54.13%
2026 | 7721 | 6128 | 2784.37 | 120.1%
2027 | 8284 | 6596 | 2740.56 | 140.7%
2028 | 8864 | 7079 | 2693.35 | 162.8%
2029 | 8114 | 6284 | 2683.59 | 134.2%
2030 | 7854 | 5974 | 2654 | 125.1%
2031 | 8348 | 6398 | 2632.22 | 143.1%
2032 | 8203 | 6184 | 2608.27 | 137.1%
2033 | 8170 | 6106 | 2598.87 | 134.9%
2034 | 8231 | 6110 | 2596.28 | 135.3%
2035 | 7987 | 5817 | 2593.24 | 124.3%
2036 | 7719 | 5525 | 2553.48 | 116.4%
2037 | 8198 | 5988 | 2531.82 | 136.5%
2038 | 7884 | 5583 | 2511.6 | 122.3%
2039 | 7595 | 5179 | 2491.13 | 107.9%
2040 | 7729 | 5184 | 2489.04 | 108.3%
2041 | 7884 | 5187 | 2471.84 | 109.8%
2042 | 8064 | 5191 | 2443.42 | 112.4%
2043 | 8257 | 5195 | 2430.05 | 113.8%
2044 | 8416 | 5199 | 2418.64 | 115%

## Sc1
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5168.7 | 4436.09 | 2874.85 | 54.31%
2026 | 7726.85 | 6134.21 | 2784.37 | 120.3%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 8278.99 | 6398.62 | 2654 | 141.1%
2031 | 8320.46 | 6370.05 | 2632.22 | 142%
2032 | 8402.23 | 6382.99 | 2608.27 | 144.7%
2033 | 8098.99 | 6035.63 | 2598.87 | 132.2%
2034 | 8159.88 | 6038.76 | 2596.28 | 132.6%
2035 | 7916.16 | 5746.02 | 2593.24 | 121.6%
2036 | 7648.53 | 5453.81 | 2553.48 | 113.6%
2037 | 8527.48 | 6318.42 | 2531.82 | 149.6%
2038 | 8213.67 | 5913.31 | 2511.6 | 135.4%
2039 | 8377.21 | 5961.41 | 2491.13 | 139.3%
2040 | 8511.65 | 5966.92 | 2489.04 | 139.7%
2041 | 8666.07 | 5970.04 | 2471.84 | 141.5%
2042 | 8846.53 | 5973.64 | 2443.42 | 144.5%
2043 | 9039.24 | 5977.68 | 2430.05 | 146%
2044 | 9198.82 | 5981.27 | 2418.64 | 147.3%

## Sc2
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3520.11 | 25.88%
2025 | 5168.7 | 4436.09 | 3454.88 | 28.4%
2026 | 7726.85 | 6134.21 | 3411.43 | 79.81%
2027 | 8769.22 | 7081.06 | 3406.77 | 107.9%
2028 | 9348.76 | 7563.72 | 3410.54 | 121.8%
2029 | 8599.03 | 6768.93 | 3413.77 | 98.28%
2030 | 9199.28 | 7318.91 | 3398.93 | 115.3%
2031 | 8955.65 | 7005.24 | 3391.82 | 106.5%
2032 | 9027.12 | 7007.88 | 3390.16 | 106.7%
2033 | 8620.23 | 6556.87 | 3401.19 | 92.78%
2034 | 8681.12 | 6560 | 3418.4 | 91.9%
2035 | 8733.4 | 6563.26 | 3435.29 | 91.05%
2036 | 8169.77 | 5975.05 | 3420.33 | 74.69%
2037 | 8188.43 | 5979.37 | 3419.68 | 74.85%
2038 | 8718.36 | 6418 | 3418.08 | 87.77%
2039 | 8429.3 | 6013.5 | 3414.59 | 76.11%
2040 | 8563.74 | 6019.01 | 3427.74 | 75.6%
2041 | 8718.16 | 6022.13 | 3421.47 | 76.01%
2042 | 8898.62 | 6025.73 | 3411.76 | 76.62%
2043 | 9091.33 | 6029.77 | 3411.32 | 76.76%
2044 | 9250.91 | 6033.36 | 3411.92 | 76.83%

## Sc3
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5168.7 | 4436.09 | 2874.85 | 54.31%
2026 | 7726.85 | 6134.21 | 2784.37 | 120.3%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 8278.99 | 6398.62 | 2654 | 141.1%
2031 | 8546.76 | 6596.35 | 2632.22 | 150.6%
2032 | 8402.23 | 6382.99 | 2608.27 | 144.7%
2033 | 7995.34 | 5931.98 | 2598.87 | 128.3%
2034 | 8429.37 | 6308.25 | 2596.28 | 143%
2035 | 8481.65 | 6311.51 | 2593.24 | 143.4%
2036 | 7918.02 | 5723.3 | 2553.48 | 124.1%
2037 | 8536.12 | 6327.06 | 2531.82 | 149.9%
2038 | 7812.31 | 5511.95 | 2511.6 | 119.5%
2039 | 7933.25 | 5517.45 | 2491.13 | 121.5%
2040 | 8067.69 | 5522.96 | 2489.04 | 121.9%
2041 | 8222.11 | 5526.08 | 2471.84 | 123.6%
2042 | 8402.57 | 5529.68 | 2443.42 | 126.3%
2043 | 8595.28 | 5533.72 | 2430.05 | 127.7%
2044 | 8754.86 | 5537.31 | 2418.64 | 128.9%

## Sc4
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5168.7 | 4436.09 | 2874.85 | 54.31%
2026 | 7726.85 | 6134.21 | 2784.37 | 120.3%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 8278.99 | 6398.62 | 2654 | 141.1%
2031 | 8717.66 | 6767.25 | 2632.22 | 157.1%
2032 | 8573.13 | 6553.89 | 2608.27 | 151.3%
2033 | 8166.24 | 6102.88 | 2598.87 | 134.8%
2034 | 8453.43 | 6332.31 | 2596.28 | 143.9%
2035 | 8938.85 | 6768.71 | 2593.24 | 161%
2036 | 7965.22 | 5770.5 | 2553.48 | 126%
2037 | 7983.88 | 5774.82 | 2531.82 | 128.1%
2038 | 8453.21 | 6152.85 | 2511.6 | 145%
2039 | 8164.15 | 5748.35 | 2491.13 | 130.8%
2040 | 8298.59 | 5753.86 | 2489.04 | 131.2%
2041 | 8453.01 | 5756.98 | 2471.84 | 132.9%
2042 | 8633.47 | 5760.58 | 2443.42 | 135.8%
2043 | 8826.18 | 5764.62 | 2430.05 | 137.2%
2044 | 8985.76 | 5768.21 | 2418.64 | 138.5%

## Sc5
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5168.7 | 4436.09 | 2874.85 | 54.31%
2026 | 7726.85 | 6134.21 | 2784.37 | 120.3%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 8278.99 | 6398.62 | 2654 | 141.1%
2031 | 8269.36 | 6318.95 | 2632.22 | 140.1%
2032 | 8124.83 | 6105.59 | 2608.27 | 134.1%
2033 | 7944.24 | 5880.88 | 2598.87 | 126.3%
2034 | 8499.92 | 6378.8 | 2596.28 | 145.7%
2035 | 8552.2 | 6382.06 | 2593.24 | 146.1%
2036 | 7578.57 | 5383.85 | 2553.48 | 110.8%
2037 | 7597.23 | 5388.17 | 2531.82 | 112.8%
2038 | 7283.42 | 4983.06 | 2511.6 | 98.4%
2039 | 7650.66 | 5234.86 | 2491.13 | 110.1%
2040 | 7785.1 | 5240.37 | 2489.04 | 110.5%
2041 | 7939.52 | 5243.49 | 2471.84 | 112.1%
2042 | 8119.98 | 5247.09 | 2443.42 | 114.7%
2043 | 8312.69 | 5251.13 | 2430.05 | 116.1%
2044 | 8472.27 | 5254.72 | 2418.64 | 117.3%

## Sc6
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5168.7 | 4436.09 | 2874.85 | 54.31%
2026 | 7726.85 | 6134.21 | 2784.37 | 120.3%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 8278.99 | 6398.62 | 2654 | 141.1%
2031 | 8328.5 | 6378.09 | 2632.22 | 142.3%
2032 | 8183.97 | 6164.73 | 2608.27 | 136.4%
2033 | 7777.08 | 5713.72 | 2598.87 | 119.9%
2034 | 8064.27 | 5943.15 | 2596.28 | 128.9%
2035 | 7410.55 | 5240.41 | 2593.24 | 102.1%
2036 | 7438.92 | 5244.2 | 2553.48 | 105.4%
2037 | 7457.58 | 5248.52 | 2531.82 | 107.3%
2038 | 7834.62 | 5534.26 | 2511.6 | 120.3%
2039 | 7545.56 | 5129.76 | 2491.13 | 105.9%
2040 | 7680 | 5135.27 | 2489.04 | 106.3%
2041 | 7834.42 | 5138.39 | 2471.84 | 107.9%
2042 | 8014.88 | 5141.99 | 2443.42 | 110.4%
2043 | 8207.59 | 5146.03 | 2430.05 | 111.8%
2044 | 8367.17 | 5149.62 | 2418.64 | 112.9%

## Sc7
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5168.7 | 4436.09 | 2874.85 | 54.31%
2026 | 7726.85 | 6134.21 | 2784.37 | 120.3%
2027 | 8769.22 | 7081.06 | 2740.56 | 158.4%
2028 | 9348.76 | 7563.72 | 2693.35 | 180.8%
2029 | 8599.03 | 6768.93 | 2683.59 | 152.2%
2030 | 8903.28 | 7022.91 | 2654 | 164.6%
2031 | 8249.65 | 6299.24 | 2632.22 | 139.3%
2032 | 8321.12 | 6301.88 | 2608.27 | 141.6%
2033 | 7914.23 | 5850.87 | 2598.87 | 125.1%
2034 | 7679.12 | 5558 | 2596.28 | 114.1%
2035 | 7731.4 | 5561.26 | 2593.24 | 114.5%
2036 | 7759.77 | 5565.05 | 2553.48 | 117.9%
2037 | 7778.43 | 5569.37 | 2531.82 | 120%
2038 | 8302.31 | 6001.95 | 2511.6 | 139%
2039 | 8013.25 | 5597.45 | 2491.13 | 124.7%
2040 | 8147.69 | 5602.96 | 2489.04 | 125.1%
2041 | 8302.11 | 5606.08 | 2471.84 | 126.8%
2042 | 8482.57 | 5609.68 | 2443.42 | 129.6%
2043 | 8675.28 | 5613.72 | 2430.05 | 131%
2044 | 8834.86 | 5617.31 | 2418.64 | 132.3%

## Sc8
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3520.11 | 25.88%
2025 | 5168.7 | 4436.09 | 3454.88 | 28.4%
2026 | 7726.85 | 6134.21 | 3411.43 | 79.81%
2027 | 8769.22 | 7081.06 | 3406.77 | 107.9%
2028 | 9348.76 | 7563.72 | 3410.54 | 121.8%
2029 | 8599.03 | 6768.93 | 3413.77 | 98.28%
2030 | 8815.78 | 6935.41 | 3398.93 | 104%
2031 | 9183.55 | 7233.14 | 3391.82 | 113.3%
2032 | 9255.02 | 7235.78 | 3390.16 | 113.4%
2033 | 9074.43 | 7011.07 | 3401.19 | 106.1%
2034 | 8227.32 | 6106.2 | 3418.4 | 78.63%
2035 | 8279.6 | 6109.46 | 3435.29 | 77.84%
2036 | 8307.97 | 6113.25 | 3420.33 | 78.73%
2037 | 8326.63 | 6117.57 | 3419.68 | 78.89%
2038 | 8012.82 | 5712.46 | 3418.08 | 67.12%
2039 | 8096.9 | 5681.1 | 3414.59 | 66.38%
2040 | 8231.34 | 5686.61 | 3427.74 | 65.9%
2041 | 8385.76 | 5689.73 | 3421.47 | 66.29%
2042 | 8566.22 | 5693.33 | 3411.76 | 66.87%
2043 | 8758.93 | 5697.37 | 3411.32 | 67.01%
2044 | 8918.51 | 5700.96 | 3411.92 | 67.09%

## Sc9
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 2699 | 64.17%
2025 | 5168.7 | 4436.09 | 2534.2 | 75.05%
2026 | 7726.85 | 6134.21 | 2424.39 | 153%
2027 | 8709.22 | 7021.06 | 2360.96 | 197.4%
2028 | 9288.76 | 7503.72 | 2316.3 | 224%
2029 | 8539.03 | 6708.93 | 2249.53 | 198.2%
2030 | 7982.99 | 6102.62 | 2213.29 | 175.7%
2031 | 7808.46 | 5858.05 | 2161.19 | 171.1%
2032 | 7879.93 | 5860.69 | 2109.9 | 177.8%
2033 | 7255.04 | 5191.68 | 2066.03 | 151.3%
2034 | 7019.93 | 4898.81 | 2020.69 | 142.4%
2035 | 7072.21 | 4902.07 | 1983.14 | 147.2%
2036 | 7100.58 | 4905.86 | 1942.22 | 152.6%
2037 | 7119.24 | 4910.18 | 1868.99 | 162.7%
2038 | 6395.43 | 4095.07 | 1813.19 | 125.8%
2039 | 6516.37 | 4100.57 | 1756.92 | 133.4%
2040 | 6650.81 | 4106.08 | 1702.25 | 141.2%
2041 | 6805.23 | 4109.2 | 1662.45 | 147.2%
2042 | 6985.69 | 4112.8 | 1615.34 | 154.6%
2043 | 7178.4 | 4116.84 | 1559.14 | 164%
2044 | 7337.98 | 4120.43 | 1522.25 | 170.7%

## Sc10
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3520.11 | 25.88%
2025 | 5168.7 | 4436.09 | 3454.88 | 28.4%
2026 | 7726.85 | 6134.21 | 3411.43 | 79.81%
2027 | 8769.22 | 7081.06 | 3406.77 | 107.9%
2028 | 9348.76 | 7563.72 | 3410.54 | 121.8%
2029 | 8599.03 | 6768.93 | 3413.77 | 98.28%
2030 | 8338.99 | 6458.62 | 3398.93 | 90.02%
2031 | 8706.76 | 6756.35 | 3391.82 | 99.2%
2032 | 8778.23 | 6758.99 | 3390.16 | 99.37%
2033 | 8371.34 | 6307.98 | 3401.19 | 85.46%
2034 | 8168.78 | 6047.66 | 3418.4 | 76.91%
2035 | 8298.2 | 6128.06 | 3435.29 | 78.39%
2036 | 8030.57 | 5835.85 | 3420.33 | 70.62%
2037 | 8049.23 | 5840.17 | 3419.68 | 70.78%
2038 | 8108.56 | 5808.2 | 3418.08 | 69.93%
2039 | 8045.8 | 5630 | 3414.59 | 64.88%
2040 | 8180.24 | 5635.51 | 3427.74 | 64.41%
2041 | 8334.66 | 5638.63 | 3421.47 | 64.8%
2042 | 8515.12 | 5642.23 | 3411.76 | 65.38%
2043 | 8707.83 | 5646.27 | 3411.32 | 65.52%
2044 | 8867.41 | 5649.86 | 3411.92 | 65.59%

## Sc11
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3520.11 | 25.88%
2025 | 5168.7 | 4436.09 | 3454.88 | 28.4%
2026 | 7726.85 | 6134.21 | 3411.43 | 79.81%
2027 | 8769.22 | 7081.06 | 3406.77 | 107.9%
2028 | 9348.76 | 7563.72 | 3410.54 | 121.8%
2029 | 8599.03 | 6768.93 | 3413.77 | 98.28%
2030 | 8903.28 | 7022.91 | 3398.93 | 106.6%
2031 | 8659.65 | 6709.24 | 3391.82 | 97.81%
2032 | 8731.12 | 6711.88 | 3390.16 | 97.98%
2033 | 8324.23 | 6260.87 | 3401.19 | 84.08%
2034 | 8089.12 | 5968 | 3418.4 | 74.58%
2035 | 8141.4 | 5971.26 | 3435.29 | 73.82%
2036 | 8169.77 | 5975.05 | 3420.33 | 74.69%
2037 | 8188.43 | 5979.37 | 3419.68 | 74.85%
2038 | 8247.76 | 5947.4 | 3418.08 | 74%
2039 | 8036.7 | 5620.9 | 3414.59 | 64.61%
2040 | 8291.14 | 5746.41 | 3427.74 | 67.64%
2041 | 8445.56 | 5749.53 | 3421.47 | 68.04%
2042 | 8626.02 | 5753.13 | 3411.76 | 68.63%
2043 | 8818.73 | 5757.17 | 3411.32 | 68.77%
2044 | 8978.31 | 5760.76 | 3411.92 | 68.84%

## Sc12
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5168.7 | 4436.09 | 2874.85 | 54.31%
2026 | 7726.85 | 6134.21 | 2784.37 | 120.3%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 8278.99 | 6398.62 | 2654 | 141.1%
2031 | 8424.11 | 6473.7 | 2632.22 | 145.9%
2032 | 8279.58 | 6260.34 | 2608.27 | 140%
2033 | 7941.79 | 5878.43 | 2598.87 | 126.2%
2034 | 8227.68 | 5881.56 | 2596.28 | 126.5%
2035 | 8210.26 | 5815.12 | 2593.24 | 124.2%
2036 | 7942.63 | 5522.91 | 2553.48 | 116.3%
2037 | 8334.43 | 5900.37 | 2531.82 | 133%
2038 | 8393.77 | 5868.41 | 2511.6 | 133.7%
2039 | 8684.86 | 5969.06 | 2491.13 | 139.6%
2040 | 9119.3 | 5974.57 | 2489.04 | 140%
2041 | 9573.72 | 5977.69 | 2471.84 | 141.8%
2042 | 9979.18 | 5981.29 | 2443.42 | 144.8%
2043 | 10471.89 | 5985.33 | 2430.05 | 146.3%
2044 | 11006.47 | 5988.92 | 2418.64 | 147.6%

## Sc13
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5180.59 | 4447.98 | 2874.85 | 54.72%
2026 | 7741.5 | 6148.86 | 2784.37 | 120.8%
2027 | 8727.6 | 7039.44 | 2740.56 | 156.9%
2028 | 9333.46 | 7548.42 | 2693.35 | 180.3%
2029 | 8612.89 | 6782.79 | 2683.59 | 152.8%
2030 | 8385 | 6504.63 | 2654 | 145.1%
2031 | 8794.47 | 6844.06 | 2632.22 | 160%
2032 | 8890.74 | 6871.5 | 2608.27 | 163.5%
2033 | 8511.91 | 6448.55 | 2598.87 | 148.1%
2034 | 8386.73 | 6265.61 | 2596.28 | 141.3%
2035 | 8470.78 | 6300.64 | 2593.24 | 143%
2036 | 8227.88 | 6033.16 | 2553.48 | 136.3%
2037 | 8275 | 6065.94 | 2531.82 | 139.6%
2038 | 9073.28 | 6772.92 | 2511.6 | 169.7%
2039 | 8820.18 | 6404.38 | 2491.13 | 157.1%
2040 | 8990.48 | 6445.75 | 2489.04 | 159%
2041 | 9166.7 | 6470.67 | 2471.84 | 161.8%
2042 | 9372.26 | 6499.37 | 2443.42 | 166%
2043 | 9593.41 | 6531.85 | 2430.05 | 168.8%
2044 | 9778.15 | 6560.6 | 2418.64 | 171.3%

## Sc14
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5163.61 | 4431 | 2874.85 | 54.13%
2026 | 7720.56 | 6127.92 | 2784.37 | 120.1%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 8810.76 | 7025.72 | 2693.35 | 160.9%
2029 | 8061.03 | 6230.93 | 2683.59 | 132.2%
2030 | 8730.38 | 6850.01 | 2654 | 158.1%
2031 | 8190.75 | 6240.34 | 2632.22 | 137.1%
2032 | 8262.22 | 6242.98 | 2608.27 | 139.4%
2033 | 7855.33 | 5791.97 | 2598.87 | 122.9%
2034 | 7620.22 | 5499.1 | 2596.28 | 111.8%
2035 | 7672.5 | 5502.36 | 2593.24 | 112.2%
2036 | 8074.02 | 5879.3 | 2553.48 | 130.2%
2037 | 8338.98 | 6129.92 | 2531.82 | 142.1%
2038 | 8920.01 | 6619.65 | 2511.6 | 163.6%
2039 | 8630.95 | 6215.15 | 2491.13 | 149.5%
2040 | 8765.39 | 6220.66 | 2489.04 | 149.9%
2041 | 8919.81 | 6223.78 | 2471.84 | 151.8%
2042 | 9100.26 | 6227.37 | 2443.42 | 154.9%
2043 | 9292.97 | 6231.41 | 2430.05 | 156.4%
2044 | 9452.55 | 6235 | 2418.64 | 157.8%

## Sc15
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5163.61 | 4431 | 2874.85 | 54.13%
2026 | 7720.56 | 6127.92 | 2784.37 | 120.1%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 8278.99 | 6398.62 | 2654 | 141.1%
2031 | 7715.36 | 5764.95 | 2632.22 | 119%
2032 | 7786.83 | 5767.59 | 2608.27 | 121.1%
2033 | 7379.94 | 5316.58 | 2598.87 | 104.6%
2034 | 7440.83 | 5319.71 | 2596.28 | 104.9%
2035 | 7527.66 | 5357.52 | 2593.24 | 106.6%
2036 | 6964.03 | 4769.31 | 2553.48 | 86.78%
2037 | 6982.69 | 4773.63 | 2531.82 | 88.55%
2038 | 7078.88 | 4778.52 | 2511.6 | 90.26%
2039 | 7199.82 | 4784.02 | 2491.13 | 92.04%
2040 | 7388.81 | 4844.08 | 2489.04 | 94.62%
2041 | 7271.23 | 4575.2 | 2471.84 | 85.09%
2042 | 7431.69 | 4558.8 | 2443.42 | 86.57%
2043 | 7181.85 | 4120.29 | 2430.05 | 69.56%
2044 | 7341.43 | 4123.88 | 2418.64 | 70.5%

## Sc16
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5163.61 | 4431 | 2874.85 | 54.13%
2026 | 7720.56 | 6127.92 | 2784.37 | 120.1%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 8494.99 | 6614.62 | 2654 | 149.2%
2031 | 8567.36 | 6616.95 | 2632.22 | 151.4%
2032 | 8422.83 | 6403.59 | 2608.27 | 145.5%
2033 | 8615.38 | 6552.02 | 2598.87 | 152.1%
2034 | 8586.57 | 6465.45 | 2596.28 | 149%
2035 | 8342.85 | 6172.71 | 2593.24 | 138%
2036 | 7665.22 | 5470.5 | 2553.48 | 114.2%
2037 | 7683.88 | 5474.82 | 2531.82 | 116.2%
2038 | 8006.37 | 5706.01 | 2511.6 | 127.2%
2039 | 8744.35 | 6328.55 | 2491.13 | 154%
2040 | 8412.79 | 5868.06 | 2489.04 | 135.8%
2041 | 8567.21 | 5871.18 | 2471.84 | 137.5%
2042 | 8747.67 | 5874.78 | 2443.42 | 140.4%
2043 | 8940.38 | 5878.82 | 2430.05 | 141.9%
2044 | 9099.96 | 5882.41 | 2418.64 | 143.2%

## Sc17
Year | Total Capacity (MW) | Total Dispatchable Capacity for Peak Load excludes solar, wind, landfill gas, hydro, CHP (MW) | Peak Load (MW) | Planning Reserve Margin
2024 | 4846.01 | 4431 | 3001.35 | 47.63%
2025 | 5163.61 | 4431 | 2874.85 | 54.13%
2026 | 7720.56 | 6127.92 | 2784.37 | 120.1%
2027 | 8709.22 | 7021.06 | 2740.56 | 156.2%
2028 | 9288.76 | 7503.72 | 2693.35 | 178.6%
2029 | 8539.03 | 6708.93 | 2683.59 | 150%
2030 | 8278.99 | 6398.62 | 2654 | 141.1%
2031 | 8623.9 | 6673.49 | 2632.22 | 153.5%
2032 | 8479.37 | 6460.13 | 2608.27 | 147.7%
2033 | 8072.48 | 6009.12 | 2598.87 | 131.2%
2034 | 8133.37 | 6012.25 | 2596.28 | 131.6%
2035 | 8220.2 | 6050.06 | 2593.24 | 133.3%
2036 | 7542.57 | 5347.85 | 2553.48 | 109.4%
2037 | 7561.23 | 5352.17 | 2531.82 | 111.4%
2038 | 7883.72 | 5583.36 | 2511.6 | 122.3%
2039 | 9881.85 | 7466.05 | 2491.13 | 199.7%
2040 | 9296.29 | 6751.56 | 2489.04 | 171.3%
2041 | 9450.71 | 6754.68 | 2471.84 | 173.3%
2042 | 9631.17 | 6758.28 | 2443.42 | 176.6%
2043 | 9823.88 | 6762.32 | 2430.05 | 178.3%
2044 | 9983.46 | 6765.91 | 2418.64 | 179.7%