## Log
Outage | FollowUp | Timestamp | Asset | Order No. | Start Time | End Time | Cust Impact | Cause | Order Type | Description | Action | Event No. | Crew Lead | Action Time | Section | Location | Operator | Role | Computer | Last Update
Yes | Complete | 22/07/2026 17:47 |  |  | 22/07/2026 17:44 | 23/07/2026 23:20 | 0 | Relevo - Relevo de Carga Contingencia - Generacion | UFLS | [5 empty] | Mayaguez DOC | Arecibo
| Yes | Yes |  |  | AR-260722-50 | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Contingencia - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:05
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Contingencia - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 17:59
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Contingencia - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 17:53
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Contingencia - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 17:47
Yes | Complete | 22/07/2026 17:49 |  |  | 22/07/2026 17:44 | 22/07/2026 17:52 | 0 | Relevo - Relevo de Carga Automatico | UFLS | [5 empty] | Mayaguez DOC | Mayaguez
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 | 22/07/2026 17:52 | 0 | Relevo - Relevo de Carga Automatico | [5 empty] | 22/07/2026 17:54 | Mayaguez DOC |  |  |  |  | 22/07/2026 17:54
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Automatico | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 17:49
Yes |  | 22/07/2026 17:49 |  |  | 22/07/2026 17:44 |  | 0 |  | UFLS | [5 empty] | Ponce TOC | Ponce
| Yes |  |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | [7 empty] | Ponce TOC |  |  |  |  | 22/07/2026 17:54
| Yes |  |  |  | NOTA | 22/07/2026 17:44 |  | 0 | [7 empty] | Ponce TOC |  |  |  |  | 22/07/2026 17:54
| Yes |  |  |  | NOTA | 22/07/2026 17:44 |  | 0 | [7 empty] | Ponce TOC |  |  |  |  | 22/07/2026 17:54
| Yes |  |  |  | NOTA | 22/07/2026 17:44 |  | 0 | [7 empty] | Ponce TOC |  |  |  |  | 22/07/2026 17:49
Yes | Complete | 22/07/2026 17:51 |  |  | 22/07/2026 17:44 | 22/07/2026 17:53 | 0 | Relevo - Relevo de Carga Automatico | UFLS | [5 empty] | Ponce DOC | Ponce
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 | 22/07/2026 17:53 | 0 | Relevo - Relevo de Carga Automatico | [5 empty] | 22/07/2026 19:15 | Ponce DOC |  |  |  |  | 22/07/2026 19:15
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 | 22/07/2026 17:53 | 0 | Relevo - Relevo de Carga Automatico | [5 empty] | 22/07/2026 18:10 | Ponce DOC |  |  |  |  | 22/07/2026 18:10
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 | 22/07/2026 17:53 | 0 | Relevo - Relevo de Carga Automatico | [5 empty] | 22/07/2026 18:08 | Ponce DOC |  |  |  |  | 22/07/2026 18:08
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Automatico | [6 empty] | Ponce DOC |  |  |  |  | 22/07/2026 17:54
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Automatico | [6 empty] | Ponce DOC |  |  |  |  | 22/07/2026 17:51
No | Complete | 22/07/2026 17:53 |  |  | 22/07/2026 11:29 |  | 0 |  | SWITCHING ONLY | [5 empty] | Mayaguez DOC | Mayaguez
| No | Yes |  |  | MY-35 | 22/07/2026 11:29 |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:09
| Yes | Yes |  |  | MY-35 | 22/07/2026 11:29 |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 17:53
No | Complete | 22/07/2026 17:59 |  |  | 22/07/2026 17:44 | 22/07/2026 18:02 | 410 |  | UFLS | [5 empty] | Monacillo TOC | Generation Desk
| No | Yes |  |  |  | 22/07/2026 17:44 |  | 410 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 18:20
| No | Yes |  |  |  | 22/07/2026 17:44 |  | 410 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 18:11
| No | Yes |  |  |  | 22/07/2026 17:44 |  | 410 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 17:59
Yes | Complete | 22/07/2026 18:02 |  |  | 22/07/2026 17:44 | 23/07/2026 00:40 | 1569 | Relevo - Relevo de Carga Automatico | UFLS | [5 empty] | Monacillo DOC | San Juan
| Yes | Yes |  |  | SJ-260722-91 | 22/07/2026 17:44 |  | 1569 | Relevo - Relevo de Carga Automatico | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 20:23
| Yes | Yes |  |  | SJ-260722-91 | 22/07/2026 17:44 |  | 1569 | Relevo - Relevo de Carga Automatico | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 19:45
| Yes | Yes |  |  | SJ-260722-91 | 22/07/2026 17:44 |  | 1569 | Relevo - Relevo de Carga Automatico | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:16
| Yes | Yes |  |  | SJ-260722-91 | 22/07/2026 17:44 |  | 1569 | Relevo - Relevo de Carga Automatico | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:02
Yes | Complete | 22/07/2026 18:07 |  |  | 22/07/2026 17:53 |  | 0 | Relevo - Relevo de Carga Programado - Generacion | GEN OUT | [5 empty] | Ponce DOC | Ponce
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:53 |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Ponce DOC |  |  |  |  | 22/07/2026 18:53
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:53 |  | 0 | [7 empty] | Ponce DOC |  |  |  |  | 22/07/2026 18:07
Yes | Complete | 22/07/2026 18:10 |  |  |  |  | 0 | Relevo - Relevo de Carga Programado - Generacion | UFLS | [5 empty] | Mayaguez DOC | Mayaguez
| Yes | Yes |  |  | RELEVO |  |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [5 empty] | 23/07/2026 01:06 | Mayaguez DOC |  |  |  |  | 23/07/2026 01:06
| Yes | Yes |  |  | RELEVO |  |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [5 empty] | 23/07/2026 01:05 | Mayaguez DOC |  |  |  |  | 23/07/2026 01:05
| Yes | Yes |  |  | RELEVO |  |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 23/07/2026 00:22
| Yes | Yes |  |  | RELEVO |  |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 23:26
| Yes | Yes |  |  | RELEVO |  |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 23:25
| Yes | Yes |  |  | RELEVO |  |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 23:14
| Yes | Yes |  |  | RELEVO |  |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 23:12
| Yes | Yes |  |  | RELEVO |  |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 21:55
| Yes | Yes |  |  | RELEVO |  |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 19:34
| Yes | Yes |  |  | RELEVO |  |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 19:17
| Yes | Yes |  |  | RELEVO |  |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:55
| Yes | Yes |  |  | RELEVO |  |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:47
| Yes | Yes |  |  | RELEVO |  |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:27
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:58 |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:26
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:58 |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:16
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:58 |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:10
Yes | Complete | 22/07/2026 18:10 |  |  | 22/07/2026 18:25 | 22/07/2026 18:42 | 70 | Externo - Problema Del Cliente | HO/ES | [5 empty] | Mayaguez DOC | Mayaguez
| Yes | Yes |  |  | MY-36 | 22/07/2026 18:25 | 22/07/2026 18:42 | 70 | Externo - Problema Del Cliente | [5 empty] | 22/07/2026 18:54 | Mayaguez DOC |  |  |  |  | 22/07/2026 18:54
| Yes | Yes |  |  | MY-36 |  |  | 70 | Externo - Problema Del Cliente | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:15
| Yes | Yes |  |  | MY-36 |  |  | 70 | Externo - Problema Del Cliente | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:15
| Yes | Yes |  |  | MY-36 |  |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:10
No | Complete | 22/07/2026 18:11 |  |  | 22/07/2026 18:06 | 22/07/2026 18:15 | 4 |  | GEN IN | [5 empty] | Monacillo TOC | Generation Desk
| No | Complete |  |  | 3046 | 22/07/2026 18:06 | 22/07/2026 18:15 | 0 | [6 empty] | 22/07/2026 18:19 | Monacillo TOC |  |  |  |  | 22/07/2026 18:19
| No | Yes |  |  | 3046 | 22/07/2026 18:06 |  | 0 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 18:11
Yes | Complete | 22/07/2026 18:13 |  |  | 22/07/2026 17:44 | 22/07/2026 17:54 | 0 | Relevo - Relevo de Carga Automatico | UFLS | [5 empty] | Monacillo DOC | Carolina
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 | 22/07/2026 17:54 | 0 | Relevo - Relevo de Carga Automatico | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:13
Yes | Complete | 22/07/2026 18:14 |  |  | 22/07/2026 17:45 | 22/07/2026 23:26 | 0 | Relevo - Relevo de Carga Programado - Generacion | MLS | [5 empty] | Monacillo DOC | Carolina
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:45 |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:14
Yes | Complete | 22/07/2026 18:19 |  |  | 22/07/2026 17:44 | 22/07/2026 23:38 | 0 | PROBLEMA CON EL REGULADOR DE VOLTAJE | UFLS | [5 empty] | Monacillo TOC | Shift Engineer Desk
| Yes | Yes |  |  | UNIT TRIP | 22/07/2026 17:44 |  | 0 | PROBLEMA CON EL REGULADOR DE VOLTAJE | [5 empty] | 22/07/2026 22:11 | Monacillo TOC |  |  |  |  | 22/07/2026 22:11
| No | Yes |  |  | UNIT TRIP | 22/07/2026 17:44 |  | 0 | PENDIENTE INSPECCION DE LA UNIDAD #5 DE COSTA SUR | [5 empty] | 22/07/2026 21:50 | Monacillo TOC |  |  |  |  | 22/07/2026 21:50
| No | Yes |  |  | UNIT TRIP | 22/07/2026 17:44 |  | 0 | PENDIENTE INSPECCION DE LA UNIDAD #5 DE COSTA SUR | [5 empty] | 22/07/2026 21:07 | Monacillo TOC |  |  |  |  | 22/07/2026 21:07
| No | Yes |  |  | UNIT TRIP | 22/07/2026 17:44 |  | 0 | PENDIENTE INSPECCION DE LA UNIDAD #5 DE COSTA SUR | [6 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 18:19
Yes | Complete | 22/07/2026 18:20 |  |  | 21/07/2026 21:39 | 22/07/2026 19:02 | 15 | Conductor - Puente Abierto | HO/ES | [5 empty] | Monacillo DOC | Bayamon
| Yes | Yes |  |  | BY-38 | 21/07/2026 21:39 | 22/07/2026 19:02 | 15 | Conductor - Puente Abierto | [5 empty] | 22/07/2026 19:03 | Monacillo DOC |  |  |  |  | 22/07/2026 19:03
| Yes | Yes |  |  | BY-38 |  |  | 0 | Conductor - Puente Abierto | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:20
Yes | Complete | 22/07/2026 18:22 |  |  | 22/07/2026 17:44 | 22/07/2026 23:26 | 0 | Relevo - Relevo de Carga Programado - Generacion | UFLS | [5 empty] | Monacillo DOC | Caguas
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 20:39
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 20:39
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | Relevo - Relevo de Carga Programado - Generacion | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 20:37
| Yes | Yes |  |  | RELEVO | 22/07/2026 17:44 |  | 0 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:22
No |  | 22/07/2026 18:27 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | San Juan
Yes | Complete | 22/07/2026 18:31 |  |  | 22/07/2026 08:22 | 22/07/2026 18:50 | 1 | Externo - Animal | ES | [5 empty] | Monacillo DOC | Caguas
| Yes | Yes |  |  | CG-34 | 22/07/2026 08:22 | 22/07/2026 18:50 | 1 | Externo - Animal | [5 empty] | 22/07/2026 18:57 | Monacillo DOC |  |  |  |  | 22/07/2026 18:57
| Yes | Yes |  |  | CG-34 | 22/07/2026 08:22 |  | 1 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:31
Yes | Complete | 22/07/2026 18:35 |  |  | 22/07/2026 18:41 | 22/07/2026 21:16 | 1823 | Conductor - Roto o Abierto | GOI | [5 empty] | Mayaguez DOC | Arecibo
| Yes | Yes |  |  | AR-260722-03 |  |  | 0 | [6 empty] | 22/07/2026 19:01 | Mayaguez DOC |  |  |  |  | 22/07/2026 19:01
| Yes | Yes |  |  | AR-260722-03 |  |  | 0 | [6 empty] | 22/07/2026 18:39 | Mayaguez DOC |  |  |  |  | 22/07/2026 18:39
| Yes | Yes |  |  | AR-260722-03 |  |  | 0 | [6 empty] | 22/07/2026 18:38 | Mayaguez DOC |  |  |  |  | 22/07/2026 18:38
| Yes | Yes |  |  | AR-260722-03 |  |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:35
Yes | Complete | 22/07/2026 18:36 |  |  | 22/07/2026 07:25 | 22/07/2026 18:55 | 80 | Desganche - Desganche | SWITCHING ONLY | [5 empty] | Monacillo DOC | Caguas
| Yes | Yes |  |  | CG-35 | 22/07/2026 07:25 | 22/07/2026 18:55 | 80 | Desganche - Desganche | [5 empty] | 22/07/2026 18:59 | Monacillo DOC |  |  |  |  | 22/07/2026 18:59
| Yes | Yes |  |  | CG-35 | 22/07/2026 07:25 |  | 80 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:36
| Yes | Yes |  |  | CG-35 |  |  | 0 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:36
No | Complete | 22/07/2026 18:43 |  |  | 22/07/2026 18:43 | 22/07/2026 19:03 | 25 |  | GEN RSV IN | [5 empty] | Monacillo TOC | Generation Desk
| No | Yes |  |  | 3046 | 22/07/2026 18:43 |  | 25 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 18:43
No | Complete | 22/07/2026 18:43 |  |  | 22/07/2026 18:42 | 22/07/2026 18:59 | 25 |  | GEN RSV IN | [5 empty] | Monacillo TOC | Generation Desk
| No | Yes |  |  | 3047 | 22/07/2026 18:42 |  | 25 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 18:43
Yes | Complete | 22/07/2026 18:48 |  |  | 22/07/2026 16:36 | 22/07/2026 18:54 | 190 | Desganche - Desganche | ES | [5 empty] | Ponce DOC | Ponce
| Yes | Yes |  |  | PC-26 | 22/07/2026 16:36 | 22/07/2026 18:54 | 190 | Desganche - Desganche | [5 empty] | 22/07/2026 18:58 | Ponce DOC |  |  |  |  | 22/07/2026 18:58
| Yes | Yes |  |  | PC-26 | 22/07/2026 16:36 |  | 190 | Desganche - Desganche | [5 empty] | 22/07/2026 18:52 | Ponce DOC |  |  |  |  | 22/07/2026 18:52
| Yes | Yes |  |  | PC-25 | 22/07/2026 16:36 |  | 190 | Desganche - Desganche | [6 empty] | Ponce DOC |  |  |  |  | 22/07/2026 18:48
Yes | Complete | 22/07/2026 18:49 |  |  | 22/07/2026 06:38 | 22/07/2026 19:50 | 13 | Desconectivo - Caja Primaria Defectuosa o Quemada | HO/ES | [5 empty] | Monacillo DOC | San Juan
| Yes | Complete |  |  | SJ-16 | 22/07/2026 06:38 | 22/07/2026 19:50 | 13 | Desconectivo - Caja Primaria Defectuosa o Quemada | [5 empty] | 22/07/2026 20:14 | Monacillo DOC |  |  |  |  | 22/07/2026 20:14
| Yes | Yes |  |  | SJ-16 | 22/07/2026 06:38 |  | 13 | Desconectivo - Caja Primaria Defectuosa o Quemada | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:52
| Yes | Yes |  |  | SJ-16 | 22/07/2026 06:38 |  | 13 | Desconectivo - Caja Primaria Defectuosa o Quemada | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:52
| Yes | Yes |  |  | SJ- |  |  | 13 | Desconectivo - Caja Primaria Defectuosa o Quemada | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 18:49
Yes | Complete | 22/07/2026 18:55 |  |  | 22/07/2026 14:12 | 22/07/2026 19:05 | 60 | Poste - Poste Primario Partido o Defectuoso | ES | [5 empty] | Mayaguez DOC | Arecibo
| Yes | Yes |  |  | AR-23 | 22/07/2026 14:12 | 22/07/2026 19:05 | 60 | Poste - Poste Primario Partido o Defectuoso | [5 empty] | 22/07/2026 19:19 | Mayaguez DOC |  |  |  |  | 22/07/2026 19:19
| Yes | Yes |  |  | AR-23 | 22/07/2026 14:12 |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 18:55
No | Complete | 22/07/2026 18:56 |  |  |  |  | 0 |  | SWITCHING ONLY | [5 empty] | Mayaguez DOC | Mayaguez
Yes | Complete | 22/07/2026 19:19 |  |  | 22/07/2026 19:17 | 22/07/2026 19:20 | 6131 | Otros - No Se Reporto Causa | DISPARO | [5 empty] | Monacillo DOC | Bayamon
| Yes | Yes |  |  | FEEDER | 22/07/2026 19:17 | 22/07/2026 19:20 | 6131 | Otros - No Se Reporto Causa | [5 empty] | 22/07/2026 19:21 | Monacillo DOC |  |  |  |  | 22/07/2026 19:21
| Yes | Yes |  |  | FEEDER |  |  | 6131 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 19:19
No | Complete | 22/07/2026 19:24 |  |  | 22/07/2026 17:56 | 22/07/2026 22:17 | 1 | Conductor - Puente Abierto | HO/ES | [5 empty] | Mayaguez DOC | Mayaguez
| Yes | Yes |  |  | MY-38 | 22/07/2026 17:56 |  | 1 | Conductor - Puente Abierto | [5 empty] | 22/07/2026 21:24 | Mayaguez DOC |  |  |  |  | 22/07/2026 21:24
| No | Yes |  |  | MY-38 |  |  | 0 | [6 empty] | 22/07/2026 19:27 | Mayaguez DOC |  |  |  |  | 22/07/2026 19:27
| No | Yes |  |  | MY-38 |  |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 19:24
No |  | 22/07/2026 19:40 |  |  |  |  | 0 | [7 empty] | Monacillo TOC | San Juan
Yes | Complete | 22/07/2026 19:42 |  |  | 22/07/2026 19:30 | 22/07/2026 19:41 | 4454 | Otros - No Se Reporto Causa | DISPARO | [5 empty] | Monacillo DOC | Bayamon
| Yes | Yes |  |  | FEEDER | 22/07/2026 19:30 | 22/07/2026 19:41 | 4454 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 19:42
No | Complete | 22/07/2026 19:52 |  |  | 22/07/2026 19:52 | 22/07/2026 20:11 | 25 |  | GEN RSV IN | [5 empty] | Monacillo TOC | Generation Desk
| No | Yes |  |  | 3048 | 22/07/2026 19:52 |  | 25 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 19:52
Yes | Complete | 22/07/2026 20:02 |  |  | 22/07/2026 20:05 | 22/07/2026 21:00 | 10 | Secundaria - Conductor Secundario Roto, Abierto o Defectuoso | ES | [5 empty] | Monacillo DOC | San Juan
| Yes | Yes |  |  | SJ-17 | 22/07/2026 20:05 | 22/07/2026 21:00 | 10 | Secundaria - Conductor Secundario Roto, Abierto o Defectuoso | [5 empty] | 22/07/2026 21:01 | Monacillo DOC |  |  |  |  | 22/07/2026 21:01
| Yes | Yes |  |  | SJ-17 |  |  | 10 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 20:05
| Yes | Yes |  |  | SJ-17 |  |  | 10 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 20:05
| Yes | Yes |  |  | SJ-17 |  |  | 10 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 20:04
| Yes | Yes |  |  | SJ- |  |  | 10 | [7 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 20:02
No | Complete | 22/07/2026 20:29 |  |  | 22/07/2026 20:27 | 22/07/2026 21:46 | 0 |  | GEN IN | [5 empty] | Monacillo TOC | Generation Desk
| No | Complete |  |  | 3049 | 22/07/2026 20:27 | 22/07/2026 21:46 | 0 | [6 empty] | 22/07/2026 21:47 | Monacillo TOC |  |  |  |  | 22/07/2026 21:47
| No | Yes |  |  | 3049 | 22/07/2026 20:27 |  | 0 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 20:30
| No | Yes |  |  | 3049 | 22/07/2026 20:27 |  | 0 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 20:29
No | Complete | 22/07/2026 20:32 |  |  | 22/07/2026 20:32 | 22/07/2026 20:40 | 0 |  | GEN IN | [5 empty] | Monacillo TOC | Generation Desk
| No | Complete |  |  | 3050 | 22/07/2026 20:32 | 22/07/2026 20:40 | 0 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 21:31
| No | Yes |  |  | 3050 | 22/07/2026 20:32 |  | 0 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 20:32
No |  | 22/07/2026 20:36 |  |  |  |  | 0 |  | SUBSTATION ENTRY | [5 empty] | Ponce TOC | Ponce
Yes | Complete | 22/07/2026 21:09 |  |  | 22/07/2026 19:45 | 22/07/2026 21:30 | 100 | Clima - Mal Tiempo/Lluvia o Viento | ES | [5 empty] | Mayaguez DOC | Mayaguez
| Yes | Yes |  |  | MY-39 | 22/07/2026 19:45 |  | 0 | [7 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 21:09
Yes | Complete | 22/07/2026 21:11 |  |  | 22/07/2026 13:49 | 22/07/2026 21:35 | 60 | Clima - Mal Tiempo/Lluvia o Viento | ES | [5 empty] | Mayaguez DOC | Arecibo
| Yes | Yes |  |  | AR-24 | 22/07/2026 13:49 |  | 39 | Clima - Mal Tiempo/Lluvia o Viento | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 21:12
| Yes | Yes |  |  | AR |  |  | 39 | Clima - Mal Tiempo/Lluvia o Viento | [6 empty] | Mayaguez DOC |  |  |  |  | 22/07/2026 21:11
No | Complete | 22/07/2026 21:17 |  |  | 22/07/2026 21:17 | 22/07/2026 21:25 | 30 |  | GEN RSV IN | [5 empty] | Monacillo TOC | Generation Desk
| No | Yes |  |  | 3051 | 22/07/2026 21:17 |  | 30 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 21:17
No | Complete | 22/07/2026 21:26 |  |  | 22/07/2026 21:25 | 22/07/2026 21:29 | 5 |  | GEN FO | [5 empty] | Monacillo TOC | Generation Desk
| No | Yes |  |  |  | 22/07/2026 21:25 |  | 5 | [7 empty] | Monacillo TOC |  |  |  |  | 22/07/2026 21:26
Yes | Complete | 22/07/2026 21:33 |  |  | 22/07/2026 21:30 | 22/07/2026 21:32 | 497 | Otros - No Se Reporto Causa | DISPARO | [5 empty] | Monacillo DOC | Caguas
| Yes | Yes |  |  | FEEDER | 22/07/2026 21:30 | 22/07/2026 21:32 | 497 | Otros - No Se Reporto Causa | [6 empty] | Monacillo DOC |  |  |  |  | 22/07/2026 21:33
No |  | 22/07/2026 21:53 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | San Juan
No |  | 22/07/2026 21:53 |  |  |  |  | 0 | [7 empty] | Monacillo TOC | 38kV Desk
No |  | 22/07/2026 21:54 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | San Juan
No |  | 22/07/2026 21:55 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | Carolina
No |  | 22/07/2026 21:56 |  |  |  |  | 0 | [7 empty] | Ponce DOC | Ponce
No |  | 22/07/2026 21:57 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | San Juan
No |  | 22/07/2026 21:58 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | Caguas
No |  | 22/07/2026 21:58 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | Bayamon
No |  | 22/07/2026 21:59 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | Bayamon
No |  | 22/07/2026 21:59 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | Caguas
No |  | 22/07/2026 21:59 |  |  |  |  | 0 | [7 empty] | Monacillo TOC | 115/230kV Desk
No |  | 22/07/2026 22:00 |  |  |  |  | 0 | [7 empty] | Mayaguez DOC | Mayaguez
No |  | 22/07/2026 22:00 |  |  |  |  | 0 | [7 empty] | Mayaguez DOC | Mayaguez
No |  | 22/07/2026 22:01 |  |  |  |  | 0 | [7 empty] | Monacillo TOC | Generation Desk
No |  | 22/07/2026 22:02 |  |  |  |  | 0 | [7 empty] | Ponce TOC | Ponce
No |  | 22/07/2026 22:02 |  |  |  |  | 0 | [7 empty] | Ponce DOC | Ponce
No |  | 22/07/2026 22:03 |  |  |  |  | 0 | [7 empty] | Ponce TOC | Ponce
No |  | 22/07/2026 22:04 |  |  |  |  | 0 | [7 empty] | Monacillo DOC | Bayamon
No |  | 22/07/2026 22:05 |  |  |  |  | 0 | [7 empty] | Mayaguez DOC | Mayaguez
No |  | 22/07/2026 22:07 |  |  |  |  | 0 | [7 empty] | Mayaguez DOC | Mayaguez
No |  | 22/07/2026 22:09 |  |  |  |  | 0 | [7 empty] | Ponce DOC | Ponce
No |  | 22/07/2026 22:10 |  |  |  |  | 0 | [7 empty] | Monacillo TOC | 38kV Desk
No |  | 22/07/2026 22:17 |  |  |  |  | 0 | [7 empty] | Ponce TOC | Ponce
Yes | Complete | 22/07/2026 22:40 |  |  | 22/07/2026 22:37 | 23/07/2026 01:37 | 1614 | Otros - No Se Reporto Causa | DISPARO | [5 empty] | Ponce DOC | Ponce
| Yes | Yes |  |  |  | 22/07/2026 22:37 |  | 1614 | Otros - No Se Reporto Causa | [5 empty] | 23/07/2026 01:41 | Ponce DOC |  |  |  |  | 23/07/2026 01:41
| Yes | Yes |  |  |  | 22/07/2026 22:37 |  | 1614 | [6 empty] | 23/07/2026 01:33 | Ponce DOC |  |  |  |  | 23/07/2026 01:33
| Yes | Yes |  |  |  | 22/07/2026 22:37 |  | 1614 | [7 empty] | Ponce DOC |  |  |  |  | 22/07/2026 23:41
| Yes | Yes |  |  |  | 22/07/2026 22:37 |  | 1614 | [7 empty] | Ponce DOC |  |  |  |  | 22/07/2026 23:04
| Yes | Yes |  |  |  | 22/07/2026 22:37 |  | 1614 | [7 empty] | Ponce DOC |  |  |  |  | 22/07/2026 22:40
Yes | Complete | 22/07/2026 22:46 |  |  | 22/07/2026 22:42 | 22/07/2026 22:44 | 2603 | Otros - No Se Reporto Causa | DISPARO | [5 empty] | Monacillo DOC | Caguas
No |  | 22/07/2026 22:49 |  |  |  |  | 0 | [7 empty] | Monacillo TOC | Shift Engineer Desk
Yes | Complete | 22/07/2026 22:54 |  |  | 22/07/2026 17:53 | 23/07/2026 00:55 | 29 | Relevo - Relevo de Carga Programado - Generacion | NOTA | [5 empty] | Ponce DOC | Ponce
| Yes | Yes |  |  |  | 22/07/2026 17:53 |  | 29 | [6 empty] | 22/07/2026 23:05 | Ponce DOC |  |  |  |  | 22/07/2026 23:05
| Yes | Yes |  |  |  | 22/07/2026 17:53 |  | 29 | [7 empty] | Ponce DOC |  |  |  |  | 22/07/2026 22:54
No |  | 22/07/2026 23:01 |  |  |  |  | 0 | [7 empty] | Monacillo TOC | Shift Engineer Desk