## Palo Seco
DATE | MP1 |  |  | MP2 |  |  | MP3 |  |  | TM 01 |  |  | TM 02 |  |  | TM 03 |  |  | TM 04
| ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH)
2026-09-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-21 | 419.6429 | 2433.9286 | 224 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-22 | 684.9286 | 3972.5857 | 366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-23 | 842.7619 | 4888.019 | 451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-24 | 841.881 | 4882.9095 | 454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-25 | 810.3333 | 4699.9333 | 434 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-26 | 714.0476 | 4141.4762 | 384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-27 | 731.5714 | 4243.1143 | 395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-28 | 890.6429 | 5165.7286 | 486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-29 | 818.0238 | 4744.5381 | 443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-30 | 739.4286 | 4288.6857 | 392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-01 | 914.4524 | 5303.8238 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-02 | 526.6905 | 3054.8048 | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-03 | 265.881 | 1542.1095 | 216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-04 | 399.6429 | 2317.9286 | 206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-05 | 383.3333 | 2223.3333 | 408 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-06 | 753.9048 | 4372.6476 | 191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-07 | 357.6429 | 2074.3286 | 207 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-08 | 427.4286 | 2479.0857 | 438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-09 | 823.0238 | 4773.5381 | 364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-10 | 681.5952 | 3953.2524 | 312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-11 | 583.6429 | 3385.1286 | 425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-12 | 789.1905 | 4577.3048 | 586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-13 | 1098.1667 | 6369.3667 | 346 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-14 | 646.6905 | 3750.8048 | 448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-15 | 834.4286 | 4839.6857 | 322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-16 | 610.4762 | 3540.7619 | 441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-17 | 836.7143 | 4852.9429 | 392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-18 | 740.2619 | 4293.519 | 478 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-19 | 900.9762 | 5225.6619 | 478 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-20 | 890.5476 | 5165.1762 | 471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-21 | 878.2381 | 5093.781 | 584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-22 | 1101.4048 | 6388.1476 | 525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-23 | 988.4286 | 5732.8857 | 586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-24 | 1099.5 | 6377.1 | 432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-25 | 816.1667 | 4733.7667 | 515 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-26 | 975.7619 | 5659.419 | 575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-27 | 1084.7381 | 6291.481 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## San Juan
DATE | UNIT 5 |  |  |  | UNIT 6 |  |  |  | TM 01 |  |  | TM 02 |  |  | TM 03 |  |  | TM 04 |  |  | TM 05 |  |  | TM 06 |  |  | TM 07 |  |  | TM 08 |  |  | TM 09 |  |  | TM 10
| ULSD (BARRELS) | ULSD (MMBtu) | CT 5 GENERATION (MWH) | ST 5 GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | CT 6 GENERATION (MWH) | ST 6 GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH) | ULSD (BARRELS) | ULSD (MMBtu) | GENERATION (MWH)
2026-09-16 | 3142.8571 | 18228.5714 | 3683 | 1179 | 3595.2381 | 20852.381 | 3661 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77.881 | 451.7095 | 97.874 | 216.2143 | 1254.0429 | 109.66 | 0 | 0 | 0 | 205.7265 | 1193.2139 | 109.708 | 0 | 0 | 0 | 0 | 0 | 0 | 424.1905 | 2460.3048 | 210.982
2026-09-17 | 6619.0476 | 38390.4762 | 3726 | 1146 | 6238.0952 | 36180.9524 | 3483 | 0 | 0 | 0 | 0 | 34.7143 | 201.3429 | 17.598 | 0 | 0 | 0 | 0 | 0 | 0 | 589.8333 | 3421.0333 | 304.218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.7572 | 201.5917 | 18.535
2026-09-18 | 6000 | 34800 | 3323 | 1030 | 5952.381 | 34523.8095 | 3265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 340.5238 | 1975.0381 | 176.309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 202.1667 | 1172.5667 | 101.779
2026-09-19 | 0 | 0 | 619 | 135 | 6023.8095 | 34938.0952 | 3330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 711.8571 | 4128.7714 | 366.618 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 782.1667 | 4536.5667 | 396.969
2026-09-20 | 10619.0476 | 61590.4762 | 3212 | 978 | 2071.4286 | 12014.2857 | 1113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 347.2619 | 2014.119 | 177.938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 384.119 | 2227.8905 | 193.837
2026-09-21 | 5928.5714 | 34385.7143 | 3218 | 975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4286 | 54.6857 | 3.317 | 0 | 0 | 0 | 0 | 0 | 0 | 276.3095 | 1602.5952 | 141.088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 305.0714 | 1769.4143 | 153.451
2026-09-22 | 6238.0952 | 36180.9524 | 3418 | 1019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 234.381 | 1359.4095 | 120.896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 247.881 | 1437.7095 | 126.254
2026-09-23 | 4785.7143 | 27757.1429 | 2693 | 824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130.4684 | 756.7165 | 69.575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 149.2381 | 865.581 | 75.801
2026-09-24 | 5761.9048 | 33419.0476 | 3142 | 655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 318.0714 | 1844.8143 | 164.595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 370.3095 | 2147.7952 | 188.061
2026-09-25 | 6047.619 | 35076.1905 | 3351 | 1011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300.9762 | 1745.6619 | 155.625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 346.881 | 2011.9095 | 176.575
2026-09-26 | 0 | 0 | 3538 | 1065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 264.0476 | 1531.4762 | 134.363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310.5952 | 1801.4524 | 156.683
2026-09-27 | 12523.8095 | 72638.0952 | 3452 | 1030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 263.381 | 1527.6095 | 136.661 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 293.9286 | 1704.7857 | 149.6
2026-09-28 | 6380.9524 | 37009.5238 | 3570 | 1055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 280.619 | 1627.5905 | 143.966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 303.5714 | 1760.7143 | 153.14
2026-09-29 | 6261.9048 | 36319.0476 | 3467 | 1031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 242.2381 | 1404.981 | 124.359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 276.2619 | 1602.319 | 140.779
2026-09-30 | 5404.7619 | 31347.619 | 2974 | 840 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 285.0714 | 1653.4143 | 143.371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 297.3333 | 1724.5333 | 146.607
2026-10-01 | 4380.9524 | 25409.5238 | 2251 | 577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 217.0238 | 1258.7381 | 116.885 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 268.8333 | 1559.2333 | 141.339
2026-10-02 | 5380.9524 | 31209.5238 | 3017 | 904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300.4762 | 1742.7619 | 155.077 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 325.4048 | 1887.3476 | 164.19
2026-10-03 | 6214.2857 | 36042.8571 | 3449 | 1020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235.0238 | 1363.1381 | 117.781 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 254.2857 | 1474.8571 | 127.314
2026-10-04 | 6000 | 34800 | 3325 | 972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237.9048 | 1379.8476 | 124.885 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.9286 | 1443.7857 | 127.44
2026-10-05 | 7190.4762 | 41704.7619 | 3226 | 971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 281.5952 | 1633.2524 | 145.527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 309.4524 | 1794.8238 | 156.387
2026-10-06 | 4571.4286 | 26514.2857 | 3227 | 958 | 1333.3333 | 7733.3333 | 718 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 299.4524 | 1736.8238 | 155.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310.0238 | 1798.1381 | 157.665
2026-10-07 | 5666.6667 | 32866.6667 | 3135 | 937 | 5404.7619 | 31347.619 | 2868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-08 | 5833.3333 | 33833.3333 | 3124 | 940 | 5523.8095 | 32038.0952 | 2894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200.8095 | 1164.6952 | 105.021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225.9524 | 1310.5238 | 118.291
2026-10-09 | 6023.8095 | 34938.0952 | 3485 | 1015 | 2761.9048 | 16019.0476 | 1522 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 542.8965 | 3148.7999 | 289.511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 597.6192 | 3466.1913 | 318.693
2026-10-10 | 6000 | 34800 | 3364 | 984 | 5357.1429 | 31071.4286 | 2884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 372.4524 | 2160.2238 | 193.645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 400.3333 | 2321.9333 | 203.631
2026-10-11 | 5904.7619 | 34247.619 | 3282 | 985 | 5071.4286 | 29414.2857 | 2741 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 226.1905 | 1311.9048 | 116.099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250.0952 | 1450.5524 | 128.269
2026-10-12 | 5833.3333 | 33833.3333 | 3265 | 966 | 5690.4762 | 33004.7619 | 3090 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 346.3333 | 2008.7333 | 181.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 370.7143 | 2150.1429 | 190.418
2026-10-13 | 6309.5238 | 36595.2381 | 3505 | 1017 | 5809.5238 | 33695.2381 | 3248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 395.0476 | 2291.2762 | 205.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 459.381 | 2664.4095 | 233.782
2026-10-14 | 5880.9524 | 34109.5238 | 3204 | 954 | 0 | 0 | 3492 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 423.2143 | 2454.6429 | 212.897 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 408.1905 | 2367.5048 | 210.201
2026-10-15 | 6738.0952 | 39080.9524 | 2190 | 26 | 0 | 0 | 3612 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 473.5714 | 2746.7143 | 242.425 | 118.2619 | 685.919 | 48.945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.5714 | 2868.5143 | 254.474
2026-10-16 | 3476.1905 | 20161.9048 | 3181 | 0 | 0 | 0 | 3597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 679.9524 | 3943.7238 | 353.975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 697.7381 | 4046.881 | 360.946
2026-10-17 | 6095.2381 | 35352.381 | 3348 | 0 | 0 | 0 | 3592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.4524 | 524.6238 | 115.607 | 483.0714 | 2801.8143 | 242.977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480.5 | 2786.9 | 249.724
2026-10-18 | 5857.1429 | 33971.4286 | 3204 | 0 | 0 | 0 | 3454 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3258 | 7.6895 | 0.707 | 247.5238 | 1435.6381 | 320.619 | 618.3333 | 3586.3333 | 315.411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 615.6363 | 3570.6905 | 328.301
2026-10-19 | 5904.7619 | 34247.619 | 3219 | 0 | 0 | 0 | 3662 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 313.9286 | 1820.7857 | 428.855 | 820.3571 | 4758.0714 | 421.628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 868.9048 | 5039.6476 | 447.179
2026-10-20 | 5642.8571 | 32728.5714 | 3033 | 0 | 0 | 0 | 3609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 280.881 | 1629.1095 | 387.161 | 736.9286 | 4274.1857 | 383.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 770.5476 | 4469.1762 | 398.12
2026-10-21 | 5738.0952 | 33280.9524 | 3097 | 0 | 0 | 0 | 3506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 281.8095 | 1634.4952 | 368.263 | 741.1905 | 4298.9048 | 382.283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 771.6667 | 4475.6667 | 395.743
2026-10-22 | 5976.1905 | 34661.9048 | 3240 | 0 | 0 | 0 | 3143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5238 | 37.8381 | 2.317 | 353.1429 | 2048.2286 | 466.128 | 892.0714 | 5174.0143 | 466.488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 997.5238 | 5785.6381 | 511.609
2026-10-23 | 5952.381 | 34523.8095 | 3232 | 0 | 2452.381 | 14223.8095 | 3708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 327.6429 | 1900.3286 | 169.528 | 424.2927 | 2460.8976 | 226.263 | 409.2619 | 2373.719 | 194.473 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 873.6429 | 5067.1286 | 450.677
2026-10-24 | 5642.8571 | 32728.5714 | 3010 | 0 | 0 | 0 | 3271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 771.7381 | 4476.081 | 400.697 | 0 | 0 | 0 | 792.3571 | 4595.6714 | 407.755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882.619 | 5119.1905 | 447.959
2026-10-25 | 5666.6667 | 32866.6667 | 3038 | 0 | 2285.7143 | 13257.1429 | 3608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 669.3095 | 3881.9952 | 347.901 | 0 | 0 | 0 | 689.9286 | 4001.5857 | 355.395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-10-26 | 5642.8571 | 32728.5714 | 3027 | 0 | 0 | 0 | 3094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 704.8817 | 4088.3139 | 375.893 | 0 | 0 | 0 | 749.881 | 4349.3095 | 382.279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 777.5238 | 4509.6381 | 395.827
2026-10-27 | 2500 | 14500 | 1307 | 0 | 0 | 0 | 3688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 936.5476 | 5431.9762 | 480.607 | 0 | 0 | 0 | 994.3571 | 5767.2714 | 507.119 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 970.3571 | 5628.0714 | 492.015

## Units status
Unit | Status as of Oct 28th | Cause
San Juan CT 5 | In service on Diesel
San Juan ST 5 | Out of service | Steam seal issues.
San Juan CT 6 | In service on Gas
San Juan ST 6 | Out of service | Unit startup in progress. Unit high vibrations - MD&A vibrations Technical Advisor on site.
San Juan TM 1 | Out of service | Explosion on breaker of TM 1.
San Juan TM 2 | In service on Gas
San Juan TM 3 | In service on Diesel
San Juan TM 4 | In service on Gas
San Juan TM 5 | In service on Diesel
San Juan TM 6 | Available on Gas for Extreme Emergency | Damage to compressor and high pressure turbine.
San Juan TM 7 | In service on Gas
San Juan TM 8 | Out of service | High temperature spread.
San Juan TM 9 | Out of service | 13 kv bus failure.
San Juan TM 10 | In service on Diesel
Palo Seco MP 1 | In service on Diesel
Palo Seco MP 2 | Out of service | Oil bearing drain high pressure.
Palo Seco MP 3 | Out of service | Pressure on breather. Under evaluation by Mitsubishi.
Palo Seco TM 1 | Out of service | Internal issues at HPC.
Palo Seco TM 2 | Out of service | Fault on block 3 of the Main Power Transformer.
Palo Seco TM 3 | Out of service | High temperature spread.
Palo Seco TM 4 | Out of service | IGV control system.