## Exhibit 2
Installed Measures by Sector, Segment, and Program FY2026
Sector | Segment | Program | Installed Measure | YTD Quantity | Per-Unit Energy Savings kWh (Average) | Per-Unit Energy Savings kWh or Range | Per-Unit Peak Demand Savings kW (Average) | Per-Unit Peak Demand Savings kW or Range | FY26 Energy Savings kWh | FY26 Peak Demand Savings kW | FY26 Lifetime Savings kWh | kW - Years (Measure Effective Useful Life)* | FY26 Incentive Spend | LCOE Savings $/kWh
| Single-Family Homes | Residential Rebate | Window AC | 71 | 700.3897 | 101.72-1157.20 | 0.033404 | 0.000-0.065 | 49727.6711 | 2.3717 | 447549.0396 | 9 | 9410 | 0.18923
Residential | Single-Family Homes | Residential Rebate | Ductless Split AC | 4890 | 1190.3706 | 437.54-2863.89 | 0.12243 | 0.048-0.291 | 5820912.2219 | 598.6766 | 87313683.3391 | 15 | 1828564.24 | 0.31414
Residential | Single-Family Homes | Residential Rebate | Solar Water Heater | 689 | 1682.4342 | (96.98)-9089.38 | 0.24953 | (0.014)-1.352 | 1159197.1677 | 171.9237 | 20865549.0258 | 18 | 384350 | 0.33157
Residential | Single-Family Homes | Residential Rebate | Tankless Water Heater | 67 | 82.7482 | 37.64-225.83 | 0.12001 | 0.045-0.328 | 5544.1322 | 8.0407 | 110882.645 | 20 | 4150.52 | 0.74863
Residential | Single-Family Homes | Residential Rebate | ENERGY STAR Refrigerator | 256 | 50.882 | 50.88 | 0.00581 | 0.006 | 13025.792 | 1.4874 | 195386.88 | 15 | 55151.86 | 4.2341
Residential | Single-Family Homes | Residential Rebate | ENERGY STAR Freezer | 16 | 42.76 | 42.76 | 0.00488 | 0.005 | 684.16 | 0.07808 | 10262.4 | 15 | 3349.99 | 4.8965
Residential | Single-Family Homes | Energy Efficiency Kits Program | LED Bulbs | 344922 | 45.8 | 45.8 | 0.009 | 0.009 | 15797427.6 | 3104.298 | 284353696.8002 | 18 | 1034766 | 0.065502
Residential | Single-Family Homes | Energy Efficiency Kits Program | Advanced Power Strip | 57487 | 38.1 | 38.1 | 0.004 | 0.004 | 2190254.7 | 229.948 | 15331782.9 | 7 | 1149740 | 0.52493
Residential | Single-Family Homes | Energy Efficiency Kits Program | LED Night Light | 57487 | 31.6 | 31.6 | 0.001 | 0.001 | 1816589.2 | 57.487 | 14532713.6 | 8 | 143717.5 | 0.079114
Residential | Single-Family Homes | Energy Efficiency Kits Program | Box and Shipping Costs** | 57490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 856305 | N/A
Residential | Single-Family Homes | In-Store Discount Program | Ceiling Fans | 1947 | 63 | 63 | 0.018 | 0.018 | 122661 | 35.046 | 613305 | 5 | 68145 | 0.55556
Residential | Single-Family Homes | In-Store Discount Program | Window ACs | 2135 | 234 | 234 | 0.033 | 0.033 | 499590 | 70.455 | 4494175 | 9 | 138775 | 0.27778
Commercial | Small Business | Business Rebate Program | LED Exit Sign | 0 | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 18 | 0 | N/A
Commercial | Small Business | Business Rebate Program | Omni Directional LED Replacement | 0 | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 7 | 0 | N/A
Commercial | Small Business | Business Rebate Program | LED Troffer Replacement | 2642 | 144.989 | 33.27-215.15 | 0.018453 | 0.004-0.023 | 383060.9964 | 48.7523 | 8922144.5687 | 18 | 77250 | 0.20167
Commercial | Small Business | Business Rebate Program | Linear Fluorescent LED Replacement | 290 | 123.7914 | 73.15-312.64 | 0.011132 | 0.006-0.031 | 35899.5068 | 3.2283 | 613293.2525 | 18 | 1790 | 0.049861
Commercial | Small Business | Business Rebate Program | Occupancy Sensor | 6 | 980.7922 | 931.58-1030.01 | 0.56716 | 0.496-0.638 | 5884.7533 | 3.4029 | 47078.0268 | 8 | 120 | 0.020392
Commercial | Small Business | Business Rebate Program | Exterior Lighting | 0 | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 12 | 0 | N/A
Commercial | Small Business | Business Rebate Program | Ice Machine | 0 | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 10 | 0 | N/A
Commercial | Small Business | Business Rebate Program | Commercial Refrigerator | 1 | 765.0526 | 765.06 | 0.08733 | 0.087 | 765.0526 | 0.08733 | 9180.6318 | 12 | 100 | 0.13071
Commercial | Small Business | Business Rebate Program | Commercial Air Conditioner | 38 | 13221.6233 | 1130.77-28121.41 | 1.4637 | 0.173-2.908 | 502421.6869 | 55.6195 | 7536325.3035 | 15 | 98220 | 0.19549
Commercial | Small Business | Business Rebate Program | Ductless Split AC | 51 | 1103.6117 | 656.21-1975.95 | 0.12855 | 0.080-0.248 | 56284.1953 | 6.5558 | 844262.9302 | 15 | 22185 | 0.39416
Commercial | Small Business | Business Rebate Program | Chiller | 6 | 121732.8033 | 27389.6-252865 | 19.3157 | 9.46-35.66 | 730396.82 | 115.8941 | 16068730.04 | 22 | 81900 | 0.11213
Commercial | Small Business | Business Rebate Program | Solar Water Heater | 0 | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 18 | 0 | N/A
Commercial | Small Business | Business Rebate Program | Window Film | 0 | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 10 | 0 | N/A
Commercial | Small Business | Business Rebate Program | Pool Pump VFD | 0 | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 10 | 0 | N/A
FY2026 Annual Report - Exhibit 2