## PEAKERS CAT ID (COST)
FACILITY | Location | Cat Id X Reference | Catalog Id | Description | Re Order Point | QOH | Target Maximum | Units | Avg Unit Price | Column1 | Catalog Status & Comments
A19 | San Juan | 141-87647 | 87647 | DETECTOR, UNQUALIFIED, 141-87647, COMBUSTIBLE GAS SENSOR,MODEL: CGSS1C6V2R1X,P/N 006824-004 | 5 | 0 | 10 | EA | 1000 | 10000 | Duel In 10. REQ374890
A19 | San Juan | 141-87646 | 87646 | SENSOR, UNQUALIFIED, 141-87646, SENSOR,LPT SHAFT SPEED/ SPEED ELEMENT, RELUCTANCE TYPE, PULSE | 1 | 0 | 2 | EA | 35000 | 70000 | Duel In 2. REQ374890
A19 | San Juan | 141-87645 | 87645 | VALVE, SOLENOID, 141-87645, SOLENOID VALVE, 3/4" FSAE, NORMALLY CLOSED, 3/4" DIA. ORIFICE, 316 SS | 2 | 0 | 4 | EA | 5215 | 20860 | Duel In 2. REQ374890
A19 | San Juan | 141-87644 | 87644 | MOTOR, OEM, 141-87644, MOTOR WATER INJECTION TO BE USED ON FT-8 GPS MOBILE PACS | 1 | 0 | 2 | EA | 15000 | 30000 | Duel In 2. REQ374890
A19 | San Juan | 141-87643 | 87643 | SYNCHRONIZER, UNQUALIFIED, 141-87643, SYNCHRONIZER SPM - D2-10, P/N 8440-2167, WOODWARD TO BE USED ON GE TM | 1 | 0 | 2 | EA | 10000 | 20000 | Due In 1. REQ374890
A19 | San Juan | 141-87642 | 87642 | MOTOR, OEM, 141-87642, F-T8 TURBINE AC LUBE OIL MOTOR, GE # SN# 5BY553WA800A800 TO BE USED ON | 1 | 0 | 1 | EA | 10000 | 10000 | Due In 1. REQ374890
A19 | San Juan | 141-87633 | 87633 | PUMP, OIL, 141-87633, G054 MAJOR KIT, FOR IMO- PUMP ACE 038N3 NVBP A412, SN 730484 | 1 | 0 | 2 | EA | 10000 | 20000 | Due In 1.REQ371938
A19 | San Juan | 141-87632 | 87632 | PUMP, OIL, 141-87632, MINOR KIT POS G053 P/N 190500, FOR IMO- PUMP ACE 038N3 NVBP A412 | 1 | 0 | 2 | EA | 5000 | 10000 | Due In 1.REQ371938
A19 | San Juan | 141-87631 | 87631 | MOTOR, OEM, 141-87631, GENERATOR DC LUBE PUMP MOTOR (MOT-0034), 3HP, RPM 1750, VOLT 125 VDC, | 1 | 0 | 2 | EA | 10000 | 20000 | Due In 1.REQ371938
A19 | San Juan | 141-87630 | 87630 | PUMP, OIL, 141-87630, PANTEX MODEL # MPS 10038 (BASED ON DRG#08-MPS-1016 REV C) ROTATION | 1 | 0 | 2 | EA | 20000 | 40000 | Due In 1.REQ371938
A16 | Palo Seco | 141-86895 | 86895 | FUSE, POWER, 141-86895, 15.5 KV, MOUNT TRANSFORMER, MEDIUM VOLTAGE E-RATED FUSE LSSOOVAC 100A FERRULE, SERIES: DORO VISUAL | 5 | 0 | 10 | EA | 1004.88 | 10048.8
A19 | San Juan | 141-86895 | 86895 | FUSE, POWER, 141-86895, 15.5 KV, MOUNT TRANSFORMER, MEDIUM VOLTAGE E-RATED FUSE LSSOOVAC 100A FERRULE, SERIES: DORO VISUAL | 5 | 0 | 10 | EA | 1004.88 | 10048.8
A16 | Palo Seco |  |  | SOL CAT FCV1101 FUEL GAS CONTROL VALVE |  | 0 |  |  |  | 140000 | Catalogo creado
A16 | Palo Seco | 109-87655 | 87655 | ELECTRIC MOTOR AC KAYDON MODEL KLC30H FR 215T, 460VAC 5HP 1745RPM |  | 0 | 2 | EA | 2000 | 4000 | Due In 2
A16 | Palo Seco | 141-87654 | 87654 | F-T8 TURBINE AC LUBE OIL MOTOR, BALDOR CT116769 |  | 0 | 1 | EA | 10000 | 10000 | Due In 1
A16 | Palo Seco | 115-87659 | 87659 | VIKING PUMP KAYDON MODEL KLC30H, SN 12725602 |  | 0 | 1 | EA | 3000 | 3000 | Due In 1
A19 | San Juan |  | 87684 | PUMP UNQUALIFIED 141-876684 POSITIVE DISPLACEMENT, GEAR PUMP, DANFOSS PAH 80 S/N:36405504-022 |  | 0 |  | EA | 10680 | 0 | REQ 382340
A19 | San Juan |  |  | FUEL NOZZLES, METAL, SEAL RING, MANUF: VBR TURBINE PARTNERS, PN 4058T39P01 TO BE USED ON SJ & PS GE TM2500 |  | 0 | 300 | EA | 80 | 24000
A19 | San Juan |  |  | SAFETY WIRE-TWISTING PLIER FOR TURBINE ASSEMBLY, RUSSELL PLIERS #651960 TO BE USED ON SJ & PS GE TM2500 |  | 0 | 4 | EA | 75 | 300
A19 | San Juan |  |  | Adjustable Tension, Hand Operated, Safe-T-Cable Tool with 3 inch nose for .032 Safe-T-Cable, DMC, SCTR323 TO BE USED ON SJ & PS GE TM2500 |  | 0 | 2 | EA | 700 | 1400
A19 | San Juan |  |  | BOLT OF FUEL NOZZLE, MANUF: VBR TURBINE PARTNERS, PN J644P05D BOLT MACHINE DOUBLE HEXAGON HEAD 0.250-28 BY 0.500 LG TO BE USED ON SJ & PS GE TM2500 |  | 0 | 450 | EA | 850 | 382500
A19 | San Juan |  |  | POSITIVE DISPLACEMENT GEAR PUMP DANFOSS PAH 80 S/N:36405504-022 28GMP@1450RPM COUPLING AQND BELL HOUSING |  |  | 3 | EA | 10680 | 32040
|  |  | 87655 | ELECTRIC MOTOR AC TO BE USED ON PALO SECO TURBO TOC, KAYDON MODEL KLC30H,FR 215T, 460VAC, 5HP, 1745 RPM |  | 0 | 2 | EA | 2000 | 4000
|  |  |  | SYNCHRONIZER, UNQUALIFIED, 141-87643, SYNCHRONIZER SPM - D2-10, P/N 8440-2167, WOODWARD TO BE USED ON GE TM |  | 0 | 2 | EA | 10000 | 20000
|  |  |  | THERMOCOUPLE CHROMEL-ALUMEL TYPE(K)DUAL ELEMNT,SIGNAL RANGE=50 TO 2000F AMETEX, S/N FDT6185T GE P/N 44830P03 |  | 0 | 10 | EA | 5476 | 54760
|  | 131-22254 | 22254 | VALVE, UNQUALIFIED, 131-22254, VALVE, HYDRAULIC, FOR HYDRAULIC CONTROL ASSEMBLYGENERAL ELECTRIC 227B6658G001.50001N IMPROVED TO 50001PNT.* | [5 empty] | 0
A19 | San Juan |  |  | MOTOR WATER INJECTION TO BE USED ON FT-8GPS MOBILE PACS FRAME 364TDZ 60HP 3560RPM,415/460V SPEC. NO.A36-7578-1587 SNA2404042061 |  | 0 | 2 | EA | 15000 | 30000
A19 | San Juan | 141-87800 | 87800 | HYDRAULIC MOTOR, VARIABLE DISPLACEMENT, SERIES 51, 110 CC/REV MAXIMUM, PRESSURE COMPENSATED CONTROL SUNDSTRAND/DANFOSS, MODEL: 51V110-1-RF 1NTAC2NNX 1NNN 041AAF3 0032; SN 153907347, GE P/N 382A3860P0100 | 3 | 0 | 5 | EA | 7500 | 37500
A19 | San Juan | 141-87799 | 87799 | OVERRUNING CLUTCH, GEARBOX MOUNT, WITH VITON O'RING SHAFT SEAL MANUFACTURER: HILLIARD, P/N: 6601-01-019-C, (GE 273800) | 3 | 0 | 5 | EA | 20000 | 100000
A19 | San Juan | 141-87798 | 87798 | Micronet digital control module SIMPLEX FTM, P/N 5441-695, SN 19157556, WOODWARD TO BE USED ON GE TM2500 NO SUBSTITUTE ACCEPTED, ONLY NEW NO REFURBISHED | 1 | 0 | 3 | EA | 2500 | 7500
0
0
0
0
0
[9 empty] | TOTAL | 1121957.6